## ANH BY
Serviceability - Shortfall Calculator - ANH Blind Year Reconciliation draft proposals
Sewerage infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13
160.0933 | 0 | 160.0933 | 163.4016 | 81.7008 | 111.3 | 113.6
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values (£m) pre-efficiency; where shortfall is applied |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 20.4252 | 20.4252 | 20.4252 | 20.4252 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Sewer collapses | 420 | 520 | 387 | 293 | 276 | 250 | 13.6168 | 3.4042 | 3.4042 | 3.4042 | 3.4042 | -1.33 | -2.27 | -2.44 | -2.7 | -4.5276 | -7.7275 | -8.3062 | -9.1913 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Pollution Incidents | 140 | 165 | 214 | 148 | 137 | 142 | 13.6168 | 3.4042 | 3.4042 | 3.4042 | 3.4042 | 1.96 | -0.68 | -1.12 | -0.92 | 6.6722 | -2.3149 | -3.8127 | -3.1319 | 6.6722 | 3.4042 | 0 | 0 | 0 | 3.4042 | [15 empty] | no shortfall applied
Flooding other causes | 147 | 235 | 241 | 272 | 174 | 179 | 13.6168 | 3.4042 | 3.4042 | 3.4042 | 3.4042 | 0.068182 | 0.42045 | -0.69318 | -0.63636 | 0.2321 | 1.4313 | -2.3597 | -2.1663 | 1.6634 | 0.2321 | 1.4313 | 0 | 0 | 1.6634 | [15 empty] | no shortfall applied
Flooding overloaded sewers | 56 | 93 | 1 | 125 | 36 | 54 | 13.6168 | 3.4042 | 3.4042 | 3.4042 | 3.4042 | -2.4865 | 0.86486 | -1.5405 | -1.0541 | -8.4645 | 2.9442 | -5.2443 | -3.5882 | 2.9442 | 0 | 2.9442 | 0 | 0 | 2.9442 | [15 empty] | no shortfall applied
Sewer Blockages | 14763 | 15987 | 14401 | 11565 | 9822 | 11017 | 13.6168 | 3.4042 | 3.4042 | 3.4042 | 3.4042 | -1.2958 | -3.6127 | -5.0368 | -4.0605 | -4.411 | -12.2985 | -17.1462 | -13.8226 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Equipment failures | 1350 | 1485 | 1365 | 1415 | 1251 | 1112 | 13.6168 | 3.4042 | 3.4042 | 3.4042 | 3.4042 | -0.88889 | -0.51852 | -1.7333 | -2.763 | -3.026 | -1.7651 | -5.9006 | -9.4057 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
[16 empty] | 6.9043 | 4.3755 | 0 | 0 | 11.2798 | 3.6363 | 4.3755 | 0 | 0 | 8.0118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sewerage Non-infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13
484.4001 | 0 | 484.4001 | 494.4102 | 247.2051 | 111.3 | 113.6
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 61.8013 | 61.8013 | 61.8013 | 61.8013 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
% of sewage treatment works discharges failing numeric consents | 2.1 | 2.8 | 2.64 | 1.94 | 2.23 | 1.25 | 82.4017 | 20.6004 | 20.6004 | 20.6004 | 20.6004 | -0.22857 | -1.2286 | -0.81429 | -2.2143 | -4.7087 | -25.3091 | -16.7746 | -45.6152 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
% of total p.e. served by sewage treatment works in breach of WRA or UWWTD consent (LUT) | 0.5 | 1.7 | 0.09 | 0.69 | 1.9 | 0 | 82.4017 | 20.6004 | 20.6004 | 20.6004 | 20.6004 | -1.3417 | -0.84167 | 0.16667 | -1.4167 | -27.6389 | -17.3387 | 3.4334 | -29.1839 | 3.4334 | 0 | 0 | 3.4334 | 0 | 3.4334 | [15 empty] | no shortfall applied
Unplanned non-infrastructure maintenance | 63205 | 75846 | 62691 | 77254 | 74568 | 72956 | 82.4017 | 20.6004 | 20.6004 | 20.6004 | 20.6004 | -1.0407 | 0.11138 | -0.1011 | -0.22862 | -21.4381 | 2.2945 | -2.0827 | -4.7097 | 2.2945 | 0 | 2.2945 | 0 | 0 | 2.2945 | [15 empty] | no shortfall applied
[16 empty] | 0 | 2.2945 | 3.4334 | 0 | 5.728 | 0 | 2.2945 | 3.4334 | 0 | 5.728 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation | [30 empty] | ANH FD09 efficiency
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13 | [29 empty] | 2011-12 | 2012-13 | 2013-14 | 2014-15
179.1014 | 0 | 179.1014 | 182.8025 | 91.4012 | 111.3 | 113.6 | [29 empty] | -16.62% | -16.15% | -15.69% | -15.23%
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 22.8503 | 22.8503 | 22.8503 | 22.8503 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Number of burst mains | 4416 | 5112 | 6181 | 4986 | 4921 | 4858 | 15.2335 | 3.8084 | 3.8084 | 3.8084 | 3.8084 | 1.5359 | -0.18103 | -0.27443 | -0.36494 | 5.8494 | -0.68945 | -1.0451 | -1.3898 | 5.8494 | 3.8084 | 0 | 0 | 0 | 3.8084 | [15 empty] | no shortfall applied
DG3 unplanned interruption to supply exceeding 12 hours | 750 | 1500 | 8105 | 868 | 698 | 2115 | 15.2335 | 3.8084 | 3.8084 | 3.8084 | 3.8084 | 8.8067 | -0.84267 | -1.0693 | 0.82 | 33.5392 | -3.2092 | -4.0724 | 3.1229 | 36.6621 | 3.8084 | 0 | 0 | 3.1229 | 6.9313 | 3.8084 | 0 | 0 | 3.1229 | 6.9313 | 2.8563 | 0 | 0 | 2.3422 | 5.1984 | 3.331 | 0 | 0 | 2.6988 | 6.0299 | apply shortfall
Iron non-compliance (as 100-Mean Zonal Compliance) (%) | 0.24 | 0.48 | 0.14 | 0.21 | 0.15 | 0.11 | 15.2335 | 3.8084 | 3.8084 | 3.8084 | 3.8084 | -1.4167 | -1.125 | -1.375 | -1.5417 | -5.3952 | -4.2844 | -5.2365 | -5.8713 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
DG2 Properties at risk of receiving low pressure | 651 | 851 | 536 | 611 | 524 | 505 | 15.2335 | 3.8084 | 3.8084 | 3.8084 | 3.8084 | -1.575 | -1.2 | -1.635 | -1.73 | -5.9982 | -4.5701 | -6.2267 | -6.5885 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Customer contacts per 1,000 population supplied – discolouration (orange/brown/black) | 0.555 | 0.66 | 0.46 | 0.42 | 0.45 | 0.47 | 15.2335 | 3.8084 | 3.8084 | 3.8084 | 3.8084 | -1.9048 | -2.2857 | -2 | -1.8095 | -7.2541 | -8.7049 | -7.6168 | -6.8914 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Distribution index TIM | 0.1 | 0.19 | 0.05 | 0.07 | 0.06 | 0.06 | 15.2335 | 3.8084 | 3.8084 | 3.8084 | 3.8084 | -1.5556 | -1.3333 | -1.4444 | -1.4444 | -5.9242 | -5.0778 | -5.501 | -5.501 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
[16 empty] | 39.3886 | 0 | 0 | 3.1229 | 42.5114 | 7.6168 | 0 | 0 | 3.1229 | 10.7396 | 3.8084 | 0 | 0 | 3.1229 | 6.9313 | 0 | 0 | 0 | 0 | 0 | 3.331 | 0 | 0 | 2.6988 | 6.0299
Water Non-infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13
319.1141 | 0 | 319.1141 | 325.7086 | 162.8543 | 111.3 | 113.6
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 40.7136 | 40.7136 | 40.7136 | 40.7136 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Water treatment works coliform non-compliance (% samples failing for coliforms leaving WTW) | 0.02 | 0.04 | 0.04 | 0.02 | 0.01 | 0.03 | 32.5709 | 8.1427 | 8.1427 | 8.1427 | 8.1427 | 0 | -1 | -1.5 | -0.5 | 0 | -8.1427 | -12.2141 | -4.0714 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Service reservoir coliform non-compliance (% service reservoirs having more than 5% of coliform samples failing) | 0.1 | 0.52 | 0 | 0 | 0 | 0 | 32.5709 | 8.1427 | 8.1427 | 8.1427 | 8.1427 | -1.2381 | -1.2381 | -1.2381 | -1.2381 | -10.0815 | -10.0815 | -10.0815 | -10.0815 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Number of WTW where turbidity 95%ile greater than or equal to 0.5NTU | 0 | 1 | 0 | 0 | 1 | 0 | 32.5709 | 8.1427 | 8.1427 | 8.1427 | 8.1427 | -1 | -1 | 0 | -1 | -8.1427 | -8.1427 | 0 | -8.1427 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Enforcement actions considered for microbiological standards | 0 | 1 | 0 | 0 | 0 | 0 | 32.5709 | 8.1427 | 8.1427 | 8.1427 | 8.1427 | -1 | -1 | -1 | -1 | -8.1427 | -8.1427 | -8.1427 | -8.1427 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Unplanned non-infrastructure maintenance | 21239 | 25486.8 | 19486 | 17009 | 17507 | 17546 | 32.5709 | 8.1427 | 8.1427 | 8.1427 | 8.1427 | -1.4127 | -1.9958 | -1.8786 | -1.8694 | -11.5031 | -16.2513 | -15.2967 | -15.2219 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Undertaken by: | Date:
Ambrat Virwani | 2016-04-15
Checked by | Date:
Salim Lorgat | 2016-04-25
Signed off | Date:
Jeremy Thomson | 2016-05-20
Note on AR35: Author: compounded efficiency as at FD09
Note on G41: Author: After Caistor St Edmund exclusion.