## BRL BY
Serviceability - Shortfall Calculator - BRL Blind Year Reconciliation draft proposals
Water infrastructure
CC pre CIS, pre efficiency, net in 2012-13 price base |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | [31 empty] | CC10 efficiency
[36 empty] | 2011/12 | 2012/13 | 2013/14 | 2014/15
101.867 |  |  |  | 50.9335 | [31 empty] | 0.729% | 1.126% | 1.522% | 1.915% | FD14 and CC15.
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 12.7334 | 12.7334 | 12.7334 | 12.7334 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Number of burst mains | 950 | 1166 | 877 | 818 | 880 | 977 | 8.4889 | 2.1222 | 2.1222 | 2.1222 | 2.1222 | -1.338 | -1.6111 | -1.3241 | -0.875 | -2.8395 | -3.4191 | -2.81 | -1.857 | 0 | 0 | 0 | 0 | 0 | 0
DG3 unplanned interruption to supply exceeding 12 hours | 75 | 150 | 194 | 145 | 860 | 41331 | 8.4889 | 2.1222 | 2.1222 | 2.1222 | 2.1222 | 0.58667 | -0.066667 | 9.4667 | 549.08 | 1.245 | -0.14148 | 20.0904 | 1165.2736 | 1186.6091 | 1.245 | 0 | 2.1222 | 2.1222 | 5.4895 | 1.245 | 0 | 2.1222 | 2.1222 | 5.4895 | 0.93378 | 0 | 1.5917 | 1.5917 | 4.1171 | 0.92697 | 0 | 1.5675 | 1.5612 | 4.0556 | Shortfall Applied
Iron non-compliance (as 100-Mean Zonal Compliance) (%) | 0.25 | 0.49 | 1.12 | 0.19 | 0.57 | 0.65 | 8.4889 | 2.1222 | 2.1222 | 2.1222 | 2.1222 | 2.625 | -1.25 | 0.33333 | 0.66667 | 5.5709 | -2.6528 | 0.70741 | 1.4148 | 7.6931 | 2.1222 | 0 | 0.70741 | 1.4148 | 4.2445
DG2 Properties at risk of receiving low pressure | 69 | 129 | 69 | 71 | 71 | 71 | 8.4889 | 2.1222 | 2.1222 | 2.1222 | 2.1222 | -1 | -0.96667 | -0.96667 | -0.96667 | -2.1222 | -2.0515 | -2.0515 | -2.0515 | 0 | 0 | 0 | 0 | 0 | 0
Customer contacts per 1,000 population supplied – discolouration (orange/brown/black) | 1.62 | 2 | 1.34 | 1.02 | 1.16 | 1.26 | 8.4889 | 2.1222 | 2.1222 | 2.1222 | 2.1222 | -1.7368 | -2.5789 | -2.2105 | -1.9474 | -3.686 | -5.4731 | -4.6912 | -4.1328 | 0 | 0 | 0 | 0 | 0 | 0
Distribution index TIM | 0.22 | 0.34 | 0.41 | 0.06 | 0.21 | 0.22 | 8.4889 | 2.1222 | 2.1222 | 2.1222 | 2.1222 | 0.58333 | -2.3333 | -1.0833 | -1 | 1.238 | -4.9519 | -2.2991 | -2.1222 | 1.238 | 1.238 | 0 | 0 | 0 | 1.238 | [15 empty] | No shortfall to be applied
[16 empty] | 8.0539 | 0 | 20.7978 | 1166.6884 | 1195.5401 | 4.6052 | 0 | 2.8296 | 3.537 | 10.9719 | 1.245 | 0 | 2.1222 | 2.1222 | 5.4895 | 0.93378 | 0 | 1.5917 | 1.5917 | 4.1171 | 0.92697 | 0 | 1.5675 | 1.5612 | 4.0556
Water Non-infrastructure
CC pre CIS, pre efficiency, net in 2012-13 price base |  |  |  | Maximum value for shortfall adjustment (50%) £(m)
68.4 |  |  |  | 34.2
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 8.55 | 8.55 | 8.55 | 8.55 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Water treatment works coliform non-compliance (% samples failing for coliforms leaving WTW) | 0 | 0.06 | 0.03 | 0 | 0.03 | 0 | 6.84 | 1.71 | 1.71 | 1.71 | 1.71 | -0.5 | -1 | -0.5 | -1 | -0.855 | -1.71 | -0.855 | -1.71 | 0 | 0 | 0 | 0 | 0 | 0
Service reservoir coliform non-compliance (% service reservoirs having more than 5% of coliform samples failing) | 0 | 0.6 | 0.05 | 0.01 | 0.02 | 0 | 6.84 | 1.71 | 1.71 | 1.71 | 1.71 | -0.91667 | -0.98333 | -0.96667 | -1 | -1.5675 | -1.6815 | -1.653 | -1.71 | 0 | 0 | 0 | 0 | 0 | 0
Number of WTW where turbidity 95%ile greater than or equal to 0.5NTU | 0 | 1 | 0 | 0 | 0 | 0 | 6.84 | 1.71 | 1.71 | 1.71 | 1.71 | -1 | -1 | -1 | -1 | -1.71 | -1.71 | -1.71 | -1.71 | 0 | 0 | 0 | 0 | 0 | 0
Enforcement actions considered for microbiological standards | 0 | 1 | 0 | 0 | 0 | 0 | 6.84 | 1.71 | 1.71 | 1.71 | 1.71 | -1 | -1 | -1 | -1 | -1.71 | -1.71 | -1.71 | -1.71 | 0 | 0 | 0 | 0 | 0 | 0
Unplanned non-infrastructure maintenance | 3976 | 5083 | 3240 | 3261 | 3313 | 3595 | 6.84 | 1.71 | 1.71 | 1.71 | 1.71 | -1.6649 | -1.6459 | -1.5989 | -1.3442 | -2.8469 | -2.8145 | -2.7341 | -2.2985 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Undertaken by: | Date:
Ambrat Virwani | 2016-03-17
Checked by | Date:
Salim Lorgat | 2016-04-25
Signed off | Date:
Jeremy Thomson | 2016-05-24
Note on Q13: Highlight values >2
Note on AB13: Moderated the value
Note on O14: Highlight values >1