## SEW BY
Serviceability - Shortfall Calculator - SEW Blind Year Reconciliation Draft Proposals
Water infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation | [30 empty] | SEW FD09 efficiency - WI
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13 | [29 empty] | 2011-12 | 2012-13 | 2013-14 | 2014-15
121.1873 | 2.6144 | 118.5729 | 121.0232 | 60.5116 | 111.3 | 113.6 | [29 empty] | 13.9% | 14.25% | 14.59% | 14.93%
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 15.1279 | 15.1279 | 15.1279 | 15.1279 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Number of burst mains | 2429 | 2835.1009 | 2798 | 2404 | 2102 | 2372 | 10.0853 | 2.5213 | 2.5213 | 2.5213 | 2.5213 | -0.091359 | -1.0616 | -1.8052 | -1.1404 | -0.23034 | -2.6765 | -4.5515 | -2.8752 | 0 | 0 | 0 | 0 | 0 | 0
DG3 unplanned interruption to supply exceeding 12 hours | 85 | 210 | 7906 | 966 | 2451 | 85 | 10.0853 | 2.5213 | 2.5213 | 2.5213 | 2.5213 | 61.568 | 6.048 | 17.928 | -1 | 155.2324 | 15.2489 | 45.2022 | -2.5213 | 215.6835 | 2.5213 | 2.5213 | 2.5213 | 0 | 7.5639 | 2.5213 | 2.5213 | 2.5213 | 0 | 7.5639 | 1.891 | 1.891 | 1.891 | 0 | 5.673 | 1.6281 | 1.6216 | 1.6151 | 0 | 4.8647 | shortfall applied
Iron non-compliance (as 100-Mean Zonal Compliance) (%) | 0.35 | 0.75 | 0.68 | 0.19 | 0.43 | 0.53 | 10.0853 | 2.5213 | 2.5213 | 2.5213 | 2.5213 | -0.175 | -1.4 | -0.8 | -0.55 | -0.44123 | -3.5298 | -2.0171 | -1.3867 | 0 | 0 | 0 | 0 | 0 | 0
DG2 Properties at risk of receiving low pressure | 93 | 194 | 63 | 69 | 62 | 60 | 10.0853 | 2.5213 | 2.5213 | 2.5213 | 2.5213 | -1.297 | -1.2376 | -1.3069 | -1.3267 | -3.2702 | -3.1204 | -3.2952 | -3.3451 | 0 | 0 | 0 | 0 | 0 | 0
Customer contacts per 1,000 population supplied – discolouration (orange/brown/black) | 1.165 | 1.635 | 1.14 | 1.17 | 1.03 | 1.19 | 10.0853 | 2.5213 | 2.5213 | 2.5213 | 2.5213 | -1.0532 | -0.98936 | -1.2872 | -0.94681 | -2.6554 | -2.4945 | -3.2455 | -2.3872 | 0 | 0 | 0 | 0 | 0 | 0
Distribution index TIM | 0.15 | 0.21 | 0.36 | 0.1 | 0.25 | 0.25 | 10.0853 | 2.5213 | 2.5213 | 2.5213 | 2.5213 | 2.5 | -1.8333 | 0.66667 | 0.66667 | 6.3033 | -4.6224 | 1.6809 | 1.6809 | 9.665 | 2.5213 | 0 | 1.6809 | 1.6809 | 5.8831 | [15 empty] | No shortfall to be applied
[16 empty] | 161.5357 | 15.2489 | 46.883 | 1.6809 | 225.3486 | 5.0426 | 2.5213 | 4.2022 | 1.6809 | 13.447 | 2.5213 | 2.5213 | 2.5213 | 0 | 7.5639 | 1.891 | 1.891 | 1.891 | 0 | 5.673 | 1.6281 | 1.6216 | 1.6151 | 0 | 4.8647
Water Non-infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13
108.5898 | 0 | 108.5898 | 110.8338 | 55.4169 | 111.3 | 113.6
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 13.8542 | 13.8542 | 13.8542 | 13.8542 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Water treatment works coliform non-compliance (% samples failing for coliforms leaving WTW) | 0.05 | 0.08 | 0.08 | 0.08 | 0.03 | 0.02 | 11.0834 | 2.7708 | 2.7708 | 2.7708 | 2.7708 | 0 | 0 | -1.6667 | -2 | 0 | 0 | -4.6181 | -5.5417 | 0 | 0 | 0 | 0 | 0 | 0
Service reservoir coliform non-compliance (% service reservoirs having more than 5% of coliform samples failing) | 0.21008 | 0.84034 | 0.45 | 0 | 0 | 0 | 11.0834 | 2.7708 | 2.7708 | 2.7708 | 2.7708 | -0.61933 | -1.3333 | -1.3333 | -1.3333 | -1.7161 | -3.6945 | -3.6945 | -3.6945 | 0 | 0 | 0 | 0 | 0 | 0
Number of WTW where turbidity 95%ile greater than or equal to 0.5NTU | 5 | 10 | 1 | 0 | 3 | 3 | 11.0834 | 2.7708 | 2.7708 | 2.7708 | 2.7708 | -1.8 | -2 | -1.4 | -1.4 | -4.9875 | -5.5417 | -3.8792 | -3.8792 | 0 | 0 | 0 | 0 | 0 | 0
Enforcement actions considered for microbiological standards | 0 | 1 | 0 | 0 | 0 | 0 | 11.0834 | 2.7708 | 2.7708 | 2.7708 | 2.7708 | -1 | -1 | -1 | -1 | -2.7708 | -2.7708 | -2.7708 | -2.7708 | 0 | 0 | 0 | 0 | 0 | 0
Unplanned non-infrastructure maintenance | 6000 | 7200 | 5816 | 7863 | 14634 | 12764 | 11.0834 | 2.7708 | 2.7708 | 2.7708 | 2.7708 | -1.1533 | 0.5525 | 6.195 | 4.6367 | -3.1957 | 1.5309 | 17.1654 | 12.8475 | 31.5438 | 0 | 2.7708 | 2.7708 | 2.7708 | 8.3125 | [15 empty] | No shortfall applied.
[16 empty] | 0 | 1.5309 | 17.1654 | 12.8475 | 31.5438 | 0 | 2.7708 | 2.7708 | 2.7708 | 8.3125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Undertaken by: | Date:
Ambrat Virwani | 2016-03-17
Checked by | Date:
Salim Lorgat | 2016-04-25
Signed off | Date:
Jeremy Thomson | 2016-05-20
Note on Q13: Highlight values >1
Note on Z13: Moderated the values