## SVT BY
Serviceability - Shortfall Calculator - SVT Blind Year Reconciliation draft proposals
Sewerage infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation | [30 empty] | SVT FD09 efficiency - SI
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13 | [29 empty] | 2011-12 | 2012-13 | 2013-14 | 2014-15
244.4986 | 12.765 | 231.7336 | 236.5223 | 118.2612 | 111.3 | 113.6 | [29 empty] | -0.2531% | 0.1479% | 0.5473% | 0.9451%
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values (£m) pre-efficiency; where shortfall is applied |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 29.5653 | 29.5653 | 29.5653 | 29.5653 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Sewer collapses | 1013 | 1153 | 623 | 488 | 280 | 353 | 19.7102 | 4.9275 | 4.9275 | 4.9275 | 4.9275 | -3.7857 | -4.75 | -6.2357 | -5.7143 | -18.6543 | -23.4059 | -30.7268 | -28.1574 | 0 | 0 | 0 | 0 | 0 | 0
Pollution Incidents | 261 | 337 | 296 | 243 | 292 | 225 | 19.7102 | 4.9275 | 4.9275 | 4.9275 | 4.9275 | -0.53947 | -1.2368 | -0.59211 | -1.4737 | -2.6583 | -6.0946 | -2.9176 | -7.2617 | 0 | 0 | 0 | 0 | 0 | 0
Flooding other causes | 560 | 677 | 568 | 764 | 598 | 613 | 19.7102 | 4.9275 | 4.9275 | 4.9275 | 4.9275 | -0.93162 | 0.74359 | -0.67521 | -0.54701 | -4.5906 | 3.6641 | -3.3271 | -2.6954 | 3.6641 | 0 | 3.6641 | 0 | 0 | 3.6641 | [15 empty] | No shortfall applied
Flooding overloaded sewers | 169 | 241 | 5 | 124 | 47 | 121 | 19.7102 | 4.9275 | 4.9275 | 4.9275 | 4.9275 | -3.2778 | -1.625 | -2.6944 | -1.6667 | -16.1514 | -8.0073 | -13.277 | -8.2126 | 0 | 0 | 0 | 0 | 0 | 0
Sewer Blockages | 17587 | 19729 | 23929 | 22156 | 19245 | 17617 | 19.7102 | 4.9275 | 4.9275 | 4.9275 | 4.9275 | 1.9608 | 1.1331 | -0.22596 | -0.98599 | 9.6619 | 5.5832 | -1.1134 | -4.8585 | 15.245 | 4.9275 | 4.9275 | 0 | 0 | 9.8551 | 4.9275 | 4.9275 | 0 | 0 | 9.8551 | 4.9275 | 4.9275 | 0 | 0 | 9.8551 | 4.94 | 4.9203 | 0 | 0 | 9.8603 | Shortfall applied
Equipment failures | 194 | 249 | 114 | 244 | 212 | 147 | 19.7102 | 4.9275 | 4.9275 | 4.9275 | 4.9275 | -2.4545 | -0.090909 | -0.67273 | -1.8545 | -12.0949 | -0.44796 | -3.3149 | -9.1384 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 9.6619 | 9.2472 | 0 | 0 | 18.9091 | 4.9275 | 8.5916 | 0 | 0 | 13.5192 | 4.9275 | 4.9275 | 0 | 0 | 9.8551 | 4.9275 | 4.9275 | 0 | 0 | 9.8551 | 4.94 | 4.9203 | 0 | 0 | 9.8603
Sewerage Non-infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13
748.6521 | 0 | 748.6521 | 764.1229 | 382.0615 | 111.3 | 113.6
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 95.5154 | 95.5154 | 95.5154 | 95.5154 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
% of sewage treatment works discharges failing numeric consents | 1.68 | 2.38 | 2.5424 | 0.85106 | 0.71 | 0.14 | 127.3538 | 31.8385 | 31.8385 | 31.8385 | 31.8385 | 0.23196 | -2.1842 | -2.3857 | -3.2 | 7.3853 | -69.5414 | -75.9575 | -101.8831 | 7.3853 | 7.3853 | 0 | 0 | 0 | 7.3853 | [15 empty] | no shortfall applied
% of total p.e. served by sewage treatment works in breach of WRA or UWWTD consent (LUT) | 0.02 | 0.08 | 0.21 | 0 | 0.06 | 0 | 127.3538 | 31.8385 | 31.8385 | 31.8385 | 31.8385 | 2.1667 | -1.3333 | -0.33333 | -1.3333 | 68.9833 | -42.4513 | -10.6128 | -42.4513 | 68.9833 | 31.8385 | 0 | 0 | 0 | 31.8385 | [15 empty] | no shortfall applied
Unplanned non-infrastructure maintenance | 36049 | 43258.8 | 29406 | 28997 | 29459 | 28998 | 127.3538 | 31.8385 | 31.8385 | 31.8385 | 31.8385 | -1.9214 | -1.9781 | -1.914 | -1.978 | -61.1739 | -62.9801 | -60.9399 | -62.9757 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
[16 empty] | 76.3686 | 0 | 0 | 0 | 76.3686 | 39.2237 | 0 | 0 | 0 | 39.2237 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation | [30 empty] | SVT FD09 efficiency - WI
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13 | [29 empty] | 2011-12 | 2012-13 | 2013-14 | 2014-15
398.8929 | 18.355 | 380.5379 | 388.4017 | 194.2008 | 111.3 | 113.6 | [29 empty] | -11.72% | -11.27% | -10.83% | -10.39%
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 48.5502 | 48.5502 | 48.5502 | 48.5502 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Number of burst mains | 7150 | 7850 | 7433 | 5691 | 6270 | 6253 | 32.3668 | 8.0917 | 8.0917 | 8.0917 | 8.0917 | -0.59571 | -3.0843 | -2.2571 | -2.2814 | -4.8203 | -24.9571 | -18.2641 | -18.4606 | 0 | 0 | 0 | 0 | 0 | 0
DG3 unplanned interruption to supply exceeding 12 hours | 1360 | 2720 | 5223 | 1860 | 1712 | 3365 | 32.3668 | 8.0917 | 8.0917 | 8.0917 | 8.0917 | 1.8404 | -0.63235 | -0.74118 | 0.47426 | 14.8923 | -5.1168 | -5.9974 | 3.8376 | 18.7299 | 8.0917 | 0 | 0 | 3.8376 | 11.9293 | 8.0917 | 0 | 0 | 3.8376 | 11.9293 | 6.0688 | 0 | 0 | 2.8782 | 8.947 | 6.7801 | 0 | 0 | 3.1771 | 9.9572 | Shortfall applied
Iron non-compliance (as 100-Mean Zonal Compliance) (%) | 0.3 | 0.44 | 0.4 | 0.63 | 0.23 | 0.35 | 32.3668 | 8.0917 | 8.0917 | 8.0917 | 8.0917 | -0.28571 | 1.3571 | -1.5 | -0.64286 | -2.3119 | 10.9816 | -12.1376 | -5.2018 | 10.9816 | 0 | 8.0917 | 0 | 0 | 8.0917 | [15 empty] | No shortfall applied.
DG2 Properties at risk of receiving low pressure | 680 | 1700 | 210 | 164 | 254 | 230 | 32.3668 | 8.0917 | 8.0917 | 8.0917 | 8.0917 | -1.4608 | -1.5059 | -1.4176 | -1.4412 | -11.8202 | -12.1852 | -11.4712 | -11.6616 | 0 | 0 | 0 | 0 | 0 | 0
Customer contacts per 1,000 population supplied – discolouration (orange/brown/black) | 1.04 | 1.25 | 0.85 | 1.01 | 1.19 | 1.18 | 32.3668 | 8.0917 | 8.0917 | 8.0917 | 8.0917 | -1.9048 | -1.1429 | -0.28571 | -0.33333 | -15.4128 | -9.2477 | -2.3119 | -2.6972 | 0 | 0 | 0 | 0 | 0 | 0
Distribution index TIM | 0.11 | 0.17 | 0.15 | 0.22 | 0.07 | 0.12 | 32.3668 | 8.0917 | 8.0917 | 8.0917 | 8.0917 | -0.33333 | 0.83333 | -1.6667 | -0.83333 | -2.6972 | 6.7431 | -13.4862 | -6.7431 | 6.7431 | 0 | 6.7431 | 0 | 0 | 6.7431 | [15 empty] | No shortfall applied.
[16 empty] | 14.8923 | 17.7247 | 0 | 3.8376 | 36.4546 | 8.0917 | 14.8348 | 0 | 3.8376 | 26.7641 | 8.0917 | 0 | 0 | 3.8376 | 11.9293 | 0 | 0 | 0 | 0 | 0 | 6.7801 | 0 | 0 | 3.1771 | 9.9572
Water Non-infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation | [30 empty] | SVT FD09 efficiency - WNI
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13 | [29 empty] | 2011-12 | 2012-13 | 2013-14 | 2014-15
445.1716 | 0 | 445.1716 | 454.371 | 227.1855 | 111.3 | 113.6 | [29 empty] | 16.04% | 16.37% | 16.71% | 17.04%
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 56.7964 | 56.7964 | 56.7964 | 56.7964 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Water treatment works coliform non-compliance (% samples failing for coliforms leaving WTW) | 0.02 | 0.04 | 0.068686 | 0.026403 | 0.071646 | 0.1 | 45.4371 | 11.3593 | 11.3593 | 11.3593 | 11.3593 | 1.4343 | -0.67987 | 1.5823 | 3 | 16.2926 | -7.7228 | 17.9738 | 34.0778 | 68.3443 | 11.3593 | 0 | 11.3593 | 11.3593 | 34.0778 | 11.3593 | 0 | 11.3593 | 11.3593 | 34.0778 | 9.9394 | 0 | 9.9394 | 9.9394 | 29.8181 | 8.3455 | 0 | 8.2789 | 8.2458 | 24.8702 | Shortfall applied
Service reservoir coliform non-compliance (% service reservoirs having more than 5% of coliform samples failing) | 0.08 | 0.24 | 0 | 0 | 0 | 0 | 45.4371 | 11.3593 | 11.3593 | 11.3593 | 11.3593 | -1.5 | -1.5 | -1.5 | -1.5 | -17.0389 | -17.0389 | -17.0389 | -17.0389 | 0 | 0 | 0 | 0 | 0 | 0
Number of WTW where turbidity 95%ile greater than or equal to 0.5NTU | 0 | 2 | 0 | 1 | 0 | 0 | 45.4371 | 11.3593 | 11.3593 | 11.3593 | 11.3593 | -1 | -0.5 | -1 | -1 | -11.3593 | -5.6796 | -11.3593 | -11.3593 | 0 | 0 | 0 | 0 | 0 | 0
Enforcement actions considered for microbiological standards | 0 | 1 | 0 | 1 | 1 | 0 | 45.4371 | 11.3593 | 11.3593 | 11.3593 | 11.3593 | -1 | 0 | 0 | -1 | -11.3593 | 0 | 0 | -11.3593 | 0 | 0 | 0 | 0 | 0 | 0
Unplanned non-infrastructure maintenance | 13646 | 17613 | 13444 | 14048 | 14706 | 13389 | 45.4371 | 11.3593 | 11.3593 | 11.3593 | 11.3593 | -1.0509 | -0.89866 | -0.7328 | -1.0648 | -11.9377 | -10.2082 | -8.324 | -12.0952 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 16.2926 | 0 | 17.9738 | 34.0778 | 68.3443 | 11.3593 | 0 | 11.3593 | 11.3593 | 34.0778 | 11.3593 | 0 | 11.3593 | 11.3593 | 34.0778 | 9.9394 | 0 | 9.9394 | 9.9394 | 29.8181 | 8.3455 | 0 | 8.2789 | 8.2458 | 24.8702
Undertaken by: | Date:
Ambrat Virwani | 2016-04-21
Checked by | Date:
Salim Lorgat | 2016-04-25
Signed off | Date:
Jeremy Thomson | 2016-05-20
Note on P12: Highlight values >1
Note on AV17: In addition to this shortfall, £13.541m capex for ELOS failure on pollution incidents also assumed (as in the PR14 final determination).
Note on O28: Highlight values >1
Note on Z28: Moderated to 1 SD
Note on E41: exclusions applied
Note on F41: exclusions applied