## WSH FD14 BY
Serviceability - Shortfall Calculator - WSH Blind Year Reconciliation draft proposals
Sewerage infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13
139.5861 | 4.47 | 135.1161 | 137.9082 | 68.9541 | 111.3 | 113.6
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values (£m) pre-efficiency; where shortfall is applied |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 17.2385 | 17.2385 | 17.2385 | 17.2385 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Sewer collapses | 504 | 603 | 546 | 460 | 450 | 358 | 11.4924 | 2.8731 | 2.8731 | 2.8731 | 2.8731 | -0.57576 | -1.4444 | -1.5455 | -2.4747 | -1.6542 | -4.15 | -4.4402 | -7.1102 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Pollution Incidents | 155 | 229 | 178 | 146 | 88 | 72 | 11.4924 | 2.8731 | 2.8731 | 2.8731 | 2.8731 | -0.68919 | -1.1216 | -1.9054 | -2.1216 | -1.9801 | -3.2225 | -5.4744 | -6.0956 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Flooding other causes | 120 | 170 | 156 | 151 | 137 | 113 | 11.4924 | 2.8731 | 2.8731 | 2.8731 | 2.8731 | -0.28 | -0.38 | -0.66 | -1.14 | -0.80446 | -1.0918 | -1.8962 | -3.2753 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Flooding overloaded sewers | 92 | 132 | 30 | 68 | 53 | 38 | 11.4924 | 2.8731 | 2.8731 | 2.8731 | 2.8731 | -2.55 | -1.6 | -1.975 | -2.35 | -7.3264 | -4.5969 | -5.6743 | -6.7518 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Sewer Blockages | 13589 | 14501 | 13965 | 14011 | 12300 | 9487 | 11.4924 | 2.8731 | 2.8731 | 2.8731 | 2.8731 | -0.58772 | -0.53728 | -2.4134 | -5.4978 | -1.6886 | -1.5437 | -6.9338 | -15.7957 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Equipment failures | 250 | 311 | 94 | 79 | 81 | 46 | 11.4924 | 2.8731 | 2.8731 | 2.8731 | 2.8731 | -3.5574 | -3.8033 | -3.7705 | -4.3443 | -10.2207 | -10.9272 | -10.833 | -12.4814 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sewerage Non-infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13
274.4178 | 0 | 274.4178 | 280.0886 | 140.0443 | 111.3 | 113.6
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 35.0111 | 35.0111 | 35.0111 | 35.0111 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
% of sewage treatment works discharges failing numeric consents | 2.44 | 3.42 | 3.73 | 2.21 | 2.1 | 0.87 | 46.6814 | 11.6704 | 11.6704 | 11.6704 | 11.6704 | 0.31633 | -1.2347 | -1.3469 | -2.602 | 3.6916 | -14.4093 | -15.7193 | -30.3668 | 3.6916 | 3.6916 | 0 | 0 | 0 | 3.6916 | [15 empty] | no shortfall applied
% of total p.e. served by sewage treatment works in breach of WRA or UWWTD consent (LUT) | 0.1 | 0.19 | 0.28 | 0 | 0.04 | 0.1 | 46.6814 | 11.6704 | 11.6704 | 11.6704 | 11.6704 | 1 | -2.1111 | -1.6667 | -1 | 11.6704 | -24.6374 | -19.4506 | -11.6704 | 11.6704 | 11.6704 | 0 | 0 | 0 | 11.6704 | [15 empty] | no shortfall applied
Unplanned non-infrastructure maintenance | 27493 | 29627 | 38601 | 43169 | 47000 | 45547 | 46.6814 | 11.6704 | 11.6704 | 11.6704 | 11.6704 | 4.2052 | 6.3458 | 8.141 | 7.4602 | 49.0768 | 74.0581 | 95.009 | 87.0629 | 305.2067 | 11.6704 | 11.6704 | 11.6704 | 11.6704 | 46.6814 | [15 empty] | no shortfall applied
[16 empty] | 64.4388 | 74.0581 | 95.009 | 87.0629 | 320.5687 | 27.0324 | 11.6704 | 11.6704 | 11.6704 | 62.0434
Water infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation | [30 empty] | WSH FD09 efficiency - WI
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13 | [29 empty] | 2011-12 | 2012-13 | 2013-14 | 2014-15
207.0849 | 0 | 207.0849 | 211.3643 | 105.6821 | 111.3 | 113.6 | [29 empty] | 3.705% | 4.09% | 4.474% | 4.856%
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 26.4205 | 26.4205 | 26.4205 | 26.4205 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Number of burst mains | 4350 | 4713 | 4379 | 3521 | 3833 | 3530 | 17.6137 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | -0.92011 | -3.2837 | -2.4242 | -3.259 | -4.0516 | -14.4597 | -10.675 | -14.3505 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
DG3 unplanned interruption to supply exceeding 12 hours | 93 | 298 | 5106 | 3958 | 664 | 2375 | 17.6137 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | 23.4537 | 17.8537 | 1.7854 | 10.1317 | 103.2764 | 78.6172 | 7.8617 | 44.6142 | 234.3695 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | 17.6137 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | 17.6137 | 3.3026 | 3.3026 | 3.3026 | 3.3026 | 13.2103 | 3.1802 | 3.1675 | 3.1548 | 3.1422 | 12.6447 | Shortfall applied.
Iron non-compliance (as 100-Mean Zonal Compliance) (%) | 0.3 | 0.64 | 0.2 | 0.47 | 0.46 | 0.59 | 17.6137 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | -1.2941 | -0.5 | -0.52941 | -0.14706 | -5.6985 | -2.2017 | -2.3312 | -0.64756 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
DG2 Properties at risk of receiving low pressure | 220 | 296 | 151 | 131 | 130 | 116 | 17.6137 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | -1.9079 | -2.1711 | -2.1842 | -2.3684 | -8.4013 | -9.5601 | -9.618 | -10.4292 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Customer contacts per 1,000 population supplied – discolouration (orange/brown/black) | 3.085 | 3.745 | 1.96 | 2.14 | 2.02 | 2.34 | 17.6137 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | -2.7045 | -2.4318 | -2.6136 | -2.1288 | -11.9093 | -10.7083 | -11.5089 | -9.374 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Distribution index TIM | 0.23 | 0.33 | 0.1 | 0.16 | 0.2 | 0.25 | 17.6137 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | -2.3 | -1.7 | -1.3 | -0.8 | -10.1279 | -7.4858 | -5.7244 | -3.5227 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
[16 empty] | 103.2764 | 78.6172 | 7.8617 | 44.6142 | 234.3695 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | 17.6137 | 4.4034 | 4.4034 | 4.4034 | 4.4034 | 17.6137 | 3.3026 | 3.3026 | 3.3026 | 3.3026 | 13.2103 | 3.1802 | 3.1675 | 3.1548 | 3.1422 | 12.6447
Water Non-infrastructure
OFWAT FD09 BASELINE (£m) |  |  |  | Maximum value for shortfall adjustment (50%) £(m) | Indexation
line 11 (OFWAT baseline before efficiency) | line 16 (OFWAT view of Grants & Contributions) | 2007-08 prices | 2012-13 prices |  | COPI 2007-08 | COPI 2012-13
237.5423 | 0 | 237.5423 | 242.451 | 121.2255 | 111.3 | 113.6
Performance and measures | [6 empty] | Step I: Unscaled yearly shortfall value (£m) |  |  |  |  | Step II: Scaling factor based on the distance of performance of the indicator above the upper control limit |  |  |  | Step III: Calculate the value of the shortfall (£m) |  |  |  |  | Step IV: Moderate the value of shortfall where actual serviceablity performance as represented by the scaling factor is above 1 standard deviation by capping the scaling factor at 1 standard deviation (£m) |  |  |  |  | Step V: Shortfall values pre-efficiency; where shortfall is applied (£m) |  |  |  |  | Step VI: Apply volatility factor where applicable (£m) |  |  |  |  | Step VII: Step VI in post efficiency; where shortfall is applied (£m)
|  |  | Actual Performance |  |  |  |  | 2011/12 | 2012/13 | 2013/14 | 2014/15
Measure | Ref level | UCL | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total Shortfall value (non scaled) | 30.3064 | 30.3064 | 30.3064 | 30.3064 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total | 2011/12 | 2012/13 | 2013/14 | 2014/15 | Total
Water treatment works coliform non-compliance (% samples failing for coliforms leaving WTW) | 0.04 | 0.07 | 0.04 | 0.05 | 0.02 | 0 | 24.2451 | 6.0613 | 6.0613 | 6.0613 | 6.0613 | -1 | -0.66667 | -1.6667 | -2.3333 | -6.0613 | -4.0409 | -10.1021 | -14.143 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Service reservoir coliform non-compliance (% service reservoirs having more than 5% of coliform samples failing) | 0 | 0.34 | 0 | 0 | 0 | 0 | 24.2451 | 6.0613 | 6.0613 | 6.0613 | 6.0613 | -1 | -1 | -1 | -1 | -6.0613 | -6.0613 | -6.0613 | -6.0613 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Number of WTW where turbidity 95%ile greater than or equal to 0.5NTU | 5 | 11 | 0 | 1 | 0 | 0 | 24.2451 | 6.0613 | 6.0613 | 6.0613 | 6.0613 | -1.8333 | -1.6667 | -1.8333 | -1.8333 | -11.1123 | -10.1021 | -11.1123 | -11.1123 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Enforcement actions considered for microbiological standards | 0 | 1 | 0 | 0 | 0 | 0 | 24.2451 | 6.0613 | 6.0613 | 6.0613 | 6.0613 | -1 | -1 | -1 | -1 | -6.0613 | -6.0613 | -6.0613 | -6.0613 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
Unplanned non-infrastructure maintenance | 11150 | 12416 | 10219 | 11881 | 10638 | 7805 | 24.2451 | 6.0613 | 6.0613 | 6.0613 | 6.0613 | -1.7354 | -0.42259 | -1.4044 | -3.6422 | -10.5187 | -2.5614 | -8.5126 | -22.0763 | 0 | 0 | 0 | 0 | 0 | 0 | [15 empty] | no shortfall applied
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Undertaken by: | Date:
Ambrat Virwani | 2016-03-04
Checked by | Date:
Salim Lorgat | 2016-04-25
Signed off | Date:
Jeremy Thomson | 2016-05-18
Note on P12: Highlight values >1
Note on O28: Highlight any values >1
Note on Z29: Moderate the value of shortfall
Note on Z41: Moderate the value of shortfall to 1 standard deviation.