## Table 1
Please complete the below table with the most accurate data you have available. Where accurate data is not available, please give an estimate based on prelimary, expected or estimated data (indicating where you have done so and explain the rationale behind the estimates). If no data is available then please explain why. If you would like to submit other relevant data / information relating to the incident then please do so, making clear why this should be taken into account.
Table 1 - Freeze/Thaw Incident information by date
| Units | Dates (Clearly specify in red the dates that your company considered it was managing events rather than business as usual - the end date should be no earlier than all customers being back on supply) If you consider it appropriate, you may extend the date range (eg to the start of February) and explain why additional dates are relevant. You may not choose a smaller range of dates. | [26 empty] | Notes
|  | 2018-02-16 | 2018-02-17 | 2018-02-18 | 2018-02-19 | 2018-02-20 | 2018-02-21 | 2018-02-22 | 2018-02-23 | 2018-02-24 | 2018-02-25 | 2018-02-26 | 2018-02-27 | 2018-02-28 | 2018-03-01 | 2018-03-02 | 2018-03-03 | 2018-03-04 | 2018-03-05 | 2018-03-06 | 2018-03-07 | 2018-03-08 | 2018-03-09 | 2018-03-10 | 2018-03-11 | 2018-03-12 | 2018-03-13 | 2018-03-14
Number of mains bursts | # | 15 | 7 | 6 | 10 | 9 | 12 | 10 | 5 | 7 | 2 | 9 | 18 | 18 | 27 | 30 | 29 | 29 | 40 | 34 | 20 | 15 | 21 | 8 | 5 | 6 | 13 | 12
Average repair response time | hours | 3.05 | 1.18 | 1.04 | 1.13 | 2.58 | 2.39 | 5.13 | 2.33 | 2.14 | n/a | 1.27 | 2.02 | 2.4 | 2.01 | 3.44 | 2.58 | 5.43 | 2.31 | 2.57 | 3.43 | 0.58 | 1.54 | 1.5 | n/a | 1.02 | 1.39 | n/a | time to site from creation
Number of reported customer side leaks | # | 8 | 0 | 0 | 2 | 6 | 10 | 3 | 4 | 1 | 0 | 14 | 3 | 8 | 2 | 7 | 0 | 0 | 5 | 8 | 6 | 4 | 7 | 0 | 0 | 9 | 0 | 11
Average repair response time | hours | 15.34 | 0 | 0 | 25.55 | 14.92 | 16.94 | 19.44 | 18.59 | 0 | 0 | 17.55 | 13.17 | 13.51 | 5.57 | 7.8 | 0 | 0 | 5.68 | 11.53 | 4.72 | 1.99 | 10.49 | 0 | 0 | 7.57 | 0 | 6.05
Number of reported supply side leaks | # | 8 | 0 | 0 | 2 | 6 | 10 | 3 | 4 | 1 | 0 | 14 | 3 | 8 | 2 | 7 | 0 | 0 | 5 | 8 | 6 | 4 | 7 | 0 | 0 | 9 | 0 | 11
Average repair response time | hours | 15.34 | 0 | 0 | 25.55 | 14.92 | 16.94 | 19.44 | 18.59 | 0 | 0 | 17.55 | 13.17 | 13.51 | 5.57 | 7.8 | 0 | 0 | 5.68 | 11.53 | 4.72 | 1.99 | 10.49 | 0 | 0 | 7.57 | 0 | 6.05
Estimated leakage - This figure is the sum of NFL from reporting DMAs and is not directly comparable to monthly Pre or Post MLE figures | Ml/d | 189.566 | 189.566 | 189.566 | 189.566 | 188.306 | 187.008 | 186.905 | 187.582 | 191.181 | 190.66 | 186.973 | 187.716 | 199.866 | 206.828 | 223.848 | 302.849 | 349.801 | 298.704 | 246.204 | 226.762 | 216.583 | 212.414 | 212.143 | 211.014 | 205.28 | 201.767 | 199.934
Distribution input | Ml/d | 859.4864 | 869.5949 | 885.1589 | 855.9462 | 856.5899 | 851.2961 | 860.2892 | 858.5361 | 873.7606 | 888.6928 | 856.0312 | 865.2007 | 876.5264 | 867.1961 | 895.539 | 1060.6142 | 1066.485 | 967.1175 | 934.8005 | 910.14 | 906.2514 | 893.0049 | 906.1543 | 924.4755 | 887.1717 | 889.2245 | 897.863
Operational leakage tracking | Ml/d | 37.4864 | 47.5949 | 63.1589 | 33.9462 | 34.5899 | 29.2961 | 38.2892 | 36.5361 | 51.7606 | 66.6928 | 34.0312 | 43.2007 | 54.5264 | 42.1961 | 70.539 | 235.6142 | 241.485 | 142.1175 | 109.8005 | 85.14 | 81.2514 | 68.0049 | 81.1543 | 99.4755 | 62.1717 | 64.2245 | 72.863
Number of customers experiencing supply interruptions at some point during the day | # | 22 | 82 | 0 | 40 | 88 | 67 | 22 | 0 | 45 | 0 | 231 | 479 | 150 | 74 | 1 | 2150 | 2609 | 2093 | 256 | 28 | 124 | 125 | 0 | 0 | 0 | 0 | 0
Volume of water distributed to customers using alternative supplies (eg bottled water, bowsers) | litres | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 500 | 4968 | 4968 | - | - | - | - | - | - | - | - | -
Number of water bottle collection points in operation | # | bar: 2018-02-16 to 2018-03-14
Minimum Night Flow (MNF) | Ml/d | 250.5472 | 249.2897 | 249.2907 | 246.6448 | 245.2375 | 243.869 | 244.0654 | 244.6549 | 247.6052 | 247.4106 | 243.8658 | 244.384 | 255.527 | 262.3827 | 272.2044 | 345.2264 | 392.0141 | 345.3374 | 294.9161 | 279.6814 | 270.7192 | 267.1931 | 267.133 | 265.9758 | 260.867 | 257.4371 | 256.142
Number of customers experiencing low pressure | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3017 | 252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average repair response time | hours | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Low pressure were not down to burst mains and therefore repair times are not applicable.
Total number of customer contacts | # | 1009 | 508 | 219 | 1423 | 1032 | 1054 | 1058 | 1221 | 475 | 263 | 1481 | 1464 | 1416 | 2296 | 1413 | 2663 | 2570 | 2283 | 1897 | 1658 | 1597 | 1234 | 772 | 333 | 1344 | 1199 | 963
Total number of customer contacts by phone - Offered | # | 465 | 249 | 92 | 689 | 504 | 515 | 487 | 603 | 246 | 102 | 739 | 739 | 722 | 1223 | 705 | 1323 | 1133 | 997 | 979 | 832 | 787 | 600 | 411 | 148 | 678 | 607 | 484
Total number of customer contacts by phone - Answered | # | 445 | 198 | 84 | 618 | 455 | 464 | 443 | 508 | 174 | 93 | 618 | 621 | 598 | 946 | 598 | 1077 | 920 | 897 | 755 | 663 | 666 | 532 | 322 | 135 | 582 | 511 | 411
Total number of customer contacts by email | # | 34 | 25 | 24 | 66 | 33 | 23 | 59 | 51 | 28 | 49 | 59 | 48 | 46 | 61 | 45 | 117 | 84 | 135 | 64 | 89 | 85 | 52 | 21 | 30 | 61 | 62 | 39
Total number of customer contacts by social media | # | 65 | 36 | 19 | 49 | 40 | 52 | 69 | 59 | 27 | 19 | 65 | 56 | 50 | 66 | 65 | 146 | 433 | 254 | 99 | 74 | 59 | 50 | 18 | 20 | 23 | 19 | 29
Total number of customer contacts by physical contact | # | [27 empty] | Not recorded | bar: 2018-02-16 to 2018-03-14
Total number of customer contacts by SMS | # | [27 empty] | This is for customers who have signed up for text alerts relating to an incident message | bar: 2018-02-16 to 2018-03-14
Total number of customer contacts by hard copy letter | # | 0 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total number of customer contacts by other (please specify) | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average waiting time for response - calls | hours | 0:49 | 1:04 | 0:19 | 0:42 | 0:36 | 0:48 | 2:04 | 1:09 | 1:16 | 0:43 | 1:32 | 1:52 | 3:09 | 4:55 | 2:23 | 2:43 | 2:48 | 1:19 | 3:20 | 2:37 | 1:42 | 1:30 | 2:30 | 0:11 | 2:17 | 1:33 | 1:26 | Average wait time in the queue
Average waiting time for response - emails | hours | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 48 | 48 | Responses postponed | Responses postponed | Responses postponed | Responses postponed | Responses postponed | Responses postponed | Responses postponed | Responses postponed | Responses postponed | Responses postponed | Responses postponed | 24 | 24 | 24 | 24 | 24 | 24 | Average wait time for response to email - completed by the next day
Number of times your company webiste was updated with the latest situational information per day | # | 5 | 0 | 1 | 0 | 4 | 1 | 4 | 3 | 0 | 2 | 3 | 3 | 5 | 4 | 5 | 5 | 2 | 6 | 11 | 14 | 2 | 4 | 5 | 1 | 3 | 1 | 1
Average water temperature entering the supply network - chertsey mains | oC | 8 | 7.5 | 8.1 | 8.3 | 9 | 8.7 | 8.5 | 8.6 | 8 | 7 | 7.7 | 7.2 | 6.3 | 6.1 | 5.1 | 5.3 | 4.8 | 6.3 | 6.8 | 7.4 | 7.9 | 8 | 8.5 | 6.9 | 8.9 | 9.1 | 9.2
Average water temperature entering the supply network - egham mains | oC | 6 | 5.6 | 6.1 | 7.4 | 7.6 | 7.3 | 7.3 | 7.4 | 7.2 | 5.9 | 5.5 | 4.8 | 4 | 4.3 | 2.7 | 4.1 | 3.2 | 4.4 | 8 | 5.2 | 6.2 | 8.6 | 7.9 | 8.2 | 8.7 | 9.9 | 8.9
Average water temperature entering the supply network - walton mains | oC | 7.2 | 6.7 | 6.8 | 7.6 | 8.4 | 7.8 | 8 | 7.2 | 6.8 | 6.1 | 6.4 | 6.3 | 5.4 | 4.7 | 4.1 | 4.2 | 3.9 | 5.3 | 6.3 | 6.3 | 6.7 | 7.2 | 7.3 | 7.4 | 7.8 | 8 | 9.9
Average water temperature entering the supply network - iver final | oC | 5.4 | 5.7 | 7.4 | 7.8 | 6.9 | 7.2 | 7.3 | 7.1 | 6 | 5.4 | 4.8 | 4 | 3.3 | 2.7 | 3 | 2.8 | 4 | 4.4 | 5.2 | 6 | 6.9 | 7.6 | 8.1 | 8.1 | 8.8 | 9.3 | 8.6
Air temperature minimum | oC | -0.52 | 0.12667 | 1.0467 | 5.8067 | 4.1533 | 1.5133 | -0.17333 | -1.28 | -2.0333 | -1.5267 | -3 | -5.4267 | -5.9933 | -5.18 | -2.1733 | -0.11333 | 2.72 | 3.38 | 3.18 | 2.3867 | 2.9867 | 1.1467 | 6.14 | 5.1933 | 5.52 | 3.0667 | 1.86
Air temperature maximum | oC | 8.98 | 9.3533 | 9.0533 | 9.86 | 8.4533 | 5.6067 | 4.8 | 3.56 | 5.2067 | 3.4133 | 1.1267 | 0.52667 | -1.84 | -0.37333 | -0.046667 | 3.46 | 7.7267 | 9.2 | 9.3067 | 9.58 | 9.1933 | 9.2733 | 12.5067 | 10.9333 | 9.66 | 10.1067 | 12.1333
Weather warning for Company area of supply | (N/A, Yellow, Amber, Red)* | - | - | - | - | - | - | - | yellow | yellow | yellow | yellow/amber | yellow/amber | yellow/amber | yellow/amber | yellow | yellow | - | - | - | - | - | - | - | - | - | - | yellow
Weather warning likelihood for Company area of supply | (N/A, Very Low, Low, Medium, High)* | - | - | - | - | - | - | - | Low | Low | Low/Med | Low/Med | Low/Med | Low/Med | Low/Med | Low | Low | Low | - | - | - | - | - | - | - | - | - | Low
* Using Met Office definitions: https://www.metoffice.gov.uk/guide/weather/warnings • Properties interrupted are reported in accordance with our AMP6 performance commitment definitions and the March 2017 ‘shadow reporting’ definitions i.e. interrupted for 2.5 hours or greater. • The numbers take account of where properties were interrupted on more than one occasion e.g. if a property was interrupted on two days it has been counted twice. • We have not included properties experiencing a planned and warned interruption as part of our mains renewal programme. Details of these have not yet been collated for the period in question and are probably not relevant to Ofwat’s interest in this investigation. • Where an interruption extended over midnight we have included the property numbers in the day the interruption commenced rather than the day it ended. • We do not track separately numbers of residential and business properties interrupted. We have used a ratio for residential and business property numbers derived from the supply interruption GSS payments made as a result of problems associated with the thaw. • The numbers for properties experiencing low pressures are those identified as meeting the criteria for GSS low pressure payments. Numbers have been entered against the date on which a GSS payment became due i.e. the second occurrence of low pressure.

## Table 2
Table 2 - Customer supply interruption information by customer type
| Units | Total | Residential customers | Business customers | Customers in vulnerable circumstances
Number of customer supply interruptions during the incident period | # | 8686 | 8224 | 462 | 422
Percentage of the company's customers affected | % | 0.5826% | 0.5816% | 0.6016% | 0.03%
Number of customers experiencing supply interruptions less than 4 hours | # | 2197 | 2080 | 117 | 106
Number of customers experiencing supply interruptions between 4 and 12 hours | # | 4867 | 4607.988 | 259.012 | 235
Number of customers experiencing supply interruptions between 12 and 24 hours | # | 1622 | 1535.6804 | 86.3196 | 78
Number of customers experiencing supply interruptions between 24 and 48 hours | # | 0 | 0 | 0 | 0
[Add more rows as appropriate - continue until all customers were reconnected]