## Table 1
Please complete the below table with the most accurate data you have available. Where accurate data is not available, please give an estimate based on prelimary, expected or estimated data (indicating where you have done so and explain the rationale behind the estimates). If no data is available then please explain why. If you would like to submit other relevant data / information relating to the incident then please do so, making clear why this should be taken into account.
Table 1 - Freeze/Thaw Incident information by date
| Units | Dates (Clearly specify in red the dates that your company considered it was managing events rather than business as usual - the end date should be no earlier than all customers being back on supply) If you consider it appropriate, you may extend the date range (eg to the start of February) and explain why additional dates are relevant. You may not choose a smaller range of dates. | [26 empty] | Notes
|  | 2018-02-16 | 2018-02-17 | 2018-02-18 | 2018-02-19 | 2018-02-20 | 2018-02-21 | 2018-02-22 | 2018-02-23 | 2018-02-24 | 2018-02-25 | 2018-02-26 | 2018-02-27 | 2018-02-28 | 2018-03-01 | 2018-03-02 | 2018-03-03 | 2018-03-04 | 2018-03-05 | 2018-03-06 | 2018-03-07 | 2018-03-08 | 2018-03-09 | 2018-03-10 | 2018-03-11 | 2018-03-12 | 2018-03-13 | 2018-03-14
Number of mains bursts | # | 5 | 0 | 0 | 27 | 10 | 8 | 5 | 12 | 0 | 0 | 10 | 15 | 10 | 12 | 5 | 0 | 36 | 52 | 27 | 27 | 16 | 7 | 0 | 9 | 7 | 6 | 10 | Distribution and Trunk main bursts where job status is closed
Average repair response time | hours | 86 |  |  | 134 | 207 | 95 | 31 | 139 |  |  | 184 | 195 | 102 | 188 | 79 |  | 70 | 89 | 70 | 125 | 138 | 98 |  | 112 | 73 | 125 | 62 | Time from when request to repair was raised to when it was recorded as complete
Number of reported customer side leaks | # | 1 | 0 | 0 | 2 | 3 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 2 | 3 | 2 | 1 | 0 | 0 | 2 | 2 | 0 | Leaks reported by customers on Supply Pipes (customer side of a service pipe) where job status is closed and not associated with leak notice (private) repair activity.
Average repair response time | hours | 2018-02-16: 73; 2018-02-19: 26; 2018-02-20: 32; 2018-02-23: 66; 2018-02-26: 24; 2018-02-28: 1; 2018-03-05: 27; 2018-03-07: 11; 2018-03-08: 146; 2018-03-09: 164; 2018-03-12: 60; 2018-03-13: 39 | Time from when request to repair was raised to when it was recorded as complete
Number of reported supply side leaks | # | 15 | 0 | 0 | 11 | 9 | 11 | 22 | 19 | 0 | 0 | 20 | 14 | 14 | 4 | 2 | 0 | 7 | 7 | 12 | 14 | 13 | 9 | 0 | 5 | 8 | 17 | 9 | Leaks reported by customers on Communication Pipes (company side of a service pipe), stoptaps and mains fittings where job status is closed.
Average repair response time | hours | 202 | 0 | 0 | 92 | 67 | 97 | 97 | 101 | 0 | 0 | 153 | 123 | 205 | 110 | 278 | 0 | 75 | 138 | 45 | 67 | 34 | 82 | 0 | 94 | 67 | 107 | 75 | Time from when request to repair was raised to when it was recorded as complete
Estimated leakage | Ml/d | [27 empty] | Not completed as per Ofwat query response 29 March 2018
Distribution input | Ml/d | 272.1664 | 271.8832 | 277.2073 | 276.5476 | 278.8793 | 284.8605 | 272.159 | 278.2524 | 274.2561 | 275.8831 | 274.4211 | 272.2253 | 278.0762 | 276.7689 | 273.823 | 318.5397 | 346.8342 | 345.4782 | 343.7282 | 327.7018 | 308.9066 | 299.2481 | 297.8928 | 291.2908 | 284.972 | 298.1614 | 296.8142
Operational leakage tracking | Ml/d | 55.4 | 57.76 | 56.75 | 55.43 | 54.89 | 54.3 | 54.4 | 53.63 | 54.26 | 55.48 | 53.37 | 55.23 | 56.44 | 62.35 | 65.18 | 87.92 | 137.53 | 121.65 | 94.9 | 86.46 | 77.86 | 74.09 | 75.21 | 75.64 | 71.05 | 66.45 | 63.47
Number of customers experiencing supply interruptions at some point during the day | # | 79.1304 | 0 | 49.1304 | 0 | 585.2174 | 513.0435 | 522.1739 | 100.8696 | 0 | 0 | 312.1739 | 77.8261 | 166.087 | 1236.9565 | 0 | 545.2174 | 1463.0435 | 1432.1739 | 256.9565 | 325.2174 | 517.8261 | 703.913 | 349.1304 | 0 | 146.087 | 60 | 360.8696 | Customers Interrupted (excluding previously planned Interruptions with 48hrs Notice) and based on the number of properties (NOTE: 01/03/18 includes 1,124 props interrupted for 30 mins at 01:00am)
Volume of water distributed to customers using alternative supplies (eg bottled water, bowsers) | litres | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8640 | 1920 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bottled water mainly delivered to Dove Street collection point and for local distribution to individual customers (in particular vulnerable circumstances) in shorter incidents in the South of the Bristol Water supply area. In total 11 pallets of bottled water.
Number of water bottle collection points in operation | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 bottled water distribution points were set up around the flats at Dove Street Bristol as a result of the burst main at Lower Dove Street.
Minimum Night Flow (MNF) | Ml/d | 87.5 | 89.9 | 88.9 | 87.6 | 87 | 86.5 | 86.6 | 85.8 | 86.4 | 87.6 | 85.6 | 87.4 | 88.6 | 94.4 | 97.1 | 119.4 | 168.1 | 152.5 | 126.3 | 118 | 109.6 | 105.9 | 107 | 107.4 | 102.9 | 98.4 | 95.5 | MNF based on night flow determined at Rolling Hour minimum between 00:00-06:00hr multiplied by HDF of 24.
Number of customers experiencing low pressure | # | 7 | 6 | 1 | 3 | 3 | 4 | 7 | 19 | 1 | 2 | 7 | 7 | 5 | 0 | 0 | 10 | 11 | 17 | 17 | 21 | 9 | 5 | 5 | 5 | 17 | 3 | 5 | Customer contacts relating to low pressure
Average repair response time | hours | 2018-02-16: 50; 2018-02-17: 51; 2018-02-20: 66; 2018-02-26: 1; 2018-03-03: 128; 2018-03-05: 89; 2018-03-06: 122; 2018-03-10: 99; 2018-03-14: 148 | Time from when request to repair was raised to when it was recorded as complete. Note: Not all Low Pressure contacts led directly to repair activity.
Total number of customer contacts | # | 191 | 36 | 27 | 191 | 180 | 135 | 172 | 170 | 37 | 32 | 225 | 184 | 272 | 409 | 141 | 224 | 330 | 502 | 380 | 420 | 381 | 250 | 100 | 71 | 232 | 248 | 209
Total number of customer contacts by phone | # | 183 | 33 | 25 | 181 | 173 | 129 | 157 | 157 | 34 | 21 | 214 | 171 | 262 | 402 | 133 | 214 | 304 | 479 | 363 | 398 | 368 | 247 | 94 | 60 | 225 | 236 | 205
Total number of customer contacts by email | # | 7 | 3 | 2 | 9 | 7 | 4 | 11 | 12 | 3 | 8 | 9 | 13 | 9 | 7 | 8 | 10 | 26 | 22 | 14 | 21 | 11 | 3 | 6 | 11 | 5 | 12 | 3
Total number of customer contacts by social media | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Included in email contacts
Total number of customer contacts by physical contact | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total number of customer contacts by SMS | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total number of customer contacts by hard copy letter | # | 1 | 0 | 0 | 1 | 0 | 2 | 4 | 1 | 0 | 3 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 1
Total number of customer contacts by other (please specify) | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 307 | 95 | 703 | 782 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RAD telephone message hits (telephone message specifically set up between 1-5 March to inform customers on the freeze/thaw situation)
Average waiting time for response | hours | 106 | 85 | 10 | 76 | 86 | 112 | 82 | 113 | 37 | 2 | 110 | 106 | 85 | 115 | 84 | 44 | 56 | 58 | 60 | 105 | 167 | 136 | 35 | 58 | 106 | 63 | 99 | Response time is between the customer contact and the first visit from operational staff. Includes both emergency response (e.g. no water and pressure reports) and non-emergency such as normal stop tap and survey requests. Average over the period 93 hours
Number of times your company webiste was updated with the latest situational information per day | # | 2018-03-01: 1; 2018-03-04: 4; 2018-03-05: 6 | Statistics only include the update to the website on Thursday 1st March, and does not include other social media updates. Ten other incident reports were updated multiple time - data reflects estimate of post dates
Average water temperature entering the supply network | oC | 6.04 | 6.16 | 6.36 | 6.82 | 7.02 | 7.16 | 6.04 | 7.06 | 6.64 | 6.46 | 5.98 | 5.56 | 5.4 | 2.78 | 2.54 | 3.52 | 3.8 | 4.2 | 4.6 | 4.88 | 5.38 | 5.9 | 6.24 | 6.88 | 5.84 | 7.46 | 7.52 | Average Water Temp at Barrow, Stowey, Cheddar, Purton and Littleton TW.
Air temperature minimum | oC | 0.4 | 0.8 | 4.4 | 7.3 | 5.7 | 3.2 | -1.5 | -2.8 | -2.8 | -2.2 | -3.1 | -4.8 | -6.3 | -5.9 | -3.1 | -1.5 | 1.1 | 3.7 | 3.3 | 2 | 3.5 | 2.7 | 4.9 | 4.4 | 5 | 4.5 | 5.1 | Air Temperature from Barrow TW - TAG 016127
Air temperature maximum | oC | 9.5 | 10.3 | 9.8 | 12.8 | 10.2 | 9 | 5.7 | 5.5 | 4.4 | 4.5 | 1.6 | 2.2 | 0.9 | -3 | -1.4 | 4.6 | 9.6 | 10.8 | 10.7 | 10 | 9.5 | 10.3 | 14.4 | 13.5 | 12 | 12.3 | 12.1 | Air Temperature from Barrow TW - TAG 016127
Weather warning for Company area of supply | (N/A, Yellow, Amber, Red)* | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | Yellow | Amber/Red | Amber/Yellow | Yellow | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | Multiple weather forecast warnings were issued on 28th Feb, 1st-2nd Mar.
Weather warning likelihood for Company area of supply | (N/A, Very Low, Low, Medium, High)* | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | Low | Medium/High | Medium/Low | Low | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | Likelihood as per the Met Office Risk 4x4 matrix - National Severe Weather Warning service
* Using Met Office definitions: https://www.metoffice.gov.uk/guide/weather/warnings

## Sheet1
Total number of customer contacts | # | 191 | 36 | 27 | 191 | 180 | 135 | 172 | 170 | 37 | 32 | 225 | 184 | 272 | 409 | 141 | 224 | 330 | 502 | 380 | 420 | 381 | 250 | 100 | 71 | 232 | 248 | 209
Total number of customer contacts by phone | # | 183 | 33 | 25 | 181 | 173 | 129 | 157 | 157 | 34 | 21 | 214 | 171 | 262 | 402 | 133 | 214 | 304 | 479 | 363 | 398 | 368 | 247 | 94 | 60 | 225 | 236 | 205
Total number of customer contacts by email | # | 7 | 3 | 2 | 9 | 7 | 4 | 11 | 12 | 3 | 8 | 9 | 13 | 9 | 7 | 8 | 10 | 26 | 22 | 14 | 21 | 11 | 3 | 6 | 11 | 5 | 12 | 3
Total number of customer contacts by social media | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Included in email contacts
Total number of customer contacts by physical contact | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total number of customer contacts by SMS | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total number of customer contacts by hard copy letter | # | 1 | 0 | 0 | 1 | 0 | 2 | 4 | 1 | 0 | 3 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 2 | 0 | 0 | 0 | 2 | 0 | 1
Total number of customer contacts by other (please specify) | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 307 | 95 | 703 | 782 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RAD telephone message hits (telephone message specifically set up between 1-5 March to inform customers on the freeze/thaw situation)
Average waiting time for response | hours | 106 | 85 | 10 | 76 | 86 | 112 | 82 | 113 | 37 | 2 | 110 | 106 | 85 | 115 | 84 | 44 | 56 | 58 | 60 | 105 | 167 | 136 | 35 | 58 | 106 | 63 | 99 | Response time is between the customer contact and the first visit from operational staff. Includes both emergency response (e.g. no water and pressure reports) and non-emergency such as normal stop tap and survey requests. Average over the period 93 hours
Number of times your company webiste was updated with the latest situational information per day | # | [13 empty] | 1 |  |  | 4 | 6 | [9 empty] | Statistics only include the update to the website on Thursday 1st March, and does not include other social media updates. Ten other incident reports were updated multiple time - data reflects estimate of post dates

## Table 2
Table 2 - Customer supply interruption information by customer type
| Units | Total | Residential customers | Business customers | Customers in vulnerable circumstances
Number of customer supply interruptions during the incident period | # | 9802 | 8714 | 1088 | 505
Percentage of the company's customers affected | % | 1.8% | 1.6% | 0.2% | 0.1%
Number of customers experiencing supply interruptions less than 4 hours | # | 7013 | 6136 | 877 | 452
Number of customers experiencing supply interruptions between 4 and 12 hours | # | 2318 | 2167 | 151 | 87
Number of customers experiencing supply interruptions between 12 and 24 hours | # | 471 | 457 | 14 | 9
Number of customers experiencing supply interruptions between 24 and 48 hours | # | 0 | 0 | 0 | 0
[Add more rows as appropriate - continue until all customers were reconnected]
Notes
-Total customers = residential + business
- Vulnerable customers maybe residential or business
-Interruptions to supply information methodology applied is consistent with the current 2015-2020 Bristol Water Performance Commitment measure - any interruptions > 0 hrs is an Interruption to Supply