## Table 1
Please complete the below table with the most accurate data you have available. Where accurate data is not available, please give an estimate based on prelimary, expected or estimated data (indicating where you have done so and explain the rationale behind the estimates). If no data is available then please explain why. If you would like to submit other relevant data / information relating to the incident then please do so, making clear why this should be taken into account.
Table 1 - Freeze/Thaw Incident information by date
|  | Units | Dates (Clearly specify in red the dates that your company considered it was managing events rather than business as usual - the end date should be no earlier than all customers being back on supply) If you consider it appropriate, you may extend the date range (eg to the start of February) and explain why additional dates are relevant. You may not choose a smaller range of dates. | [26 empty] | Notes
|  |  | 2018-02-16 | 2018-02-17 | 2018-02-18 | 2018-02-19 | 2018-02-20 | 2018-02-21 | 2018-02-22 | 2018-02-23 | 2018-02-24 | 2018-02-25 | 2018-02-26 | 2018-02-27 | 2018-02-28 | 2018-03-01 | 2018-03-02 | 2018-03-03 | 2018-03-04 | 2018-03-05 | 2018-03-06 | 2018-03-07 | 2018-03-08 | 2018-03-09 | 2018-03-10 | 2018-03-11 | 2018-03-12 | 2018-03-13 | 2018-03-14
| Number of mains bursts | # | 10 | 3 | 4 | 2 | 4 | 7 | 4 | 4 | 3 | 2 | 4 | 1 | 4 | 8 | 10 | 11 | 13 | 30 | 33 | 17 | 10 | 6 | 1 | 4 | 4 | 2 | 7 | Identified from Maximo job plans, failure codes and other relevant date information.
| Average repair response time | hours | 182.2237 | 36.2094 | 217.2567 | 62.7153 | 161.6645 | 190.5053 | 84.4718 | 126.5976 | 119.1569 | 5.6542 | 98.8991 | 8.2942 | 81.0892 | 29.276 | 24.1432 | 29.5831 | 19.8331 | 16.5017 | 39.7039 | 50.6374 | 109.1727 | 27.6501 | 64.6189 | 109.992 | 79.1117 | 20.9446 | 70.6529 | Measures the difference in hours between the date of the original ancestor work order being raised to the date on which the leak was repaired. Where this date is not available the actual finish or scheduled start date has been used.
| Number of reported customer side leaks | # | 8 | 3 | 9 | 5 | 10 | 11 | 4 | 6 | 0 | 0 | 13 | 6 | 7 | 1 | 1 | 2 | 3 | 16 | 18 | 14 | 11 | 9 | 4 | 3 | 10 | 5 | 9 | Identified from Maximo job plans, failure codes and other relevant date information.
| Average repair response time | hours | 288.4132 | 200.9279 | 379.1398 | 286.3333 | 109.0048 | 145.181 | 306.3067 | 268.4009 | - | - | 372.6914 | 282.2392 | 183.349 | 265.9333 | - | 32.975 | 215.9278 | 9.099 | 48.4865 | 201.9949 | 111.2799 | 101.9474 | 38.1146 | 35.8319 | 127.93 | 37.425 | 77.7833 | Measures the difference in hours between the date of the original ancestor work order being raised to the date on which the leak was repaired. Where this date is not available the actual finish or scheduled start date has been used.
| Number of reported supply side leaks | # | 18 | 6 | 16 | 18 | 23 | 16 | 13 | 11 | 14 | 8 | 26 | 13 | 9 | 21 | 9 | 7 | 4 | 42 | 47 | 33 | 38 | 29 | 15 | 6 | 28 | 40 | 35 | Identified from Maximo job plans, failure codes and other relevant date information.
| Average repair response time | hours | 182.9843 | 135.8283 | 152.7982 | 168.1045 | 181.4937 | 156.9496 | 176.1478 | 257.3222 | 147.6031 | 157.0394 | 181.5873 | 45.2281 | 172.4823 | 93.0207 | 102.9152 | 72.93 | 81.9917 | 18.7153 | 42.6317 | 53.0295 | 58.6947 | 75.808 | 102.9576 | 40.6806 | 43.882 | 61.7267 | 86.0662 | Measures the difference in hours between the date of the original ancestor work order being raised to the date on which the leak was repaired. Where this date is not available the actual finish or scheduled start date has been used.
| Estimated leakage | Ml/d | [27 empty] | MNF 7day rolling 20% - Standard Allowances X HDF
| Distribution input | Ml/d | 311.86 | 306.52 | 306.64 | 301.97 | 306.47 | 305.44 | 305.91 | 306.52 | 304.16 | 312.68 | 303.2 | 302.95 | 303.2599 | 299.373 | 313.7895 | 330.9888 | 401.3361 | 373.3708 | 342.1502 | 332.3401 | 325.973 | 324.8975 | 321.602 | 327.269 | 314.3614 | 317.41 | 318.56
| Operational leakage tracking | Ml/d | 86.4577 | 86.9361 | 86.9361 | 86.9361 | 86.9361 | 86.7875 | 85.232 | 85.232 | 84.6253 | 84.4624 | 84.4624 | 84.4624 | 84.4624 | 84.9103 | 86.9565 | 92.9138 | 97.3686 | 110.0081 | 110.0081 | 110.7003 | 106.2476 | 99.5858 | 97.5111 | 97.4154 | 95.3468 | 93.6651 | 93.6651 | Individual Day Calculation MNF (m3/hr) - Standard allowances X HDF
| Number of customers experiencing supply interruptions at some point during the day | # | 227 | 3 | 0 | 210 | 205 | 62 | 67 | 35 | 0 | 0 | 102 | 0 | 101 | 173 | 327 | 282 | 1260 | 507 | 465 | 319 | 169 | 30 | 0 | 0 | 132 | 576 | 56
| Volume of water distributed to customers using alternative supplies (eg bottled water, bowsers) | litres | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 228 | 12 | 96 | 6240 | 132 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Figures include bottled water provision. Large volume on 05/03/2018 is made up of bowsers plus 37 packs of 12 liter bottles.
| Number of water bottle collection points in operation | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Minimum Night Flow (MNF) | Ml/d | 149.155 | 146.98 | 144.03 | 138.85 | 147.31 | 147.84 | 147.53 | 147.28 | 146.25 | 142.12 | 141.39 | 143.27 | 142.47 | 151.98 | 150.12 | 166.42 | 218.42 | 239.26 | 186.47 | 170.74 | 171 | 162.67 | 167.27 | 155.64 | 152.39 | 154.85 | 155.17 | MNF in m3/hr for each night X 24 /1000
| Number of customers experiencing low pressure | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1211 | 1211 | 1164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Average repair response time | hours | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 2.33 | 7.22 | 5.25 | NA | NA | NA | NA | NA | NA | NA | NA | Estimated Response times based upon the 11 DMAs that were affected by low pressure where GSS payments were made. The data was taken from the Critical Point logger based on where the pressure fell below 10 mhd approximately. The average time is based on the average time across the 11 DMAs for each day using the graphs from the CP
| Total number of customer contacts (All - Phone email and social media) | # | 94 | 69 | 44 | 103 | 81 | 142 | 181 | 84 | 37 | 31 | 89 | 85 | 192 | 641 | 249 | 105 | 250 | 928 | 390 | 267 | 323 | 190 | 67 | 37 | 129 | 113 | 153
| Total number of customer contacts by phone (sub categorised to BAU and Event below) | # | 88 | 68 | 37 | 97 | 75 | 132 | 170 | 81 | 35 | 30 | 85 | 72 | 172 | 619 | 217 | 99 | 216 | 756 | 330 | 219 | 284 | 176 | 63 | 32 | 113 | 105 | 140
sub | BAU |  | 88 | 68 | 37 | 97 | 75 | 132 | 170 | 81 | 35 | 30 | 85 | 72 | 172 | 619 | 217 | 99 | 65 | 150 | 134 | 111 | 222 | 89 | 45 | 23 | 78 | 105 | 140
sub | Aeration |  | 2018-02-20: 1; 2018-02-22: 3; 2018-02-23: 2; 2018-02-24: 2; 2018-02-27: 1; 2018-03-01: 2; 2018-03-02: 1; 2018-03-13: 1; 2018-03-14: 5
sub | Discolouration |  | 2018-02-16: 4; 2018-02-18: 1; 2018-02-19: 4; 2018-02-21: 13; 2018-02-22: 90; 2018-02-23: 4; 2018-02-24: 2; 2018-02-25: 1; 2018-02-26: 3; 2018-03-01: 1; 2018-03-02: 1; 2018-03-13: 4; 2018-03-14: 5
sub | Frozen Supply |  | 2018-02-28: 21; 2018-03-01: 176; 2018-03-02: 58; 2018-03-03: 16
sub | Low Pressure |  | 9 | 24 | 22 | 6 | 5 | 9 | 4 | 4 | 1 | 5 | 6 | 7 | 9 | 16 | 6 | 7 |  |  |  |  | 12 |  |  |  |  | 16 | 9
sub | No Water |  | 5 | 18 | 1 | 32 | 8 | 52 | 18 | 11 | 1 | 2 | 11 | 19 | 95 | 345 | 95 | 17 |  |  |  |  | 114 |  |  |  |  | 3 | 18
sub | All Other |  | 70 | 26 | 13 | 55 | 61 | 58 | 55 | 60 | 29 | 22 | 65 | 45 | 47 | 79 | 56 | 59 | 65 | 150 | 134 | 111 | 96 | 89 | 45 | 23 | 78 | 81 | 103
sub | Incident Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 151 | 606 | 196 | 108 | 62 | 87 | 18 | 9 | 35 | 0 | 0
sub | Aeration |  | 2018-03-04: 4; 2018-03-05: 4; 2018-03-06: 5; 2018-03-07: 1; 2018-03-08: 2; 2018-03-09: 5; 2018-03-10: 1; 2018-03-11: 2; 2018-03-12: 2
sub | Discolouration |  | 2018-03-04: 14; 2018-03-05: 1; 2018-03-06: 2; 2018-03-07: 6; 2018-03-09: 6; 2018-03-12: 1
sub | Frozen Supply |  | 2018-03-04: 2; 2018-03-05: 4
sub | Low Pressure |  | 2018-03-04: 58; 2018-03-05: 277; 2018-03-06: 118; 2018-03-07: 84; 2018-03-08: 43; 2018-03-09: 41; 2018-03-10: 7; 2018-03-11: 4; 2018-03-12: 20
sub | No Water |  | 2018-03-04: 73; 2018-03-05: 320; 2018-03-06: 71; 2018-03-07: 17; 2018-03-08: 17; 2018-03-09: 35; 2018-03-10: 10; 2018-03-11: 3; 2018-03-12: 12
| Total number of customer contacts by email (inc webform) (sub categorised to BAU and Event below) | # | 6 | 1 | 2 | 3 | 2 | 4 | 4 | 1 | 2 | 1 | 2 | 6 | 4 | 9 | 6 | 6 | 13 | 40 | 20 | 10 | 9 | 5 | 3 | 2 | 4 | 4 | 7
sub | BAU |  | 6 | 1 | 2 | 3 | 2 | 4 | 4 | 1 | 2 | 1 | 2 | 6 | 4 | 9 | 6 | 6 | 1 | 10 | 7 | 4 | 9 | 3 | 2 | 2 | 3 | 4 | 7
sub | Aeration | bar: 2018-03-03
sub | Discolouration |  | 2018-02-22: 3
sub | Frozen Supply
sub | Low Pressure |  | 2018-02-18: 2; 2018-02-19: 1; 2018-02-21: 1; 2018-02-27: 1; 2018-03-02: 2; 2018-03-14: 1
sub | No Water |  | 2018-02-27: 2; 2018-02-28: 1; 2018-03-01: 6; 2018-03-02: 1; 2018-03-03: 1
sub | All Other |  | 6 | 1 |  | 2 | 2 | 3 | 1 | 1 | 2 | 1 | 2 | 3 | 3 | 3 | 3 | 4 | 1 | 10 | 7 | 4 | 9 | 3 | 2 | 2 | 3 | 4 | 6
sub | Incident Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 30 | 13 | 6 | 0 | 2 | 1 | 0 | 1 | 0 | 0
sub | Aeration | bar: 2018-03-06
sub | Discolouration |  | 2018-03-04: 2; 2018-03-06: 1
sub | Frozen Supply
sub | Low Pressure |  | 2018-03-04: 6; 2018-03-05: 10; 2018-03-06: 8; 2018-03-07: 5; 2018-03-09: 2; 2018-03-10: 1; 2018-03-12: 1
sub | No Water |  | 2018-03-04: 4; 2018-03-05: 20; 2018-03-06: 3; 2018-03-07: 1
| Total number of customer contacts by social media | # | 0 | 0 | 5 | 3 | 4 | 6 | 7 | 2 | 0 | 0 | 2 | 7 | 16 | 13 | 26 | 0 | 21 | 132 | 40 | 37 | 27 | 9 | 1 | 3 | 12 | 4 | 5 | contacts received but not all relating to supply issues/queries
| Total number of customer contacts by physical contact | #
| Total number of customer contacts by SMS | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total number of customer contacts by hard copy letter | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 1
| Total number of customer contacts by other (please specify) | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Average waiting time for response | hh:mm:ss | 0:01 | 0:00 | 0:02 | 0:01 | 0:01 | 0:03 | 0:01 | 0:01 | 0:00 | 0:04 | 0:00 | 0:00 | 0:01 | 0:02 | 0:01 | 0:03 | 0:07 | 0:01 | 0:00 | 0:01 | 0:01 | 0:01 | 0:02 | 0:01 | 0:01 | 0:01 | 0:01
| Number of times your company webiste was updated with the latest situational information per day | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 8 | 7 | 8 | 16 | 1 | 1 | 1 | 0 | 0 | 0 | 0
| Average water temperature entering the supply network | oC | 4.4542 | 4.5484 | 4.7383 | 5.0111 | 5.3015 | 5.4317 | 5.4586 | 5.3274 | 5.2723 | 5.1266 | 4.9087 | 4.6373 | 4.2362 | 3.6952 | 3.1634 | 2.818 | 2.7385 | 2.9046 | 3.1891 | 3.2985 | 3.5251 | 3.7482 | 4.1665 | 4.5725 | 4.7503 | 5.1035 | 5.3255 | Hampton Loade
| Air temperature minimum | oC | -2.1 | 0.4 | 1.7 | 5.5 | 4.3 | 3.2 | -1.6 | -2.9 | -1.5 | -3.4 | -3.5 | -4.5 | -6.8 | -6.9 | -3.2 | -3.4 | -1.2 | 0.3 | 2.1 | 0.5 | 1.1 | -1.2 | 5.2 | 3.4 | 4.3 | 1.8 | 1 | Outwoods
| Air temperature maximum | oC | 8.8 | 9.3 | 7.5 | 10.2 | 9.6 | 6.7 | 3.7 | 3.8 | 5.1 | 3.7 | 1.1 | 0.7 | -1.9 | -2.2 | -0.7 | 0 | 5.2 | 10.3 | 7.8 | 8.8 | 8.2 | 8.5 | 12.6 | 11.3 | 6.4 | 10.5 | 12.2 | Outwoods
| Weather warning for Company area of supply | (N/A, Yellow, Amber, Red)* | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yellow (snow) | Amber (snow) | Amber (snow) | Amber (snow and wind) | Yellow (snow and ice) | Yellow (snow and ice) | Yellow (ice)_ | N/A | N/A | N/A | Yellow (snow) | N/A | N/A | N/A | Yellow (rain) | N/A | N/A | On days where Amber warnings were in force, Yellow warnings were also in force.
| Weather warning likelihood for Company area of supply | (N/A, Very Low, Low, Medium, High)* | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Very Low | Medium | Medium | Medium | Low | Medium | Medium | N/A | N/A | N/A | Medium | N/A | N/A | N/A | Medium | N/A | N/A
* Using Met Office definitions: https://www.metoffice.gov.uk/guide/weather/warnings

## Table 2
Table 2 - Customer supply interruption information by customer type
| Units | Total | Residential customers | Business customers | Customers in vulnerable circumstances
Number of customer supply interruptions during the incident period | # | 38 |  |  |  | we have interpreted this as the number of burst repairs requiring isolation in the incident period
Percentage of the company's customers affected | % | 0.49% | 0.46% | 0.03%
Number of customers experiencing supply interruptions less than 4 hours | # | 1831 | 1669 | 162 | 0
Number of customers experiencing supply interruptions between 4 and 12 hours | # | 954 | 920 | 34 | 0
Number of customers experiencing supply interruptions between 12 and 24 hours | # | 97 | 97 | 0 | 0
Number of customers experiencing supply interruptions between 24 and 48 hours | # | 0 | 0 | 0 | 0
[Add more rows as appropriate - continue until all customers were reconnected]
Property figure 588018