## Table 1
Please complete the below table with the most accurate data you have available. Where accurate data is not available, please give an estimate based on prelimary, expected or estimated data (indicating where you have done so and explain the rationale behind the estimates). If no data is available then please explain why. If you would like to submit other relevant data / information relating to the incident then please do so, making clear why this should be taken into account.
Table 1 - Freeze/Thaw Incident information by date
| Units | Dates (Clearly specify in red the dates that your company considered it was managing events rather than business as usual - the end date should be no earlier than all customers being back on supply) If you consider it appropriate, you may extend the date range (eg to the start of February) and explain why additional dates are relevant. You may not choose a smaller range of dates. | [26 empty] | Notes
|  | 2018-02-16 | 2018-02-17 | 2018-02-18 | 2018-02-19 | 2018-02-20 | 2018-02-21 | 2018-02-22 | 2018-02-23 | 2018-02-24 | 2018-02-25 | 2018-02-26 | 2018-02-27 | 2018-02-28 | 2018-03-01 | 2018-03-02 | 2018-03-03 | 2018-03-04 | 2018-03-05 | 2018-03-06 | 2018-03-07 | 2018-03-08 | 2018-03-09 | 2018-03-10 | 2018-03-11 | 2018-03-12 | 2018-03-13 | 2018-03-14
Number of mains bursts | # | 13 | 3 | 1 | 11 | 6 | 6 | 5 | 5 | 0 | 3 | 14 | 24 | 17 | 10 | 1 | 7 | 15 | 37 | 28 | 26 | 21 | 8 | 1 | 0 | 11 | 7 | 5
Average repair response time | hours | 29.66 | 79.506 | 2 | 17.585 | 122.728 | 27.117 | 22.587 | 64.113 | 0 | 8.194 | 122.685 | 71.914 | 80.377 | 33.258 | 6.467 | 24.05 | 22.548 | 18.67 | 27.358 | 16.753 | 33.99 | 41.579 | 6.883 | 0 | 24.806 | 25.993 | 9.49
Number of reported customer side leaks | # | 122 | 22 | 3 | 153 | 118 | 96 | 125 | 106 | 39 | 3 | 130 | 131 | 125 | 80 | 146 | 70 | 11 | 283 | 170 | 148 | 169 | 169 | 53 | 2 | 194 | 202 | 142
Average repair response time | hours | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Number of reported supply side leaks | # | 16 | 1 | 0 | 13 | 18 | 24 | 14 | 16 | 0 | 4 | 24 | 26 | 19 | 5 | 3 | 4 | 5 | 15 | 15 | 16 | 14 | 11 | 2 | 1 | 20 | 16 | 13
Average repair response time | hours | 87.559 | 171.083 | 0 | 95.446 | 54.958 | 145.163 | 100.729 | 232.301 | 0 | 10.825 | 144.819 | 128.208 | 105.792 | 80.7 | 86.317 | 69.037 | 69.383 | 25.054 | 63.063 | 46.174 | 25.875 | 38.598 | 76.3 | 6.483 | 33.905 | 20.458 | 48.735
Estimated leakage | Ml/d | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Distribution input | Ml/d | 463.098 | 463.796 | 464.342 | 453.219 | 454.434 | 463.311 | 461.819 | 456.002 | 457.551 | 451.877 | 452.961 | 467.8 | 458.113 | 455.5 | 518.048 | 541.953 | 548.618 | 543.9 | 540.101 | 546.769 | 534.466 | 499.348 | 497.094 | 491.782 | 476.578 | 488.584 | 472.164
Operational leakage tracking | Ml/d | 102.68 | 104.2 | 104.59 | 102.39 | 100.88 | 100.11 | 99.35 | 99.34 | 101.19 | 100.66 | 99.84 | 101.21 | 110.18 | 119.63 | 231 | 241.32 | 209.62 | 181.88 | 161.86 | 148.26 | 138.96 | 133.26 | 130.56 | 129.34 | 125.11 | 121.17 | 118.64
Number of customers experiencing supply interruptions at some point during the day | # | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 382 | 3854 | 4831 | 10261 | 11900 | 2877 | 55 | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Volume of water distributed to customers using alternative supplies (eg bottled water, bowsers) | litres | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1000 | 1600 | 102000 | 130500 | 95880 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Number of water bottle collection points in operation | # | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | 2 | 14 | 19 | 13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Minimum Night Flow (MNF) | Ml/d | 181.619 | 178.697 | 179.303 | 176.661 | 175.028 | 174.137 | 173.083 | 173.6 | 175.729 | 175.433 | 174.196 | 176.118 | 186.334 | 194.99 | 316.362 | 326.28 | 290.44 | 260.059 | 239.048 | 223.849 | 215.259 | 209.433 | 204.906 | 203.965 | 200.183 | 196.133 | 192.305
Number of customers experiencing low pressure | # | 19 | 6 | 3 | 10 | 17 | 12 | 16 | 11 | 15 | 0 | 27 | 20 | 20 | 2 | 55 | 75 | 75 | 108 | 60 | 59 | 45 | 26 | 12 | 5 | 20 | 20 | 23
Average repair response time | hours | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 15.379 | 19.965 | 18.936 | 25.432 | 53.272 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Total number of customer contacts | # | 151 | 43 | 29 | 107 | 100 | 53 | 79 | 63 | 76 | 30 | 176 | 251 | 465 | 755 | 1097 | 1587 | 2972 | 2906 | 1150 | 475 | 263 | 219 | 136 | 98 | 171 | 117 | 143
Total number of customer contacts by phone | # | 91 | 32 | 11 | 75 | 51 | 28 | 30 | 45 | 39 | 9 | 96 | 204 | 385 | 632 | 700 | 677 | 1096 | 1483 | 640 | 287 | 185 | 142 | 80 | 33 | 85 | 63 | 85
Total number of customer contacts by email | # | 1 | 0 | 0 | 0 | 2 | 5 | 3 | 1 | 0 | 0 | 3 | 1 | 1 | 2 | 0 | 0 | 4 | 16 | 4 | 10 | 7 | 1 | 0 | 3 | 5 | 7 | 3
Total number of customer contacts by social media | # | 59 | 11 | 17 | 31 | 44 | 20 | 46 | 15 | 35 | 21 | 75 | 46 | 79 | 121 | 397 | 907 | 1870 | 1405 | 505 | 173 | 65 | 71 | 56 | 60 | 78 | 39 | 55
Total number of customer contacts by physical contact | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Total number of customer contacts by SMS | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total number of customer contacts by hard copy letter | # | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 5 | 0 | 0 | 3 | 7 | 0
Total number of customer contacts by other (please specify) | # | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 2 | 2 | 1 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0
Average waiting time for response | hours | 0.0231 | 0.0169 | 0.0014 | 0.0183 | 0.0267 | 0.0239 | 0.0111 | 0.0239 | 0.0058 | 0.0042 | 0.0083 | 0.0492 | 0.0686 | 0.06 | 0.1489 | 0.1119 | 0.1789 | 0.0397 | 0.025 | 0.0103 | 0.0553 | 0.0442 | 0.0425 | 0.0175 | 0.0567 | 0.0531 | 0.0519
Number of times your company webiste was updated with the latest situational information per day | # | 4 | 0 | 0 | 11 | 6 | 13 | 16 | 5 | 0 | 3 | 32 | 30 | 27 | 16 | 12 | 4 | 15 | 50 | 42 | 35 | 30 | 32 | 6 | 0 | 27 | 15 | 9
Average water temperature entering the supply network | oC | 7 | 7.2 | 7.5 | 7.625 | 7.333 | 9.667 | 6.5 | 8.25 | 7.2 | 6.8 | 5.167 | 6.071 | 5.333 | 2 | 2 | 4 | 7 | 5.5 | 7.35 | 5.625 | 5.667 | 6.5 | 10 | 9 | 8 | 6.25 | 7
Air temperature minimum (Exeter Airport) | oC | -2 | 2 | 8 | 8 | 4 | 1 | -2 | -3 | -2 | 0 | -3 | -5 | -6 | -5 | N/A | 3 | 5 | 3 | 0 | -1 | 3 | 3 | 9 | 9 | 6 | 5 | 8
Air temperature maximum (Exeter Airport) | oC | 9 | 12 | 10 | 11 | 10 | 8 | 5 | 4 | 6 | 6 | 1 | 2 | 0 | -4 | N/A | 5 | 9 | 5 | 9 | 9 | 11 | 10 | 14 | 10 | 11 | 11 | 9
Air temperature minimum (Culdrose) | oC | 1 | 5 | 9 | 9 | 5 | 1 | 2 | 4 | 3 | 4 | -1 | -4 | -5 | -5 | 1 | 1 | 6 | 5 | 1 | 3 | 4 | 3 | 8 | 7 | 8 | 5 | 8
Air temperature maximum (Culdrose) | oC | 10 | 10 | 10 | 11 | 9 | 8 | 7 | 6 | 5 | 6 | 4 | 2 | -1 | 3 | 3 | 7 | 9 | 8 | 10 | 9 | 9 | 11 | 12 | 10 | 10 | 10 | 10
Weather warning for Company area of supply | (N/A, Yellow, Amber, Red)* | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | YELLOW | YELLOW | YELLOW | RED/AMBER | RED/AMBER | YELLOW | YELLOW | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Weather warning likelihood for Company area of supply | (N/A, Very Low, Low, Medium, High)* | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | HIGH | HIGH | HIGH | HIGH | HIGH | HIGH | HIGH | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
* Using Met Office definitions: https://www.metoffice.gov.uk/guide/weather/warnings

## Table 2
Table 2 - Customer supply interruption information by customer type
| Units | Total | Residential customers | Business customers | Customers in vulnerable circumstances
Number of customer supply interruptions during the incident period | # | 15675 | 14717 | 754 | 204
Percentage of the company's customers affected | % | 1.5 | 1.4 | 0.1 | 0
Number of customers experiencing supply interruptions less than 4 hours | # | 15675 | 14717 | 754 | 204
Number of customers experiencing supply interruptions between 4 and 12 hours | # | 14626 | 13773 | 705 | 148
Number of customers experiencing supply interruptions between 12 and 24 hours | # | 9683 | 9141 | 473 | 69
Number of customers experiencing supply interruptions between 24 and 48 hours | # | 5652 | 5369 | 283 | 0
Number of customers experiencing supply interruptions between 48 and 72 hours | # | 1996 | 1896 | 100 | 0
[Add more rows as appropriate - continue until all customers were reconnected] |  | 0 | 0 | 0 | 0