## Table 1
Please complete the below table with the most accurate data you have available. Where accurate data is not available, please give an estimate based on prelimary, expected or estimated data (indicating where you have done so and explain the rationale behind the estimates). If no data is available then please explain why. If you would like to submit other relevant data / information relating to the incident then please do so, making clear why this should be taken into account.
Table 1 - Freeze/Thaw Incident information by date
| Units | Dates (Clearly specify in red the dates that your company considered it was managing events rather than business as usual - the end date should be no earlier than all customers being back on supply) If you consider it appropriate, you may extend the date range (eg to the start of February) and explain why additional dates are relevant. You may not choose a smaller range of dates. | [26 empty] | Notes
|  | 2018-02-16 | 2018-02-17 | 2018-02-18 | 2018-02-19 | 2018-02-20 | 2018-02-21 | 2018-02-22 | 2018-02-23 | 2018-02-24 | 2018-02-25 | 2018-02-26 | 2018-02-27 | 2018-02-28 | 2018-03-01 | 2018-03-02 | 2018-03-03 | 2018-03-04 | 2018-03-05 | 2018-03-06 | 2018-03-07 | 2018-03-08 | 2018-03-09 | 2018-03-10 | 2018-03-11 | 2018-03-12 | 2018-03-13 | 2018-03-14
Number of mains bursts | # | 29 | 4 | 11 | 11 | 21 | 29 | 19 | 14 | 4 | 4 | 18 | 25 | 30 | 18 | 10 | 11 | 36 | 58 | 68 | 80 | 44 | 37 | 17 | 12 | 24 | 35 | 32
Average repair response time | hours | 33.931 | 24 | 98.1818 | 106.9091 | 53.7143 | 100.1379 | 64.4211 | 25.7143 | 24 | 30 | 70.6667 | 48.96 | 17.6 | 6.6667 | 24 | 24 | 25.3333 | 25.6552 | 17.6471 | 27.9 | 25.6364 | 7.7838 | 1.4118 | 8 | 58 | 40.4571 | 30.75
Number of reported customer side leaks | # | 16 | 0 | 4 | 41 | 31 | 24 | 30 | 19 | 0 | 2 | 29 | 27 | 26 | 15 | 1 | 0 | 3 | 30 | 36 | 49 | 29 | 27 | 4 | 1 | 17 | 36 | 57
Average repair response time | hours | 144 | 0 | 96 | 59.7073 | 123.0968 | 80 | 96 | 109.8947 | 0 | 216 | 99.3103 | 120.8889 | 72.9231 | 60.8 | 240 | 0 | 160 | 71.2 | 108.6667 | 95.5102 | 146.4828 | 159.1111 | 234 | 48 | 204.7059 | 52 | 62.7368
Number of reported supply side leaks | # | 36 | 9 | 27 | 50 | 57 | 53 | 75 | 39 | 8 | 19 | 58 | 40 | 51 | 11 | 10 | 3 | 13 | 47 | 80 | 81 | 64 | 52 | 8 | 3 | 54 | 51 | 0
Average repair response time | hours | 278.6667 | 277.3333 | 172.4444 | 179.52 | 195.7895 | 270.3396 | 136.64 | 113.2308 | 174 | 117.4737 | 130.3448 | 108 | 110.1176 | 2.1818 | 45.6 | 8 | 24 | 169.0213 | 197.4 | 166.2222 | 198 | 192.9231 | 0 | 336 | 202.2222 | 108.7059 | 0
Estimated leakage | Ml/d | [27 empty] | Not included as per email instruction to Mike Davis 29 March
Distribution input | Ml/d | 815.8276 | 804.9856 | 814.4609 | 806.3284 | 803.6318 | 815.92 | 809.2237 | 812.7406 | 807.2077 | 806.9374 | 809.0728 | 800.6025 | 806.8174 | 827.0412 | 803.2997 | 907.1276 | 974.6611 | 1006.912 | 996.9332 | 986.2817 | 963.5929 | 932.352 | 888.7644 | 882.8947 | 879.7705 | 868.4147 | 847.5463
Operational leakage tracking | Ml/d | 168.41 | 169.99 | 169.05 | 165.4 | 164.89 | 162.68 | 162.31 | 161.38 | 164.73 | 164.97 | 159.92 | 164.34 | 172.07 | 186.26 | 198.87 | 251.93 | 413.27 | 361.61 | 293.59 | 247.57 | 228.5 | 218.65 | 220.05 | 209.81 | 201.67 | 196.88 | 190.74
Number of customers experiencing supply interruptions at some point during the day | # | 67 | 13 | 5 | 22 | 38 | 54 | 65 | 37 | 31 | 27 | 67 | 104 | 453 | 1060 | 436 | 6018 | 16078 | 16125 | 7051 | 1164 | 1598 | 124 | 42 | 21 | 60 | 119 | 65 | This estimated data based on hydraulic calculations using the best flow and pressure information available. A detailed analysis is underway using our Customer Minutes Lost methodology to validate the interruptions. Property counts across the incident days are representative of the total properties per area/per day that were being affected at some point during the day - not necessarily throughout the entire day. e.g.1 - A property may have been interrupted for 2 hours or all day and would still appear. e.g.2 - If a unique property went out of water at midday on the 4th for 42hrs the property count will be included in the 4th, 5th and 6th dates. Technically analysed DMA property counts have been collated utilising a number of means. Where CML pressure and flow data was available for the period these have been used to calculate property outage times and counts. Where flow data existed but no recorded pressures were available, a hydraulic model driven network draindown tool has been utilised for a number of districts where models existed and would run. Where flow only existed but model draindown wouldn't work an estimated system draindown model has been utilised based upon validated data from the draindown models that did run through to calculation. Where no flow or pressure was available, the period covered by INW notification times has been used as worst case scenario. Technical analysis was carried out down to DMA's where just x10 INW's were reported. Unique Properties will only be captured within one classification which will be the worst time period they were affected for. i.e. if a property was off supply on three occassions (whether on an individual day or separate days), 1 x 4hrs, 1 x 6 hrs and 1 x 13hrs the property would sit within the 12 - 24hr classification and appear on the appropriate days.
Volume of water distributed to customers using alternative supplies (eg bottled water, bowsers) | litres | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 840 | 656 | 3680 | 36711 | 105379 | 63806 | 29545 | 65235 | 265 | 0 | 0 | 0 | 0 | 0
Number of water bottle collection points in operation | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 16 | 23 | 23 | 21 | 10 | 4 | 0 | 0 | 0 | 0 | 0
Minimum Night Flow (MNF) | Ml/d | 304.99 | 306.38 | 305.43 | 301.96 | 301.68 | 299.27 | 298.74 | 298.02 | 301.43 | 301.8 | 296.68 | 300.94 | 308.93 | 322.87 | 335.66 | 388.35 | 549.75 | 498.81 | 430.54 | 384.31 | 365.05 | 355.48 | 356.46 | 346.31 | 338.39 | 333.54 | 327.43
Number of customers experiencing low pressure | # | 38 | 19 | 11 | 34 | 18 | 27 | 41 | 29 | 35 | 17 | 47 | 26 | 53 | 71 | 49 | 198 | 467 | 419 | 195 | 156 | 104 | 95 | 40 | 28 | 63 | 58 | 53 | Data based on contact daat from customers throug telephone calls, webchat, webform,and social media
Average repair response time | hours | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | The low pressures were caused by high flows from customer use, private side bursts and mains bursts - see lines 10 and 13 for repair times for mains and private leaks. These multiple factors make it impossible to give a single repair time. Many private leaks were resolved by the customer which we had no visibility of apart from redutions in demand
Total number of customer contacts | # | 833 | 390 | 175 | 973 | 801 | 823 | 845 | 797 | 336 | 273 | 1113 | 907 | 2123 | 6799 | 2588 | 4265 | 10857 | 9900 | 4238 | 2160 | 1708 | 1229 | 706 | 359 | 1521 | 1272 | 1192
Total number of customer contacts by phone | # | 630 | 280 | 141 | 750 | 654 | 704 | 696 | 653 | 287 | 223 | 887 | 755 | 1801 | 4969 | 1856 | 3208 | 7626 | 6444 | 2771 | 1602 | 1380 | 988 | 573 | 301 | 1279 | 1060 | 938
Total number of customer contacts by email | # | 16 | 8 | 8 | 14 | 9 | 12 | 12 | 8 | 8 | 8 | 8 | 8 | 8 | 13 | 26 | 8 | 9 | 28 | 15 | 22 | 13 | 18 | 8 | 8 | 13 | 15 | 10
Total number of customer contacts by social media | # | 89 | 82 | 26 | 154 | 79 | 56 | 97 | 106 | 28 | 42 | 144 | 95 | 220 | 1591 | 606 | 977 | 3099 | 3188 | 1277 | 407 | 246 | 158 | 107 | 50 | 142 | 126 | 177
Average waiting time for response | hours | 38.15 mins | 36.28 mins | 34.65 mins | 89.58 mins | 60.48 mins | 66.90 mins | 34.17 mins | 68.95 mins | 8.88 hrs | 5.97 hrs | 37.97 mins | 102.27 mins | 19.38 mins | 21.85 mins | 43.95 mins | 72.50 mins | 2.16 hrs | 3.19 hrs | 51.67 mins | 49.43 mins | 35.05 mins | 96.23 mins | 19.50 mins | 69.85 mins | 44.95 mins | 49.68 mins | 29.58 mins
Total number of customer contacts by SMS | # | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total number of customer contacts by hard copy letter | # | 4 | 2 | 2 | 4 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 3 | 4 | 3 | 5 | 6 | 2 | 2 | 5 | 4 | 5
Total number of customer contacts by other (please specify) | Live Chat | 98 | 20 | 0 | 55 | 59 | 51 | 40 | 30 | 13 | 0 | 74 | 49 | 94 | 226 | 100 | 72 | 123 | 240 | 175 | 129 | 69 | 65 | 18 | 0 | 87 | 71 | 67
Average waiting time for response | Live Chat | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Number of times your company webiste was updated with the latest situational information per day | # | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 9 | 17 | 8 | 10 | 13 | 9 | 5 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | This data relates to the Sitewide message, rather than the In Your Area map, and includes updates in both English and Welsh. The sitewide message was only available from 1st March to 8th March,
In Your Area Incidents & Updates |  | 39 | 14 | 2 | 17 | 12 | 29 | 30 | 17 | 5 | 1 | 18 | 15 | 5 | 4 | 3 | 12 | 20 | 12 | 24 | 23 | 12 | 15 | 8 | 2 | 10 | 25 | 22
Average water temperature entering the supply network | oC | 5 | 5.2 | 5.6 | 5.6 | 5.5 | 5.2 | 4.9 | 4.7 | 4.6 | 4.1 | 3.7 | 3.3 | 2.6 | 2.5 | 2.6 | 2.7 | 3 | 3.2 | 3.4 | 3.7 | 4 | 4.5 | 4.7 | 5 | 5 | 5.3
Air temperature minimum | These temperatures are forecast and not recorded | -1.2 | 0.1 | 2.2 | 6.1 | 1 | 0 | -2.7 | -2.7 | -2.4 | -4 | -4 | -5.2 | -7 | -6.5 | -5.2 | -3.2 | -1.2 | -2.1 | -0.9 | 0.3 | -0.6 | -0.2 | 3.1 | 2.4 | 3.4 | 2.3 | 2.3
Air temperature maximum | These temperatures are forecast and not recorded | 8.8 | 9.4 | 9.9 | 11.7 | 10.4 | 8.3 | 6.2 | 5.4 | 5.6 | 5.2 | 2.8 | 3.4 | 0.8 | -0.2 | 0.3 | 5 | 5.9 | 9.1 | 8.4 | 8.3 | 8 | 10.3 | 13.5 | 12.1 | 10 | 9.7 | 10.8
Weather warning for Company area of supply | (N/A, Yellow, Amber, Red)* | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yellow | Yellow | Yellow/Amber/Red | Yellow/Amber/Red | Yellow | Yellow | N/A | N/A | N/A | Yellow | N/A | N/A | N/A | N/A | N/A | N/A
Weather warning likelihood for Company area of supply | (N/A, Very Low, Low, Medium, High)* | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Low | Low | High | High | Low | Low | N/A | N/A | N/A | Low | N/A | N/A | N/A | N/A | N/A | N/A
* Using Met Office definitions: https://www.metoffice.gov.uk/guide/weather/warnings

## Table 2
Table 2 - Customer supply interruption information by customer type
| Units | Total | Residential customers | Business customers | Customers in vulnerable circumstances
Number of customer supply interruptions during the incident period | # | 29416 | 26768.56 | 2647.44 | 732
Percentage of the company's customers affected | % | 2.048% | 1.864% | 0.1844% | 0.05097%
Number of customers experiencing supply interruptions less than 4 hours | # | 8465 | 7703.15 | 761.85 | 241
Number of customers experiencing supply interruptions between 4 and 12 hours | # | 9385 | 8540.35 | 844.65 | 208
Number of customers experiencing supply interruptions between 12 and 24 hours | # | 5283 | 4807.53 | 475.47 | 151
Number of customers experiencing supply interruptions between 24 and 48 hours | # | 4565 | 4154.15 | 410.85 | 90
Number of customers experiencing supply interruptions between 48 and 72 hours | # | 1253 | 1140.23 | 112.77 | 34
Number of customers experiencing supply interruptions between 72 and 96 hours | # | 47 | 42.77 | 4.23 | 1
Number of customers experiencing supply interruptions between 96 and 120 hours | # | 77 | 70.07 | 6.93 | 2
Number of customers experiencing supply interruptions over 120 hours | # | 341 | 310.31 | 30.69 | 0
[Add more rows as appropriate - continue until all customers were reconnected]
NOTE: This estimated data based on hydraulic calculations using the best flow and pressure information available A detailed analysis is underway using our Customer Minutes Lost methodology to validate the interruptions. Classifications B6 - B10 - Unique Properties will only be captured within one classification which will be the worst time period they were affected for. i.e. if a property was off supply on three occassions (whether on an individual day or separate days), 1 x 4hrs, 1 x 6 hrs and 1 x 13hrs the property would sit within the 12 - 24hr classification as our calculation methods wouldn't show the recharges between these periods
The business customers and customer in vulnerable circumstances data has been assessed using an average distibution approach
Note on E3: DCWW User: Due to not all properties within the affected top 140 districts making up the 29,416, the residential count (26,769) is a percentage (91%) arrived at from the residential percentage of the total connections of 45,308 (connections at a particular seeded property may number more than 1 e.g. farms with troughs - this is why property count doesn't exactly equal customer connections)
Note on F3: DCWW User: Due to not all properties within the affected top 140 districts making up the 31220 the business customers count (2,647) is a percentage (9%) arrived at from the residential percentage of the total connections of 45,308. (connections at a particular seeded property may number more than 1 e.g. farms with troughs - this is why property count doesn't exactly equal customer connections)
Note on G3: Dave Collins: This is the number of AS customers within the top 140 DMAs where interruptions to customers were observed to be DCWW asset affected.
Note on B4: DCWW User: This number is the total number of unique props affected at least once but maybe more times
Note on B5: DCWW User: This will be total number of connected customers (provisional for June Return 2018 divided by the number of customer supply interruptions in cell D4)
Note on D5: DCWW User: This Percentage is total number of unique properties affected at some point during the incident period. At no single point in time during the incident did the percenage of customers affected rise above 1%.