## Cover
Cover sheet
Meeting lead standards enhancement feeder model
Objective
To assess enhancement capex expenditure submitted by companies in their PR19 business plan submissions for meeting lead standards.
Approach
We assess the lead reduction costs using a panel data model where the cost drivers are the number of existing lead communication pipes and the number of lead communication pipes replaced for water quality. We triangulate our cost allowance across two models, one using historical data for the period 2011-12 to 2017-18 and other using forecast data for the period of 2020-21 to 2024-25. Both models are in levels and use smoothed data over a 3-year period. Where companies’ forecasts are below our allowance, we allow the company’s forecast. For companies whose submissions suggest unique and material costs not captured by our model, we carry out a deep dive using the information provided within the companies’ submission.

## Controls
Global controls
- In this sheet we set model weights and efficiency challenge
Model weights
| Historical | Forecast
| 50% | 50%
Efficiency challenge
1
Unit cost weights
| Historical | Forecast
| 50% | 50%
Unit cost view
| Mean or Median? | Median

## Data
Data
£m 2017-18 prices
|  |  | realW3006CAW |  |  |  | BN11600 | BN1231
|  |  | leadstandardcosts | reallocations | leadcosts | leadcostssmoothed | leadcommpipes | leadpipesreplaced | leadcommpipessmoothed | leadpipesreplacedsmoothed
Code | Company | Year | Meeting lead standards | Reallocations | Meeting lead standards with reallocations | Meeting lead standardss smoothed | Number of lead communication pipes | Number of lead pipes replaced | Smoothed Number of lead communication pipes | Smoothed Number of lead pipes replaced
ANH12 | ANH | 2012 | 1.6614 |  | 1.6614 |  | 535574 | 1325
ANH13 | ANH | 2013 | 2.9913 |  | 2.9913 |  | 531072 | 4291
ANH14 | ANH | 2014 | 2.0702 |  | 2.0702 | 2.241 | 528026 | 2701 | 531557.3333 | 2772.3333
ANH15 | ANH | 2015 | 2.9638 |  | 2.9638 | 2.6751 | 523920 | 3852 | 527672.6667 | 3614.6667
ANH16 | ANH | 2016 | 3.3632 |  | 3.3632 | 2.799 | 519751 | 2672 | 523899 | 3075
ANH17 | ANH | 2017 | 3.8619 |  | 3.8619 | 3.3963 | 517721 | 1973 | 520464 | 2832.3333
ANH18 | ANH | 2018 | 1.0879 |  | 1.0879 | 2.771 | 516924 | 702 | 518132 | 1782.3333
ANH19 | ANH | 2019 | 2.6703 |  | 2.6703 | 2.54 | 516612 | 312 | 517085.6667 | 995.6667
ANH20 | ANH | 2020 | 1.5726 |  | 1.5726 | 1.7769 | 516300 | 312 | 516612 | 442
ANH21 | ANH | 2021 | 3.2498 | 0 | 3.2498 | 2.4976 | 515450 | 550 | 516120.6667 | 391.3333
ANH22 | ANH | 2022 | 6.6898 | 0 | 6.6898 | 3.8374 | 513760 | 1350 | 515170 | 737.3333
ANH23 | ANH | 2023 | 6.377 | 0 | 6.377 | 5.4389 | 512080 | 1350 | 513763.3333 | 1083.3333
ANH24 | ANH | 2024 | 5.8032 | 0 | 5.8032 | 6.29 | 510400 | 1350 | 512080 | 1350
ANH25 | ANH | 2025 | 2.9029 | 0 | 2.9029 | 5.0277 | 509550 | 650 | 510676.6667 | 1116.6667
NES12 | NES | 2012 | 3.0621 |  | 3.0621 |  | 618409 | 10465
NES13 | NES | 2013 | 2.1753 |  | 2.1753 |  | 606617 | 6099
NES14 | NES | 2014 | 0.77581 |  | 0.77581 | 2.0044 | 602471 | 1235 | 609165.6667 | 5933
NES15 | NES | 2015 | 0.73466 |  | 0.73466 | 1.2286 | 596336 | 1092 | 601808 | 2808.6667
NES16 | NES | 2016 | 3.9672 |  | 3.9672 | 1.8259 | 564013 | 1272 | 587606.6667 | 1199.6667
NES17 | NES | 2017 | 2.4222 |  | 2.4222 | 2.3747 | 560453 | 1332 | 573600.6667 | 1232
NES18 | NES | 2018 | 3.082 |  | 3.082 | 3.1571 | 553799 | 1110 | 559421.6667 | 1238
NES19 | NES | 2019 | 2.2032 |  | 2.2032 | 2.5691 | 547450 | 1440 | 553900.6667 | 1294
NES20 | NES | 2020 | 1.5649 |  | 1.5649 | 2.2834 | 541101 | 1440 | 547450 | 1330
NES21 | NES | 2021 | 0.8 | 0 | 0.8 | 1.5227 | 534475 | 1717 | 541008.6667 | 1532.3333
NES22 | NES | 2022 | 0.8 | 0 | 0.8 | 1.055 | 527671 | 1895 | 534415.6667 | 1684
NES23 | NES | 2023 | 0.801 | 0 | 0.801 | 0.80033 | 520867 | 1895 | 527671 | 1835.6667
NES24 | NES | 2024 | 0.801 | 0 | 0.801 | 0.80067 | 514063 | 1895 | 520867 | 1895
NES25 | NES | 2025 | 0.801 | 0 | 0.801 | 0.801 | 507274 | 1880 | 514068 | 1890
NWT12 | NWT | 2012 | 0.5047 |  | 0.5047 |  | 548706 | 753
NWT13 | NWT | 2013 | 0.45328 |  | 0.45328 |  | 546299 | 402
NWT14 | NWT | 2014 | 0.6258 |  | 0.6258 | 0.52793 | 544391 | 435 | 546465.3333 | 530
NWT15 | NWT | 2015 | 2.0485 |  | 2.0485 | 1.0425 | 543680 | 247 | 544790 | 361.3333
NWT16 | NWT | 2016 | 0.91742 |  | 0.91742 | 1.1972 | 539749 | 0 | 542606.6667 | 227.3333
NWT17 | NWT | 2017 | 0.0020902 |  | 0.0020902 | 0.98933 | 535279 | 0 | 539569.3333 | 82.3333
NWT18 | NWT | 2018 | 0.10906 |  | 0.10906 | 0.34286 | 530287 | 4992 | 535105 | 1664
NWT19 | NWT | 2019 | 0.01803 |  | 0.01803 | 0.043061 | 525823 | 4464 | 530463 | 3152
NWT20 | NWT | 2020 | 0 |  | 0 | 0.042365 | 521359 | 4464 | 525823 | 4640
NWT21 | NWT | 2021 | 0 | 0 | 0 | 0.00601 | 516895 | 4464 | 521359 | 4464
NWT22 | NWT | 2022 | 0 | 0 | 0 | 0 | 511931 | 4964 | 516728.3333 | 4630.6667
NWT23 | NWT | 2023 | 0 | 0 | 0 | 0 | 506667 | 5264 | 511831 | 4897.3333
NWT24 | NWT | 2024 | 0 | 0 | 0 | 0 | 501453 | 5214 | 506683.6667 | 5147.3333
NWT25 | NWT | 2025 | 0 | 0 | 0 | 0 | 496239 | 5214 | 501453 | 5230.6667
SRN12 | SRN | 2012 | 0 |  | 0 |  | 116574 | 40
SRN13 | SRN | 2013 | 0 |  | 0 |  | 116174 | 15
SRN14 | SRN | 2014 | 0 |  | 0 | 0 | 115774 | 73 | 116174 | 42.6667
SRN15 | SRN | 2015 | 0 |  | 0 | 0 | 115374 | 37 | 115774 | 41.6667
SRN16 | SRN | 2016 | 0 |  | 0 | 0 | 114974 | 36 | 115374 | 48.6667
SRN17 | SRN | 2017 | 0 |  | 0 | 0 | 114574 | 83 | 114974 | 52
SRN18 | SRN | 2018 | 0 |  | 0 | 0 | 139997 | 41 | 123181.6667 | 53.3333
SRN19 | SRN | 2019 | 0 |  | 0 | 0 | 139597 | 47 | 131389.3333 | 57
SRN20 | SRN | 2020 | 0 |  | 0 | 0 | 139197 | 47 | 139597 | 45
SRN21 | SRN | 2021 | 5.954 | 0 | 5.954 | 1.9847 | 134542 | 4655 | 137778.6667 | 1583
SRN22 | SRN | 2022 | 5.954 | 0 | 5.954 | 3.9693 | 126774 | 7768 | 133504.3333 | 4156.6667
SRN23 | SRN | 2023 | 3.97 | 0 | 3.97 | 5.2927 | 119361 | 7413 | 126892.3333 | 6612
SRN24 | SRN | 2024 | 1.985 | 0 | 1.985 | 3.9697 | 115023 | 4338 | 120386 | 6506.3333
SRN25 | SRN | 2025 | 1.985 | 0 | 1.985 | 2.6467 | 111278 | 3745 | 115220.6667 | 5165.3333
SVT12 | SVT | 2012 | 2.7535 |  | 2.7535 |  | 639594.4466 | 735
SVT13 | SVT | 2013 | 1.8504 |  | 1.8504 |  | 638800.4466 | 794
SVT14 | SVT | 2014 | 1.8255 |  | 1.8255 | 2.1431 | 637177.4466 | 1623 | 638524.1132 | 1050.6667
SVT15 | SVT | 2015 | 2.6511 |  | 2.6511 | 2.109 | 634949.4466 | 2228 | 636975.7799 | 1548.3333
SVT16 | SVT | 2016 | 2.6689 |  | 2.6689 | 2.3819 | 634130.4466 | 819 | 635419.1132 | 1556.6667
SVT17 | SVT | 2017 | 2.3112 |  | 2.3112 | 2.5438 | 633049.4466 | 1078 | 634043.1132 | 1375
SVT18 | SVT | 2018 | 2.384 |  | 2.384 | 2.4547 | 630263 | 887 | 632480.9644 | 928
SVT19 | SVT | 2019 | 0 |  | 0 | 1.5651 | 0 | 0 | 421104.1489 | 655
SVT20 | SVT | 2020 | 0 |  | 0 | 0.79467 | 0 | 0 | 210087.6667 | 295.6667
SVT21 | SVT | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVT22 | SVT | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVT23 | SVT | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVT24 | SVT | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVT25 | SVT | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SWT12 | SWT | 2012 | 0.08288 |  | 0.08288 |  | 71955 | 0
SWT13 | SWT | 2013 | 0.10251 |  | 0.10251 |  | 71618 | 76
SWT14 | SWT | 2014 | 0.11098 |  | 0.11098 | 0.09879 | 71294 | 11 | 71622.3333 | 29
SWT15 | SWT | 2015 | 0.063747 |  | 0.063747 | 0.092412 | 70130 | 31 | 71014 | 39.3333
SWT16 | SWT | 2016 | 0.0010404 |  | 0.0010404 | 0.05859 | 69696 | 150 | 70373.3333 | 64
SWT17 | SWT | 2017 | 0 |  | 0 | 0.021596 | 0 | 0 | 46608.6667 | 60.3333
SWT18 | SWT | 2018 | 0 |  | 0 | 0.00034681 | 0 | 0 | 23232 | 50
SWT19 | SWT | 2019 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SWT20 | SWT | 2020 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SWT21 | SWT | 2021 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SWT22 | SWT | 2022 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SWT23 | SWT | 2023 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SWT24 | SWT | 2024 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SWT25 | SWT | 2025 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SWB12 | SWB | 2012 | 0.08288 |  | 0.08288 |  | 71955 | 0
SWB13 | SWB | 2013 | 0.10251 |  | 0.10251 |  | 71618 | 76
SWB14 | SWB | 2014 | 0.11098 |  | 0.11098 | 0.09879 | 71294 | 11 | 71622.3333 | 29
SWB15 | SWB | 2015 | 0.063747 |  | 0.063747 | 0.092412 | 70130 | 31 | 71014 | 39.3333
SWB16 | SWB | 2016 | 0.0010404 |  | 0.0010404 | 0.05859 | 69696 | 150 | 70373.3333 | 64
SWB17 | SWB | 2017 | 0.0051317 |  | 0.0051317 | 0.023307 | 69455 |  | 69760.3333
SWB18 | SWB | 2018 | 0 |  | 0 | 0.0020574 | 81048 | 189 | 73399.6667
SWB19 | SWB | 2019 | 0.16223 |  | 0.16223 | 0.055786 | 80798 | 150 | 77100.3333
SWB20 | SWB | 2020 | 0.037374 |  | 0.037374 | 0.066533 | 80548 | 150 | 80798 | 163
SWB21 | SWB | 2021 | 0.8 | 0 | 0.8 | 0.3332 | 79948 | 500 | 80431.3333 | 266.6667
SWB22 | SWB | 2022 | 0.8 | 0 | 0.8 | 0.54579 | 79348 | 500 | 79948 | 383.3333
SWB23 | SWB | 2023 | 0.8 | 0 | 0.8 | 0.8 | 78748 | 500 | 79348 | 500
SWB24 | SWB | 2024 | 0.8 | 0 | 0.8 | 0.8 | 78148 | 500 | 78748 | 500
SWB25 | SWB | 2025 | 0.8 | 0 | 0.8 | 0.8 | 77548 | 500 | 78148 | 500
TMS12 | TMS | 2012 | 6.7341 |  | 6.7341 |  | 1279984 | 9023
TMS13 | TMS | 2013 | 7.2775 |  | 7.2775 |  | 1266118 | 8134
TMS14 | TMS | 2014 | 8.2191 |  | 8.2191 | 7.4102 | 1254682 | 10436 | 1266928 | 9197.6667
TMS15 | TMS | 2015 | 6.7187 |  | 6.7187 | 7.4051 | 1249569 | 4556 | 1256789.6667 | 7708.6667
TMS16 | TMS | 2016 | 2.8118 |  | 2.8118 | 5.9165 | 1247835 | 263 | 1250695.3333 | 5085
TMS17 | TMS | 2017 | 5.3589 |  | 5.3589 | 4.9631 | 1242322 | 1483 | 1246575.3333 | 2100.6667
TMS18 | TMS | 2018 | 7.8118 |  | 7.8118 | 5.3275 | 1231604 | 7591 | 1240587 | 3112.3333
TMS19 | TMS | 2019 | 14.303 |  | 14.303 | 9.1579 | 1203723 | 13581 | 1225883 | 7551.6667
TMS20 | TMS | 2020 | 12.2661 |  | 12.2661 | 11.4603 | 1176719 | 13582 | 1204015.3333 | 11584.6667
TMS21 | TMS | 2021 | 15.284 | 0 | 15.284 | 13.951 | 1154188 | 10767 | 1178210 | 12643.3333
TMS22 | TMS | 2022 | 15.284 | 0 | 15.284 | 14.278 | 1131561 | 10767 | 1154156 | 11705.3333
TMS23 | TMS | 2023 | 15.284 | 0 | 15.284 | 15.284 | 1108844 | 10767 | 1131531 | 10767
TMS24 | TMS | 2024 | 15.284 | 0 | 15.284 | 15.284 | 1086043 | 10768 | 1108816 | 10767.3333
TMS25 | TMS | 2025 | 15.284 | 0 | 15.284 | 15.284 | 1063159 | 10768 | 1086015.3333 | 10767.6667
WSH12 | WSH | 2012 | 0 |  | 0 |  | 172354 | 0
WSH13 | WSH | 2013 | 0 |  | 0 |  | 172354 | 0
WSH14 | WSH | 2014 | 0 |  | 0 | 0 | 172354 | 0 | 172354 | 0
WSH15 | WSH | 2015 | 0 |  | 0 | 0 | 172354 | 0 | 172354 | 0
WSH16 | WSH | 2016 | 0 |  | 0 | 0 | 172354 | 0 | 172354 | 0
WSH17 | WSH | 2017 | 0 |  | 0 | 0 | 172354 | 0 | 172354 | 0
WSH18 | WSH | 2018 | 0 |  | 0 | 0 | 172326 | 28 | 172344.6667 | 9.3333
WSH19 | WSH | 2019 | 0 |  | 0 | 0 | 171433 | 0 | 172037.6667 | 9.3333
WSH20 | WSH | 2020 | 0 |  | 0 | 0 | 170540 | 0 | 171433 | 9.3333
WSH21 | WSH | 2021 | 2.963 | 0 | 2.963 | 0.98767 | 169111 | 0 | 170361.3333 | 0
WSH22 | WSH | 2022 | 3.044 | 0 | 3.044 | 2.0023 | 167682 | 0 | 169111 | 0
WSH23 | WSH | 2023 | 3.03 | 0 | 3.03 | 3.0123 | 166253 | 0 | 167682 | 0
WSH24 | WSH | 2024 | 3.012 | 0 | 3.012 | 3.0287 | 164824 | 0 | 166253 | 0
WSH25 | WSH | 2025 | 2.998 | 0 | 2.998 | 3.0133 | 163395 | 0 | 164824 | 0
WSX12 | WSX | 2012 | 0.099456 |  | 0.099456 |  | 50000 | 63
WSX13 | WSX | 2013 | 0.30321 |  | 0.30321 |  | 49578 | 53
WSX14 | WSX | 2014 | 0.64263 |  | 0.64263 | 0.34843 | 48875 | 353 | 49484.3333 | 156.3333
WSX15 | WSX | 2015 | 0.56641 |  | 0.56641 | 0.50408 | 48215 | 189 | 48889.3333 | 198.3333
WSX16 | WSX | 2016 | 0.56102 |  | 0.56102 | 0.59002 | 47601 | 196 | 48230.3333 | 246
WSX17 | WSX | 2017 | -0.083134 |  | -0.083134 | 0.3481 | 47031 | 156 | 47615.6667 | 180.3333
WSX18 | WSX | 2018 | 0.29445 |  | 0.29445 | 0.25745 | 46611 | 117 | 47081 | 156.3333
WSX19 | WSX | 2019 | 0.521 |  | 0.521 | 0.24411 | 46111 | 200 | 46584.3333 | 157.6667
WSX20 | WSX | 2020 | 0.45814 |  | 0.45814 | 0.42453 | 45611 | 200 | 46111 | 172.3333
WSX21 | WSX | 2021 | 0.70103 | 0 | 0.70103 | 0.56006 | 44451 | 1160 | 45391 | 520
WSX22 | WSX | 2022 | 0.86256 | 0 | 0.86256 | 0.67391 | 43041 | 1410 | 44367.6667 | 923.3333
WSX23 | WSX | 2023 | 1.2521 | 0 | 1.2521 | 0.93858 | 41031 | 2010 | 42841 | 1526.6667
WSX24 | WSX | 2024 | 1.382 | 0 | 1.382 | 1.1656 | 38821 | 2210 | 40964.3333 | 1876.6667
WSX25 | WSX | 2025 | 1.382 | 0 | 1.382 | 1.3387 | 36611 | 2210 | 38821 | 2143.3333
YKY12 | YKY | 2012 | 9.5665 |  | 9.5665 |  | 1299350 | 11809
YKY13 | YKY | 2013 | 1.531 |  | 1.531 |  | 1297511 | 1376
YKY14 | YKY | 2014 | 0.8885 |  | 0.8885 | 3.9953 | 1295217 | 1749 | 1297359.3333 | 4978
YKY15 | YKY | 2015 | 2.0319 |  | 2.0319 | 1.4838 | 1291154 | 3447 | 1294627.3333 | 2190.6667
YKY16 | YKY | 2016 | 7.1442 |  | 7.1442 | 3.3549 | 1282315 | 8338 | 1289562 | 4511.3333
YKY17 | YKY | 2017 | 6.9804 |  | 6.9804 | 5.3855 | 1271707 | 10051 | 1281725.3333 | 7278.6667
YKY18 | YKY | 2018 | 0.893 |  | 0.893 | 5.0059 | 1270935 | 246 | 1274985.6667 | 6211.6667
YKY19 | YKY | 2019 | 0 |  | 0 | 2.6245 | 1270185 | 250 | 1270942.3333 | 3515.6667
YKY20 | YKY | 2020 | 0.78288 |  | 0.78288 | 0.55863 | 1269435 | 250 | 1270185 | 248.6667
YKY21 | YKY | 2021 | 3.107 | 0 | 3.107 | 1.2966 | 1267914 | 1521.2 | 1269178 | 673.7333
YKY22 | YKY | 2022 | 2.903 | 0 | 2.903 | 2.2643 | 1266393 | 1521.2 | 1267914 | 1097.4667
YKY23 | YKY | 2023 | 2.468 | 0 | 2.468 | 2.826 | 1264871 | 1521.2 | 1266392.6667 | 1521.2
YKY24 | YKY | 2024 | 1.384 | 0 | 1.384 | 2.2517 | 1263350 | 1521.2 | 1264871.3333 | 1521.2
YKY25 | YKY | 2025 | 2.481 | 0 | 2.481 | 2.111 | 1261829 | 1521.2 | 1263350 | 1521.2
AFW12 | AFW | 2012 | 5.2778 |  | 5.2778 |  | 336926.7432 | 6
AFW13 | AFW | 2013 | 0 |  | 0 |  | 336129.7168 | 3
AFW14 | AFW | 2014 | 0 |  | 0 | 1.7593 | 335363.9806 | 0 | 336140.1468 | 3
AFW15 | AFW | 2015 | 0 |  | 0 | 0 | 334402.7623 | 0 | 335298.8199 | 1
AFW16 | AFW | 2016 | 4.4312 |  | 4.4312 | 1.4771 | 330979.4124 | 2379 | 333582.0517 | 793
AFW17 | AFW | 2017 | 2.8173 |  | 2.8173 | 2.4162 | 326272.7535 | 3490 | 330551.6427 | 1956.3333
AFW18 | AFW | 2018 | 2.142 |  | 2.142 | 3.1302 | 323913 | 1120 | 327055.0553 | 2329.6667
AFW19 | AFW | 2019 | 2.4205 |  | 2.4205 | 2.4599 | 318499 | 4115 | 322894.9178 | 2908.3333
AFW20 | AFW | 2020 | 2.3045 |  | 2.3045 | 2.289 | 309008 | 8150 | 317140 | 4461.6667
AFW21 | AFW | 2021 | 1.84 | 0 | 1.84 | 2.1883 | 305851 | 1772 | 311119.3333 | 4679
AFW22 | AFW | 2022 | 1.8399 | 0 | 1.8399 | 1.9948 | 302649 | 1772 | 305836 | 3898
AFW23 | AFW | 2023 | 1.8399 | 0 | 1.8399 | 1.84 | 299400 | 1772 | 302633.3333 | 1772
AFW24 | AFW | 2024 | 1.8399 | 0 | 1.8399 | 1.8399 | 296102 | 1772 | 299383.6667 | 1772
AFW25 | AFW | 2025 | 1.8399 | 0 | 1.8399 | 1.8399 | 292754 | 1772 | 296085.3333 | 1772
BRL12 | BRL | 2012 | 0.10388 |  | 0.10388 |  | 162297 | 54
BRL13 | BRL | 2013 | 1.7718 |  | 1.7718 |  | 158641 | 67
BRL14 | BRL | 2014 | 1.5495 |  | 1.5495 | 1.1417 | 156396 | 42 | 159111.3333 | 54.3333
BRL15 | BRL | 2015 | 0.59881 |  | 0.59881 | 1.3067 | 154811 | 46 | 156616 | 51.6667
BRL16 | BRL | 2016 | 0.037456 |  | 0.037456 | 0.72859 | 153583 | 50 | 154930 | 46
BRL17 | BRL | 2017 | 0.12111 |  | 0.12111 | 0.25246 | 152501 | 106 | 153631.6667 | 67.3333
BRL18 | BRL | 2018 | 0.088 |  | 0.088 | 0.082188 | 149055 | 86 | 151713 | 80.6667
BRL19 | BRL | 2019 | 0.11741 |  | 0.11741 | 0.10884 | 147546 | 73 | 149700.6667 | 88.3333
BRL20 | BRL | 2020 | 0.048041 |  | 0.048041 | 0.084483 | 146036 | 46 | 147545.6667 | 68.3333
BRL21 | BRL | 2021 | 0.065 | 0 | 0.065 | 0.076817 | 144527 | 128 | 146036.3333 | 82.3333
BRL22 | BRL | 2022 | 0.065 | 0 | 0.065 | 0.059347 | 143018 | 129 | 144527 | 101
BRL23 | BRL | 2023 | 0.065 | 0 | 0.065 | 0.065 | 141508 | 129 | 143017.6667 | 128.6667
BRL24 | BRL | 2024 | 0.065 | 0 | 0.065 | 0.065 | 139999 | 129 | 141508.3333 | 129
BRL25 | BRL | 2025 | 0.065 | 0 | 0.065 | 0.065 | 138490 | 129 | 139999 | 129
BWH12 | BWH | 2012 | 0 |  | 0 |  | 0 | 0
BWH13 | BWH | 2013 | 0 |  | 0 |  | 0 | 0
BWH14 | BWH | 2014 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH15 | BWH | 2015 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH16 | BWH | 2016 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH17 | BWH | 2017 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH18 | BWH | 2018 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH19 | BWH | 2019 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH20 | BWH | 2020 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH21 | BWH | 2021 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH22 | BWH | 2022 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH23 | BWH | 2023 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH24 | BWH | 2024 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
BWH25 | BWH | 2025 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
DVW12 | DVW | 2012 | 0 |  | 0 |  | 30965.2202 | 34
DVW13 | DVW | 2013 | 0 |  | 0 |  | 30946.2202 | 19
DVW14 | DVW | 2014 | 0 |  | 0 | 0 | 30918.2202 | 28 | 30943.2202 | 27
DVW15 | DVW | 2015 | 0 |  | 0 | 0 | 30881.2202 | 37 | 30915.2202 | 28
DVW16 | DVW | 2016 | 0.026452 |  | 0.026452 | 0.0088174 | 30821.2202 | 60 | 30873.5536 | 41.6667
DVW17 | DVW | 2017 | 0.3658 |  | 0.3658 | 0.13075 | 30740.2202 | 81 | 30814.2202 | 59.3333
DVW18 | DVW | 2018 | 0.007 |  | 0.007 | 0.13308 | 30581 | 67 | 30714.1468 | 69.3333
DVW19 | DVW | 2019 | 0 |  | 0 | 0.12427 | 0 | 0 | 20440.4067 | 49.3333
DVW20 | DVW | 2020 | 0 |  | 0 | 0.0023333 | 0 | 0 | 10193.6667 | 22.3333
DVW21 | DVW | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DVW22 | DVW | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DVW23 | DVW | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DVW24 | DVW | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DVW25 | DVW | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PRT12 | PRT | 2012 | 0 |  | 0 |  | 89050 | 0
PRT13 | PRT | 2013 | 0 |  | 0 |  | 88150 | 0
PRT14 | PRT | 2014 | 0 |  | 0 | 0 | 87250 | 0 | 88150 | 0
PRT15 | PRT | 2015 | 0 |  | 0 | 0 | 86350 | 0 | 87250 | 0
PRT16 | PRT | 2016 | 0 |  | 0 | 0 | 85450 | 0 | 86350 | 0
PRT17 | PRT | 2017 | 0 |  | 0 | 0 | 83138 | 0 | 84979.3333 | 0
PRT18 | PRT | 2018 | 0 |  | 0 | 0 | 81727 | 11 | 83438.3333 | 3.6667
PRT19 | PRT | 2019 | 0 |  | 0 | 0 | 80315 | 10 | 81726.6667 | 7
PRT20 | PRT | 2020 | 0 |  | 0 | 0 | 78904 | 10 | 80315.3333 | 10.3333
PRT21 | PRT | 2021 | 0.05 | 0 | 0.05 | 0.016667 | 78110 | 10 | 79109.6667 | 10
PRT22 | PRT | 2022 | 0.05 | 0 | 0.05 | 0.033333 | 77316 | 10 | 78110 | 10
PRT23 | PRT | 2023 | 0.05 | 0 | 0.05 | 0.05 | 76522 | 10 | 77316 | 10
PRT24 | PRT | 2024 | 0.05 | 0 | 0.05 | 0.05 | 75728 | 10 | 76522 | 10
PRT25 | PRT | 2025 | 0.05 | 0 | 0.05 | 0.05 | 74934 | 10 | 75728 | 10
SES12 | SES | 2012 | 0.14808 |  | 0.14808 |  | 106701 | 132
SES13 | SES | 2013 | 0.051794 |  | 0.051794 |  | 105795 | 18
SES14 | SES | 2014 | 0.060247 |  | 0.060247 | 0.086706 | 105161 | 26 | 105885.6667 | 58.6667
SES15 | SES | 2015 | 0.10032 |  | 0.10032 | 0.070788 | 104293 | 54 | 105083 | 32.6667
SES16 | SES | 2016 | 0.13526 |  | 0.13526 | 0.098609 | 103498 | 31 | 104317.3333 | 37
SES17 | SES | 2017 | 0.063633 |  | 0.063633 | 0.099738 | 102726 | 19 | 103505.6667 | 34.6667
SES18 | SES | 2018 | 0.073 |  | 0.073 | 0.09063 | 102188 | 254 | 102804 | 101.3333
SES19 | SES | 2019 | 0.04884 |  | 0.04884 | 0.061824 | 101467 | 287 | 102127 | 186.6667
SES20 | SES | 2020 | 0.04789 |  | 0.04789 | 0.056577 | 100745 | 287 | 101466.6667 | 276
SES21 | SES | 2021 | 0.344 | 0 | 0.344 | 0.14691 | 99702 | 287 | 100638 | 287
SES22 | SES | 2022 | 0.344 | 0 | 0.344 | 0.2453 | 98658 | 287 | 99701.6667 | 287
SES23 | SES | 2023 | 0.344 | 0 | 0.344 | 0.344 | 97615 | 287 | 98658.3333 | 287
SES24 | SES | 2024 | 0.344 | 0 | 0.344 | 0.344 | 96571 | 287 | 97614.6667 | 287
SES25 | SES | 2025 | 0.344 | 0 | 0.344 | 0.344 | 95527 | 287 | 96571 | 287
SEW12 | SEW | 2012 | 0 |  | 0 |  | 30679.1709 | 2
SEW13 | SEW | 2013 | 0 |  | 0 |  | 29335.3813 | 3
SEW14 | SEW | 2014 | 0 |  | 0 | 0 | 27761.3677 | 1 | 29258.64 | 2
SEW15 | SEW | 2015 | 0 |  | 0 | 0 | 26230.408 | 3 | 27775.719 | 2.3333
SEW16 | SEW | 2016 | 0 |  | 0 | 0 | 24424.8487 | 1 | 26138.8748 | 1.6667
SEW17 | SEW | 2017 | 0 |  | 0 | 0 | 22437.5861 | 4 | 24364.2809 | 2.6667
SEW18 | SEW | 2018 | 0 |  | 0 | 0 | 34516 | 3 | 27126.1449 | 2.6667
SEW19 | SEW | 2019 | 0 |  | 0 | 0 | 34249 | 4 | 30400.862 | 3.6667
SEW20 | SEW | 2020 | 0 |  | 0 | 0 | 33801.9393 | 184 | 34188.9798 | 63.6667
SEW21 | SEW | 2021 | 0 | 0 | 0 | 0 | 33534.8785 | 4 | 33861.9393 | 64
SEW22 | SEW | 2022 | 0 | 0 | 0 | 0 | 33267.8178 | 4 | 33534.8785 | 64
SEW23 | SEW | 2023 | 0 | 0 | 0 | 0 | 33000.757 | 4 | 33267.8178 | 4
SEW24 | SEW | 2024 | 0 | 0 | 0 | 0 | 32733.6963 | 4 | 33000.757 | 4
SEW25 | SEW | 2025 | 0 | 0 | 0 | 0 | 32466.6356 | 4 | 32733.6963 | 4
SSC12 | SSC | 2012 | 0.0067129 |  | 0.0067129 |  | 158179.1469 | 206
SSC13 | SSC | 2013 | 0.099891 |  | 0.099891 |  | 158036 | 175
SSC14 | SSC | 2014 | 0.29932 |  | 0.29932 | 0.13531 | 157879 | 154 | 158031.3823 | 178.3333
SSC15 | SSC | 2015 | 0.15896 |  | 0.15896 | 0.18606 | 157721 | 157 | 157878.6667 | 162
SSC16 | SSC | 2016 | 0.0077938 |  | 0.0077938 | 0.15536 | 157519 | 198 | 157706.3333 | 169.6667
SSC17 | SSC | 2017 | 0.03877 |  | 0.03877 | 0.068509 | 156225 | 142 | 157155 | 165.6667
SSC18 | SSC | 2018 | 0.14171 |  | 0.14171 | 0.062757 | 154776 | 205 | 156173.3333 | 181.6667
SSC19 | SSC | 2019 | 0.25993 |  | 0.25993 | 0.1468 | 153636 | 177 | 154879 | 174.6667
SSC20 | SSC | 2020 | 0.24397 |  | 0.24397 | 0.2152 | 152496 | 177 | 153636 | 186.3333
SSC21 | SSC | 2021 | 0.70016 | 0 | 0.70016 | 0.40135 | 150439 | 333 | 152190.3333 | 229
SSC22 | SSC | 2022 | 0.70016 | 0 | 0.70016 | 0.5481 | 148382 | 333 | 150439 | 281
SSC23 | SSC | 2023 | 0.70016 | 0 | 0.70016 | 0.70016 | 146325 | 333 | 148382 | 333
SSC24 | SSC | 2024 | 0.70016 | 0 | 0.70016 | 0.70016 | 144268 | 333 | 146325 | 333
SSC25 | SSC | 2025 | 0.70016 | 0 | 0.70016 | 0.70016 | 142211 | 333 | 144268 | 333
SVE12 | SVE | 2012 | 0 |  | 0 | 0.46677 | 0 | 0
SVE13 | SVE | 2013 | 0 |  | 0 | 0.23339 | 0 | 0
SVE14 | SVE | 2014 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SVE15 | SVE | 2015 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SVE16 | SVE | 2016 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SVE17 | SVE | 2017 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
SVE18 | SVE | 2018 | 2.365 |  | 2.365 | 0.78833 | 637844 | 924 | 212614.6667 | 308
SVE19 | SVE | 2019 | 2.3135 |  | 2.3135 | 1.5595 | 636011.3941 | 1109 | 424618.4647 | 677.6667
SVE20 | SVE | 2020 | 3.0121 |  | 3.0121 | 2.5635 | 634122.2749 | 709 | 635992.5563 | 914
SVE21 | SVE | 2021 | 3.919 | 0 | 3.919 | 3.0815 | 632238.7954 | 796 | 634124.1548 | 871.3333
SVE22 | SVE | 2022 | 4.563 | 0 | 4.563 | 3.8314 | 630360.9389 | 796 | 632240.6697 | 767
SVE23 | SVE | 2023 | 3.919 | 0 | 3.919 | 4.1337 | 628488.6885 | 796 | 630362.8076 | 796
SVE24 | SVE | 2024 | 1.989 | 0 | 1.989 | 3.4903 | 626622.0274 | 796 | 628490.5516 | 796
SVE25 | SVE | 2025 | 1.989 | 0 | 1.989 | 2.6323 | 624760.9388 | 796 | 626623.8849 | 796
HDD12 | HDD | 2012 | 0 |  | 0 | 1.326 | 0 | 0
HDD13 | HDD | 2013 | 0 |  | 0 | 0.663 | 0 | 0
HDD14 | HDD | 2014 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
HDD15 | HDD | 2015 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
HDD16 | HDD | 2016 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
HDD17 | HDD | 2017 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
HDD18 | HDD | 2018 | 0.037939 |  | 0.037939 | 0.012646 | 23002 | 26 | 7667.3333 | 8.6667
HDD19 | HDD | 2019 | 0.019967 |  | 0.019967 | 0.019302 | 23012.5091 | 26 | 15338.1697 | 17.3333
HDD20 | HDD | 2020 | 0.025834 |  | 0.025834 | 0.027914 | 22971.844 | 26 | 22995.4511 | 26
HDD21 | HDD | 2021 | 0.586 | 0 | 0.586 | 0.2106 | 22931.2596 | 51 | 22971.8709 | 34.3333
HDD22 | HDD | 2022 | 0.586 | 0 | 0.586 | 0.39928 | 22890.7556 | 51 | 22931.2864 | 42.6667
HDD23 | HDD | 2023 | 0.586 | 0 | 0.586 | 0.586 | 22850.332 | 51 | 22890.7824 | 51
HDD24 | HDD | 2024 | 0.586 | 0 | 0.586 | 0.586 | 22809.9884 | 51 | 22850.3587 | 51
HDD25 | HDD | 2025 | 0.586 | 0 | 0.586 | 0.586 | 22769.7247 | 51 | 22810.015 | 51

## Coeffs
Econometric models - estimated coefficients
Dependent variable: Meeting lead standard costs (3-year smoothed)
We have a stata file: lead standards.do which we use use for determining our model coefficients
Random effects
|  | Historical | Forecast
|  | re1 | re2
Variable code | Variable name | Meeting lead standard costs | Meeting lead standard costs
leadcommpipessmoothed | Number of lead communication pipes | 2.4e-06 | 3.22e-06
leadpipesreplacedsmoothed | Number of lead communication pipes replaced for water quality | 0.0003439 | 0.000452
_cons | Constant | 0.088638 | 0.18472

## Forecast drivers
Ofwat's forecast of cost drivers for enhancement
nr, Number of lead communication pipes
BN11600
| Historical | [6 empty] | Company forecast | [6 empty] | Forecast: time trend | [6 empty] | Final Decision
| 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | Final decision | Hard coded decision | Check
Time trend | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 8 | 9 | 10 | 11 | 12 | 13 | 14
ANH | 535574 | 531072 | 528026 | 523920 | 519751 | 517721 | 516924 | 516612 | 516300 | 515450 | 513760 | 512080 | 510400 | 509550 | 511723 | 508475.6071 | 505228.2143 | 501980.8214 | 498733.4286 | 495486.0357 | 492238.6429 | 516300 | 516300 | 515450 | 513760 | 512080 | 510400 | 509550 | Company forecast | Company forecast | OK
HDD | Historical 2017-18: 23002; Company forecast 2018-19: 23012.5091; Company forecast 2019-20: 22971.844; Company forecast 2020-21: 22931.2596; Company forecast 2021-22: 22890.7556; Company forecast 2022-23: 22850.332; Company forecast 2023-24: 22809.9884; Company forecast 2024-25: 22769.7247; Final Decision 2018-19: 22971.844; Final Decision 2019-20: 22971.844; Final Decision 2020-21: 22931.2596; Final Decision 2021-22: 22890.7556; Final Decision 2022-23: 22850.332; Final Decision 2023-24: 22809.9884; Final Decision 2024-25: 22769.7247 | Company forecast | Company forecast | OK
NES | 618409 | 606617 | 602471 | 596336 | 564013 | 560453 | 553799 | 547450 | 541101 | 534475 | 527671 | 520867 | 514063 | 507274 | 539640.2857 | 528046.8571 | 516453.4286 | 504860 | 493266.5714 | 481673.1429 | 470079.7143 | 541101 | 541101 | 534475 | 527671 | 520867 | 514063 | 507274 | Company forecast | Company forecast | OK
NWT | 548706 | 546299 | 544391 | 543680 | 539749 | 535279 | 530287 | 525823 | 521359 | 516895 | 511931 | 506667 | 501453 | 496239 | 529493.1429 | 526566.75 | 523640.3571 | 520713.9643 | 517787.5714 | 514861.1786 | 511934.7857 | 521359 | 521359 | 516895 | 511931 | 506667 | 501453 | 496239 | Company forecast | Company forecast | OK
SRN | 116574 | 116174 | 115774 | 115374 | 114974 | 114574 | 139997 | 139597 | 139197 | 134542 | 126774 | 119361 | 115023 | 111278 | 128530 | 130896.75 | 133263.5 | 135630.25 | 137997 | 140363.75 | 142730.5 | 139197 | 139197 | 134542 | 126774 | 119361 | 115023 | 111278 | Company forecast | Company forecast | OK
SVE | Historical 2017-18: 637844; Company forecast 2018-19: 636011.3941; Company forecast 2019-20: 634122.2749; Company forecast 2020-21: 632238.7954; Company forecast 2021-22: 630360.9389; Company forecast 2022-23: 628488.6885; Company forecast 2023-24: 626622.0274; Company forecast 2024-25: 624760.9388; Final Decision 2018-19: 634122.2749; Final Decision 2019-20: 634122.2749; Final Decision 2020-21: 632238.7954; Final Decision 2021-22: 630360.9389; Final Decision 2022-23: 628488.6885; Final Decision 2023-24: 626622.0274; Final Decision 2024-25: 624760.9388 | Company forecast | Company forecast | OK
SVT | 639594.4466 | 638800.4466 | 637177.4466 | 634949.4466 | 634130.4466 | 633049.4466 | 630263 | [7 empty] | 629345.9057 | 627826.5007 | 626307.0957 | 624787.6907 | 623268.2857 | 621748.8807 | 620229.4757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Company forecast | Company forecast | OK
SWB | 71955 | 71618 | 71294 | 70130 | 69696 | 69455 | 81048 | 80798 | 80548 | 79948 | 79348 | 78748 | 78148 | 77548 | 75221.5714 | 75984.25 | 76746.9286 | 77509.6071 | 78272.2857 | 79034.9643 | 79797.6429 | 80548 | 80548 | 79948 | 79348 | 78748 | 78148 | 77548 | Company forecast | Company forecast | OK
TMS | 1279984 | 1266118 | 1254682 | 1249569 | 1247835 | 1242322 | 1231604 | 1203723 | 1176719 | 1154188 | 1131561 | 1108844 | 1086043 | 1063159 | 1224647.8571 | 1217520.0357 | 1210392.2143 | 1203264.3929 | 1196136.5714 | 1189008.75 | 1181880.9286 | 1176719 | 1176719 | 1154188 | 1131561 | 1108844 | 1086043 | 1063159 | Company forecast | Company forecast | OK
WSH | 172354 | 172354 | 172354 | 172354 | 172354 | 172354 | 172326 | 171433 | 170540 | 169111 | 167682 | 166253 | 164824 | 163395 | 172338 | 172335 | 172332 | 172329 | 172326 | 172323 | 172320 | 170540 | 170540 | 169111 | 167682 | 166253 | 164824 | 163395 | Company forecast | Company forecast | OK
WSX | 50000 | 49578 | 48875 | 48215 | 47601 | 47031 | 46611 | 46111 | 45611 | 44451 | 43041 | 41031 | 38821 | 36611 | 45910.8571 | 45320.3214 | 44729.7857 | 44139.25 | 43548.7143 | 42958.1786 | 42367.6429 | 45611 | 45611 | 44451 | 43041 | 41031 | 38821 | 36611 | Company forecast | Company forecast | OK
YKY | 1299350 | 1297511 | 1295217 | 1291154 | 1282315 | 1271707 | 1270935 | 1270185 | 1269435 | 1267914 | 1266393 | 1264871 | 1263350 | 1261829 | 1265490.5714 | 1260142.1786 | 1254793.7857 | 1249445.3929 | 1244097 | 1238748.6071 | 1233400.2143 | 1269435 | 1269435 | 1267914 | 1266393 | 1264871 | 1263350 | 1261829 | Company forecast | Company forecast | OK
AFW | 336926.7432 | 336129.7168 | 335363.9806 | 334402.7623 | 330979.4124 | 326272.7535 | 323913 | 318499 | 309008 | 305851 | 302649 | 299400 | 296102 | 292754 | 322978.3778 | 320723.3876 | 318468.3975 | 316213.4073 | 313958.4172 | 311703.427 | 309448.4369 | 309008 | 309008 | 305851 | 302649 | 299400 | 296102 | 292754 | Company forecast | Company forecast | OK
BRL | 162297 | 158641 | 156396 | 154811 | 153583 | 152501 | 149055 | 147546 | 146036 | 144527 | 143018 | 141508 | 139999 | 138490 | 147495 | 145537.1786 | 143579.3571 | 141621.5357 | 139663.7143 | 137705.8929 | 135748.0714 | 146036 | 146036 | 144527 | 143018 | 141508 | 139999 | 138490 | Company forecast | Company forecast | OK
DVW | 30965.2202 | 30946.2202 | 30918.2202 | 30881.2202 | 30821.2202 | 30740.2202 | 30581 | [7 empty] | 30598.8087 | 30539.4636 | 30480.1186 | 30420.7736 | 30361.4286 | 30302.0835 | 30242.7385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Company forecast | Company forecast | OK
PRT | 89050 | 88150 | 87250 | 86350 | 85450 | 83138 | 81727 | 80315 | 78904 | 78110 | 77316 | 76522 | 75728 | 74934 | 81046 | 79839.1071 | 78632.2143 | 77425.3214 | 76218.4286 | 75011.5357 | 73804.6429 | 78904 | 78904 | 78110 | 77316 | 76522 | 75728 | 74934 | Company forecast | Company forecast | OK
SES | 106701 | 105795 | 105161 | 104293 | 103498 | 102726 | 102188 | 101467 | 100745 | 99702 | 98658 | 97615 | 96571 | 95527 | 101288.8571 | 100526.7143 | 99764.5714 | 99002.4286 | 98240.2857 | 97478.1429 | 96716 | 100745 | 100745 | 99702 | 98658 | 97615 | 96571 | 95527 | Company forecast | Company forecast | OK
SEW | 30679.1709 | 29335.3813 | 27761.3677 | 26230.408 | 24424.8487 | 22437.5861 | 34516 | 34249 | 33801.9393 | 33534.8785 | 33267.8178 | 33000.757 | 32733.6963 | 32466.6356 | 27109.0201 | 26908.2478 | 26707.4756 | 26506.7034 | 26305.9312 | 26105.1589 | 25904.3867 | 33801.9393 | 33801.9393 | 33534.8785 | 33267.8178 | 33000.757 | 32733.6963 | 32466.6356 | Company forecast | Company forecast | OK
SSC | 158179.1469 | 158036 | 157879 | 157721 | 157519 | 156225 | 154776 | 153636 | 152496 | 150439 | 148382 | 146325 | 144268 | 142211 | 155163.3866 | 154656.5494 | 154149.7123 | 153642.8751 | 153136.038 | 152629.2008 | 152122.3636 | 152496 | 152496 | 150439 | 148382 | 146325 | 144268 | 142211 | Company forecast | Company forecast | OK
Industry | 6247298.7278 | 6203174.7649 | 6170991.0151 | 6140370.8371 | 6078693.9278 | 6037986.0064 | 6711396 | 5996467.9032 | 5938895.0582 | 5884307.9336 | 5824703.5123 | 5764431.7775 | 5706958.7121 | 5650796.2991 | 5988020.6416 | 5951844.8992 | 5915669.1568 | 5879493.4144 | 5843317.672 | 5807141.9296 | 5770966.1872 | 5938895.0582 | 5938895.0582 | 5884307.9336 | 5824703.5123 | 5764431.7775 | 5706958.7121 | 5650796.2991 | Company forecast | Company forecast | OK
nr, Number of lead communication pipes replaced for water quality
BN1231 | bar: Historical 2011-12
| Historical | [6 empty] | Company forecast | [6 empty] | Forecast: time trend | [6 empty] | Final decision
| 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | Final decision | Hard coded decision | Check
Time trend | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 8 | 9 | 10 | 11 | 12 | 13 | 14
ANH | 1325 | 4291 | 2701 | 3852 | 2672 | 1973 | 702 | 312 | 312 | 550 | 1350 | 1350 | 1350 | 650 | 1568.8571 | 1335.5 | 1102.1429 | 868.7857 | 635.4286 | 402.0714 | 168.7143 | 312 | 312 | 550 | 1350 | 1350 | 1350 | 650 | Company forecast | Company forecast | OK
HDD | Historical 2017-18: 26; Company forecast 2018-19: 26; Company forecast 2019-20: 26; Company forecast 2020-21: 51; Company forecast 2021-22: 51; Company forecast 2022-23: 51; Company forecast 2023-24: 51; Company forecast 2024-25: 51; Final decision 2018-19: 26; Final decision 2019-20: 26; Final decision 2020-21: 51; Final decision 2021-22: 51; Final decision 2022-23: 51; Final decision 2023-24: 51; Final decision 2024-25: 51 | Company forecast | Company forecast | OK
NES | 10465 | 6099 | 1235 | 1092 | 1272 | 1332 | 1110 | 1440 | 1440 | 1717 | 1895 | 1895 | 1895 | 1880 | -2136.7143 | -3478.2143 | -4819.7143 | -6161.2143 | -7502.7143 | -8844.2143 | -10185.7143 | 1440 | 1440 | 1717 | 1895 | 1895 | 1895 | 1880 | Company forecast | Company forecast | OK
NWT | 753 | 402 | 435 | 247 | 0 | 0 | 4992 | 4464 | 4464 | 4464 | 4964 | 5264 | 5214 | 5214 | 2615.2857 | 3025.2143 | 3435.1429 | 3845.0714 | 4255 | 4664.9286 | 5074.8571 | 4464 | 4464 | 4464 | 4964 | 5264 | 5214 | 5214 | Company forecast | Company forecast | OK
SRN | 40 | 15 | 73 | 37 | 36 | 83 | 41 | 47 | 47 | 4655 | 7768 | 7413 | 4338 | 3745 | 61 | 64.6429 | 68.2857 | 71.9286 | 75.5714 | 79.2143 | 82.8571 | 47 | 47 | 4655 | 7768 | 7413 | 4338 | 3745 | Company forecast | Company forecast | OK
SVE | Historical 2017-18: 924; Company forecast 2018-19: 1109; Company forecast 2019-20: 709; Company forecast 2020-21: 796; Company forecast 2021-22: 796; Company forecast 2022-23: 796; Company forecast 2023-24: 796; Company forecast 2024-25: 796; Final decision 2018-19: 709; Final decision 2019-20: 709; Final decision 2020-21: 796; Final decision 2021-22: 796; Final decision 2022-23: 796; Final decision 2023-24: 796; Final decision 2024-25: 796 | Company forecast | Company forecast | OK
SVT | 735 | 794 | 1623 | 2228 | 819 | 1078 | 887 | [7 empty] | 1197.7143 | 1205.5714 | 1213.4286 | 1221.2857 | 1229.1429 | 1237 | 1244.8571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Company forecast | Company forecast | OK
SWB | 0 | 76 | 11 | 31 | 150 |  | 189 | 150 | 150 | 500 | 500 | 500 | 500 | 500 | 207.3429 | 237.6143 | 267.8857 | 298.1571 | 328.4286 | 358.7 | 388.9714 | 150 | 150 | 500 | 500 | 500 | 500 | 500 | Company forecast | Company forecast | OK
TMS | 9023 | 8134 | 10436 | 4556 | 263 | 1483 | 7591 | 13581 | 13582 | 10767 | 10767 | 10767 | 10768 | 10768 | 1959.2857 | 967.4643 | -24.3571 | -1016.1786 | -2008 | -2999.8214 | -3991.6429 | 13582 | 13582 | 10767 | 10767 | 10767 | 10768 | 10768 | Company forecast | Company forecast | OK
WSH | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 19 | 22 | 25 | 28 | 31 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Company forecast | Company forecast | OK
WSX | 63 | 53 | 353 | 189 | 196 | 156 | 117 | 200 | 200 | 1160 | 1410 | 2010 | 2210 | 2210 | 191.1429 | 198.6786 | 206.2143 | 213.75 | 221.2857 | 228.8214 | 236.3571 | 200 | 200 | 1160 | 1410 | 2010 | 2210 | 2210 | Company forecast | Company forecast | OK
YKY | 11809 | 1376 | 1749 | 3447 | 8338 | 10051 | 246 | 250 | 250 | 1521.2 | 1521.2 | 1521.2 | 1521.2 | 1521.2 | 3752.2857 | 3368.3571 | 2984.4286 | 2600.5 | 2216.5714 | 1832.6429 | 1448.7143 | 250 | 250 | 1521.2 | 1521.2 | 1521.2 | 1521.2 | 1521.2 | Company forecast | Company forecast | OK
AFW | 6 | 3 | 0 | 0 | 2379 | 3490 | 1120 | 4115 | 8150 | 1772 | 1772 | 1772 | 1772 | 1772 | 2813.2857 | 3266.6786 | 3720.0714 | 4173.4643 | 4626.8571 | 5080.25 | 5533.6429 | 8150 | 8150 | 1772 | 1772 | 1772 | 1772 | 1772 | Company forecast | Company forecast | OK
BRL | 54 | 67 | 42 | 46 | 50 | 106 | 86 | 73 | 46 | 128 | 129 | 129 | 129 | 129 | 90.4286 | 96.9286 | 103.4286 | 109.9286 | 116.4286 | 122.9286 | 129.4286 | 46 | 46 | 128 | 129 | 129 | 129 | 129 | Company forecast | Company forecast | OK
DVW | 34 | 19 | 28 | 37 | 60 | 81 | 67 | [7 empty] | 83 | 92.1071 | 101.2143 | 110.3214 | 119.4286 | 128.5357 | 137.6429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Company forecast | Company forecast | OK
PRT | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 6.2857 | 7.4643 | 8.6429 | 9.8214 | 11 | 12.1786 | 13.3571 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | Company forecast | Company forecast | OK
SES | 132 | 18 | 26 | 54 | 31 | 19 | 254 | 287 | 287 | 287 | 287 | 287 | 287 | 287 | 129.5714 | 142.8929 | 156.2143 | 169.5357 | 182.8571 | 196.1786 | 209.5 | 287 | 287 | 287 | 287 | 287 | 287 | 287 | Company forecast | Company forecast | OK
SEW | 2 | 3 | 1 | 3 | 1 | 4 | 3 | 4 | 184 | 4 | 4 | 4 | 4 | 4 | 3.1429 | 3.3214 | 3.5 | 3.6786 | 3.8571 | 4.0357 | 4.2143 | 184 | 184 | 4 | 4 | 4 | 4 | 4 | Company forecast | Company forecast | OK
SSC | 206 | 175 | 154 | 157 | 198 | 142 | 205 | 177 | 177 | 333 | 333 | 333 | 333 | 333 | 173.1429 | 172.25 | 171.3571 | 170.4643 | 169.5714 | 168.6786 | 167.7857 | 177 | 177 | 333 | 333 | 333 | 333 | 333 | Company forecast | Company forecast | OK
Industry | 34647 | 21525 | 18867 | 15976 | 16465 | 19998 | 18599 | 26245 | 30034 | 28715.2 | 33557.2 | 34102.2 | 31178.2 | 29870.2 | 12731.0571 | 10725.4714 | 8719.8857 | 6714.3 | 4708.7143 | 2703.1286 | 697.5429 | 30034 | 30034 | 28715.2 | 33557.2 | 34102.2 | 31178.2 | 29870.2 | Company forecast | Company forecast | OK

## Selected forecast drivers
Forecast cost drivers
- use for setting allowance
|  |  |  | Company's forecasts |  | Ofwat's forecasts
Code | Company | Financial year | Financial year ending in | Number of lead communication pipes | Number of lead pipes replaced | Number of lead communication pipes | Number of lead pipes replaced
ANH21 | ANH | 2020-21 | 2021 | 515450 | 550 | 515450 | 550
ANH22 | ANH | 2021-22 | 2022 | 513760 | 1350 | 513760 | 1350
ANH23 | ANH | 2022-23 | 2023 | 512080 | 1350 | 512080 | 1350
ANH24 | ANH | 2023-24 | 2024 | 510400 | 1350 | 510400 | 1350
ANH25 | ANH | 2024-25 | 2025 | 509550 | 650 | 509550 | 650
HDD21 | HDD | 2020-21 | 2021 | 22931.2596 | 51 | 22931.2596 | 51
HDD22 | HDD | 2021-22 | 2022 | 22890.7556 | 51 | 22890.7556 | 51
HDD23 | HDD | 2022-23 | 2023 | 22850.332 | 51 | 22850.332 | 51
HDD24 | HDD | 2023-24 | 2024 | 22809.9884 | 51 | 22809.9884 | 51
HDD25 | HDD | 2024-25 | 2025 | 22769.7247 | 51 | 22769.7247 | 51
NES21 | NES | 2020-21 | 2021 | 534475 | 1717 | 534475 | 1717
NES22 | NES | 2021-22 | 2022 | 527671 | 1895 | 527671 | 1895
NES23 | NES | 2022-23 | 2023 | 520867 | 1895 | 520867 | 1895
NES24 | NES | 2023-24 | 2024 | 514063 | 1895 | 514063 | 1895
NES25 | NES | 2024-25 | 2025 | 507274 | 1880 | 507274 | 1880
NWT21 | NWT | 2020-21 | 2021 | 516895 | 4464 | 516895 | 4464
NWT22 | NWT | 2021-22 | 2022 | 511931 | 4964 | 511931 | 4964
NWT23 | NWT | 2022-23 | 2023 | 506667 | 5264 | 506667 | 5264
NWT24 | NWT | 2023-24 | 2024 | 501453 | 5214 | 501453 | 5214
NWT25 | NWT | 2024-25 | 2025 | 496239 | 5214 | 496239 | 5214
SRN21 | SRN | 2020-21 | 2021 | 134542 | 4655 | 134542 | 4655
SRN22 | SRN | 2021-22 | 2022 | 126774 | 7768 | 126774 | 7768
SRN23 | SRN | 2022-23 | 2023 | 119361 | 7413 | 119361 | 7413
SRN24 | SRN | 2023-24 | 2024 | 115023 | 4338 | 115023 | 4338
SRN25 | SRN | 2024-25 | 2025 | 111278 | 3745 | 111278 | 3745
SVE21 | SVE | 2020-21 | 2021 | 632238.7954 | 796 | 632238.7954 | 796
SVE22 | SVE | 2021-22 | 2022 | 630360.9389 | 796 | 630360.9389 | 796
SVE23 | SVE | 2022-23 | 2023 | 628488.6885 | 796 | 628488.6885 | 796
SVE24 | SVE | 2023-24 | 2024 | 626622.0274 | 796 | 626622.0274 | 796
SVE25 | SVE | 2024-25 | 2025 | 624760.9388 | 796 | 624760.9388 | 796
SWB21 | SWB | 2020-21 | 2021 | 79948 | 500 | 79948 | 500
SWB22 | SWB | 2021-22 | 2022 | 79348 | 500 | 79348 | 500
SWB23 | SWB | 2022-23 | 2023 | 78748 | 500 | 78748 | 500
SWB24 | SWB | 2023-24 | 2024 | 78148 | 500 | 78148 | 500
SWB25 | SWB | 2024-25 | 2025 | 77548 | 500 | 77548 | 500
TMS21 | TMS | 2020-21 | 2021 | 1154188 | 10767 | 1154188 | 10767
TMS22 | TMS | 2021-22 | 2022 | 1131561 | 10767 | 1131561 | 10767
TMS23 | TMS | 2022-23 | 2023 | 1108844 | 10767 | 1108844 | 10767
TMS24 | TMS | 2023-24 | 2024 | 1086043 | 10768 | 1086043 | 10768
TMS25 | TMS | 2024-25 | 2025 | 1063159 | 10768 | 1063159 | 10768
WSH21 | WSH | 2020-21 | 2021 | 169111 | 0 | 169111 | 0
WSH22 | WSH | 2021-22 | 2022 | 167682 | 0 | 167682 | 0
WSH23 | WSH | 2022-23 | 2023 | 166253 | 0 | 166253 | 0
WSH24 | WSH | 2023-24 | 2024 | 164824 | 0 | 164824 | 0
WSH25 | WSH | 2024-25 | 2025 | 163395 | 0 | 163395 | 0
WSX21 | WSX | 2020-21 | 2021 | 44451 | 1160 | 44451 | 1160
WSX22 | WSX | 2021-22 | 2022 | 43041 | 1410 | 43041 | 1410
WSX23 | WSX | 2022-23 | 2023 | 41031 | 2010 | 41031 | 2010
WSX24 | WSX | 2023-24 | 2024 | 38821 | 2210 | 38821 | 2210
WSX25 | WSX | 2024-25 | 2025 | 36611 | 2210 | 36611 | 2210
YKY21 | YKY | 2020-21 | 2021 | 1267914 | 1521.2 | 1267914 | 1521.2
YKY22 | YKY | 2021-22 | 2022 | 1266393 | 1521.2 | 1266393 | 1521.2
YKY23 | YKY | 2022-23 | 2023 | 1264871 | 1521.2 | 1264871 | 1521.2
YKY24 | YKY | 2023-24 | 2024 | 1263350 | 1521.2 | 1263350 | 1521.2
YKY25 | YKY | 2024-25 | 2025 | 1261829 | 1521.2 | 1261829 | 1521.2
AFW21 | AFW | 2020-21 | 2021 | 305851 | 1772 | 305851 | 1772
AFW22 | AFW | 2021-22 | 2022 | 302649 | 1772 | 302649 | 1772
AFW23 | AFW | 2022-23 | 2023 | 299400 | 1772 | 299400 | 1772
AFW24 | AFW | 2023-24 | 2024 | 296102 | 1772 | 296102 | 1772
AFW25 | AFW | 2024-25 | 2025 | 292754 | 1772 | 292754 | 1772
BRL21 | BRL | 2020-21 | 2021 | 144527 | 128 | 144527 | 128
BRL22 | BRL | 2021-22 | 2022 | 143018 | 129 | 143018 | 129
BRL23 | BRL | 2022-23 | 2023 | 141508 | 129 | 141508 | 129
BRL24 | BRL | 2023-24 | 2024 | 139999 | 129 | 139999 | 129
BRL25 | BRL | 2024-25 | 2025 | 138490 | 129 | 138490 | 129
PRT21 | PRT | 2020-21 | 2021 | 78110 | 10 | 78110 | 10
PRT22 | PRT | 2021-22 | 2022 | 77316 | 10 | 77316 | 10
PRT23 | PRT | 2022-23 | 2023 | 76522 | 10 | 76522 | 10
PRT24 | PRT | 2023-24 | 2024 | 75728 | 10 | 75728 | 10
PRT25 | PRT | 2024-25 | 2025 | 74934 | 10 | 74934 | 10
SES21 | SES | 2020-21 | 2021 | 99702 | 287 | 99702 | 287
SES22 | SES | 2021-22 | 2022 | 98658 | 287 | 98658 | 287
SES23 | SES | 2022-23 | 2023 | 97615 | 287 | 97615 | 287
SES24 | SES | 2023-24 | 2024 | 96571 | 287 | 96571 | 287
SES25 | SES | 2024-25 | 2025 | 95527 | 287 | 95527 | 287
SEW21 | SEW | 2020-21 | 2021 | 33534.8785 | 4 | 33534.8785 | 4
SEW22 | SEW | 2021-22 | 2022 | 33267.8178 | 4 | 33267.8178 | 4
SEW23 | SEW | 2022-23 | 2023 | 33000.757 | 4 | 33000.757 | 4
SEW24 | SEW | 2023-24 | 2024 | 32733.6963 | 4 | 32733.6963 | 4
SEW25 | SEW | 2024-25 | 2025 | 32466.6356 | 4 | 32466.6356 | 4
SSC21 | SSC | 2020-21 | 2021 | 150439 | 333 | 150439 | 333
SSC22 | SSC | 2021-22 | 2022 | 148382 | 333 | 148382 | 333
SSC23 | SSC | 2022-23 | 2023 | 146325 | 333 | 146325 | 333
SSC24 | SSC | 2023-24 | 2024 | 144268 | 333 | 144268 | 333
SSC25 | SSC | 2024-25 | 2025 | 142211 | 333 | 142211 | 333

## Modelled costs
Modelled Costs
|  |  | Triangulation weights |  |  |  | Data for AMP7
|  |  | 50% | 50%
|  |  | Historical | Forecast | Triangulated modelled costs | Allowance for meeting lead standard costs
Code | Company | Year | re1 | re2 |  |  | Company | Actual costs | Allowance model | Allowance deep dive | Modelled costs | Forward looking efficiency score
ANH21 | ANH | 2021 | 1.5149 | 2.0931 | 1.804 | 1.804 | ANH | 25.0227 | 9.9697 |  | 9.9697 | 2.5099
ANH22 | ANH | 2022 | 1.7859 | 2.4492 | 2.1176 | 2.1176 | HDD | 2.93 | 1.1059 |  | 1.1059 | 2.6494
ANH23 | ANH | 2023 | 1.7819 | 2.4438 | 2.1129 | 2.1129 | NES | 4.003 | 11.6954 |  | 11.6954 | 0.34227
ANH24 | ANH | 2024 | 1.7779 | 2.4384 | 2.1081 | 2.1081 | NWT | 0 | 17.7981 |  | 17.7981 | 0
ANH25 | ANH | 2025 | 1.5351 | 2.1193 | 1.8272 | 1.8272 | SRN | 19.848 | 13.4994 |  | 13.4994 | 1.4703
HDD21 | HDD | 2021 | 0.16121 | 0.28161 | 0.22141 | 0.22141 | SVE | 16.379 | 11.0976 |  | 11.0976 | 1.4759
HDD22 | HDD | 2022 | 0.16111 | 0.28148 | 0.2213 | 0.2213 | SWB | 4 | 2.7847 |  | 2.7847 | 1.4364
HDD23 | HDD | 2023 | 0.16102 | 0.28135 | 0.22118 | 0.22118 | TMS | 76.42 | 37.6859 |  | 37.6859 | 2.0278
HDD24 | HDD | 2024 | 0.16092 | 0.28122 | 0.22107 | 0.22107 | WSH | 15.047 | 0 | 10.308 | 10.308 | 1.4597
HDD25 | HDD | 2025 | 0.16082 | 0.28109 | 0.22096 | 0.22096 | WSX | 5.5797 | 4.8381 |  | 4.8381 | 1.1533
NES21 | NES | 2021 | 1.9619 | 2.6818 | 2.3218 | 2.3218 | YKY | 12.343 | 21.4816 |  | 21.4816 | 0.57458
NES22 | NES | 2022 | 2.0067 | 2.7404 | 2.3735 | 2.3735 | AFW | 9.1998 | 8.4151 |  | 8.4151 | 1.0932
NES23 | NES | 2023 | 1.9904 | 2.7185 | 2.3544 | 2.3544 | BRL | 0.325 | 2.9279 |  | 2.9279 | 0.111
NES24 | NES | 2024 | 1.9741 | 2.6965 | 2.3353 | 2.3353 | PRT | 0.25 | 1.7784 |  | 1.7784 | 0.14057
NES25 | NES | 2025 | 1.9526 | 2.6679 | 2.3103 | 2.3103 | SES | 1.72 | 2.6259 |  | 2.6259 | 0.655
NWT21 | NWT | 2021 | 2.8644 | 3.8668 | 3.3656 | 3.3656 | SEW | 0 | 1.155 |  | 1.155 | 0
NWT22 | NWT | 2022 | 3.0244 | 4.0769 | 3.5506 | 3.5506 | SSC | 3.5008 | 3.4018 |  | 3.4018 | 1.0291
NWT23 | NWT | 2023 | 3.1149 | 4.1955 | 3.6552 | 3.6552
NWT24 | NWT | 2024 | 3.0852 | 4.1561 | 3.6207 | 3.6207
NWT25 | NWT | 2025 | 3.0727 | 4.1393 | 3.606 | 3.606 | Median |  |  |  |  | 1.0932
SRN21 | SRN | 2021 | 2.0124 | 2.722 | 2.3672 | 2.3672 | Upper quartile |  |  |  |  | 0.34227
SRN22 | SRN | 2022 | 3.0643 | 4.1041 | 3.5842 | 3.5842
SRN23 | SRN | 2023 | 2.9244 | 3.9197 | 3.4221 | 3.4221
SRN24 | SRN | 2024 | 1.8565 | 2.5159 | 2.1862 | 2.1862
SRN25 | SRN | 2025 | 1.6436 | 2.2358 | 1.9397 | 1.9397
SVE21 | SVE | 2021 | 1.8798 | 2.5803 | 2.23 | 2.23
SVE22 | SVE | 2022 | 1.8752 | 2.5743 | 2.2248 | 2.2248
SVE23 | SVE | 2023 | 1.8708 | 2.5682 | 2.2195 | 2.2195
SVE24 | SVE | 2024 | 1.8663 | 2.5622 | 2.2143 | 2.2143
SVE25 | SVE | 2025 | 1.8618 | 2.5562 | 2.209 | 2.209
SWB21 | SWB | 2021 | 0.45246 | 0.66815 | 0.56031 | 0.56031
SWB22 | SWB | 2022 | 0.45102 | 0.66622 | 0.55862 | 0.55862
SWB23 | SWB | 2023 | 0.44958 | 0.66429 | 0.55694 | 0.55694
SWB24 | SWB | 2024 | 0.44814 | 0.66236 | 0.55525 | 0.55525
SWB25 | SWB | 2025 | 0.4467 | 0.66042 | 0.55356 | 0.55356
TMS21 | TMS | 2021 | 6.5615 | 8.7679 | 7.6647 | 7.6647
TMS22 | TMS | 2022 | 6.5072 | 8.695 | 7.6011 | 7.6011
TMS23 | TMS | 2023 | 6.4526 | 8.6219 | 7.5373 | 7.5373
TMS24 | TMS | 2024 | 6.3983 | 8.5489 | 7.4736 | 7.4736
TMS25 | TMS | 2025 | 6.3433 | 8.4752 | 7.4093 | 7.4093
WSH21 | WSH | 2021 | 0.4945 | 0.72926 | 0.61188 | 0.61188
WSH22 | WSH | 2022 | 0.49107 | 0.72466 | 0.60787 | 0.60787
WSH23 | WSH | 2023 | 0.48764 | 0.72005 | 0.60385 | 0.60385
WSH24 | WSH | 2024 | 0.48422 | 0.71545 | 0.59983 | 0.59983
WSH25 | WSH | 2025 | 0.48079 | 0.71085 | 0.59582 | 0.59582
WSX21 | WSX | 2021 | 0.59424 | 0.85217 | 0.72321 | 0.72321
WSX22 | WSX | 2022 | 0.67684 | 0.96063 | 0.81873 | 0.81873
WSX23 | WSX | 2023 | 0.87835 | 1.2254 | 1.0519 | 1.0519
WSX24 | WSX | 2024 | 0.94183 | 1.3086 | 1.1252 | 1.1252
WSX25 | WSX | 2025 | 0.93652 | 1.3015 | 1.119 | 1.119
YKY21 | YKY | 2021 | 3.6548 | 4.955 | 4.3049 | 4.3049
YKY22 | YKY | 2022 | 3.6511 | 4.9501 | 4.3006 | 4.3006
YKY23 | YKY | 2023 | 3.6475 | 4.9452 | 4.2963 | 4.2963
YKY24 | YKY | 2024 | 3.6438 | 4.9403 | 4.2921 | 4.2921
YKY25 | YKY | 2025 | 3.6402 | 4.9354 | 4.2878 | 4.2878
AFW21 | AFW | 2021 | 1.4321 | 1.9705 | 1.7013 | 1.7013
AFW22 | AFW | 2022 | 1.4244 | 1.9602 | 1.6923 | 1.6923
AFW23 | AFW | 2023 | 1.4166 | 1.9497 | 1.6832 | 1.6832
AFW24 | AFW | 2024 | 1.4087 | 1.9391 | 1.6739 | 1.6739
AFW25 | AFW | 2025 | 1.4006 | 1.9283 | 1.6645 | 1.6645
BRL21 | BRL | 2021 | 0.47952 | 0.70795 | 0.59374 | 0.59374
BRL22 | BRL | 2022 | 0.47624 | 0.70355 | 0.58989 | 0.58989
BRL23 | BRL | 2023 | 0.47262 | 0.69868 | 0.58565 | 0.58565
BRL24 | BRL | 2024 | 0.469 | 0.69382 | 0.58141 | 0.58141
BRL25 | BRL | 2025 | 0.46538 | 0.68897 | 0.57717 | 0.57717
PRT21 | PRT | 2021 | 0.27954 | 0.44075 | 0.36015 | 0.36015
PRT22 | PRT | 2022 | 0.27764 | 0.4382 | 0.35792 | 0.35792
PRT23 | PRT | 2023 | 0.27573 | 0.43564 | 0.35569 | 0.35569
PRT24 | PRT | 2024 | 0.27382 | 0.43308 | 0.35345 | 0.35345
PRT25 | PRT | 2025 | 0.27192 | 0.43053 | 0.35122 | 0.35122
SES21 | SES | 2021 | 0.42662 | 0.63548 | 0.53105 | 0.53105
SES22 | SES | 2022 | 0.42412 | 0.63212 | 0.52812 | 0.52812
SES23 | SES | 2023 | 0.42161 | 0.62876 | 0.52519 | 0.52519
SES24 | SES | 2024 | 0.41911 | 0.6254 | 0.52225 | 0.52225
SES25 | SES | 2025 | 0.4166 | 0.62204 | 0.51932 | 0.51932
SEW21 | SEW | 2021 | 0.1705 | 0.29451 | 0.2325 | 0.2325
SEW22 | SEW | 2022 | 0.16986 | 0.29365 | 0.23175 | 0.23175
SEW23 | SEW | 2023 | 0.16922 | 0.29279 | 0.231 | 0.231
SEW24 | SEW | 2024 | 0.16857 | 0.29193 | 0.23025 | 0.23025
SEW25 | SEW | 2025 | 0.16793 | 0.29107 | 0.2295 | 0.2295
SSC21 | SSC | 2021 | 0.56421 | 0.81965 | 0.69193 | 0.69193
SSC22 | SSC | 2022 | 0.55927 | 0.81303 | 0.68615 | 0.68615
SSC23 | SSC | 2023 | 0.55434 | 0.8064 | 0.68037 | 0.68037
SSC24 | SSC | 2024 | 0.5494 | 0.79978 | 0.67459 | 0.67459
SSC25 | SSC | 2025 | 0.54446 | 0.79316 | 0.66881 | 0.66881

## Modelled unit costs
Costs in £m 2018-18 prices
[8 empty] | Triangulation weights |  | Triangulated modelled costs (£m)
[6 empty] | Unit cost - historical period, £/ pipe | Unit cost - Forecast period, £/pipe | 50% | 50%
Company | Total meeting lead standards costs with reallocations - historical period (2011-12 to 2017-18) | Meeting lead standard costs with reallocations - AMP7 period (2020-21 to 2024-25) | Number of lead communication pipes replaced for water quality - historical period (2011-12 to 2017-18) | Number of lead communication pipes replaced for water quality - AMP7 period (2020-21 to 2024-25) |  |  |  | Historical modelled costs (£m) | Forecast modelled costs (£m)
ANH | 17.9998 | 25.0227 | 17516 | 5250 |  | 1027.6176 | 4766.2264 | 18.9709 | 7.9261 | 13.4485
HDD |  | 2.93 |  | 255 |  |  | 11490.1961 | 0 | 0.38498 | 0.19249
NES | 16.2193 | 4.003 | 22605 | 9282 |  | 717.5084 | 431.2648 | 24.4826 | 14.0134 | 19.248
NWT | 4.6608 | 0 | 6829 | 25120 |  | 682.5053 |  | 7.3962 | 37.9246 | 22.6604
SRN | 0 | 19.848 | 325 | 27919 |  |  | 710.9137 | 0.35199 | 42.1503 | 21.2511
SVE |  | 16.379 |  | 3980 |  |  | 4115.3266 | 0 | 6.0087 | 3.0044
SWB | 0.36629 | 4 | 457 | 2500 |  | 801.5072 | 1600 | 0.49496 | 3.7743 | 2.1346
TMS | 44.9319 | 76.42 | 41486 | 53837 |  | 1083.0606 | 1419.4706 | 44.9319 | 81.2796 | 63.1057
WSH | 0 | 15.047 | 28 | 0 |  |  |  | 0.030326 | 0 | 0.015163
WSX | 2.3841 | 5.5797 | 1127 | 9000 |  | 2115.3966 | 619.9712 | 1.2206 | 13.5876 | 7.4041
YKY | 29.0355 | 12.343 | 37016 | 7606 |  | 784.404 | 1622.7978 | 40.0906 | 11.483 | 25.7868
AFW | 14.6683 | 9.1998 | 6998 | 8860 |  | 2096.07 | 1038.3472 | 7.5793 | 13.3763 | 10.4778
BRL | 4.2705 | 0.325 | 451 | 644 |  | 9469.0267 | 504.6584 | 0.48846 | 0.97227 | 0.73036
PRT | 0 | 0.25 | 11 | 50 |  |  | 5000 | 0.011914 | 0.075487 | 0.0437
SES | 0.63233 | 1.72 | 534 | 1435 |  | 1184.1432 | 1198.6063 | 0.57835 | 2.1665 | 1.3724
SEW | 0 | 0 | 17 | 20 |  |  |  | 0.018412 | 0.030195 | 0.024303
SSC | 0.75315 | 3.5008 | 1237 | 1665 |  | 608.8546 | 2102.5836 | 1.3397 | 2.5137 | 1.9267
DVW | 0.39925 |  | 326 |  |  | 1224.7059 |  | 0.35308 | 0 | 0.17654
SVT | 16.4447 |  | 8164 |  |  | 2014.2921 |  | 8.8421 | 0 | 4.4211
[5 empty] | Industry unit cost | 1083.0606 | 1509.7353

## Deep dive_WSH
Deep dive sheet - WSH Lead standards
The assessor and QA
Assessor's name | PM
Peer review (initials, date and QA log ref.) | AF 24/01/19
Enhancement line BoN code | realW3006CAW
Enhancement line description | Meeting lead standards
Company | WSH
Control | Wholesale water
Capex carried through deep dive AMP7 (£m) | 15.047
Overall assessment result
Ofwat view of allowance for AMP7 (£m) | 10.308 | Number of allowed replacements of 5,154 multiplied by the benchmark unit cost of £2,000 = £10.308m. See the Analysis box for details.
Assessment
Assessment gates |  |  | References
Need for investment | Partial pass | Welsh Water has developed a strategy and forecast expenditure in WS2 L6 Meeting lead standards to 'play our part in delivering the well-being goals set out in the Welsh Governments Well-being of Future Generations Act 2015' to reduce lead exposure as low as reasonably practicable. This entails the following strategies: - Offering free lead pipe replacements for props with high lead levels (7,000 supply pipe and/or comms pipe AMP7 forecast) - Linking with other partners' schemes like Welsh Government Arbed scheme to identify lead piping; and - Supporting the WaterSafe scheme to prevent the use of lead solder during plumbing works The Water Strategy for Wales (2015) the Welsh Government states that it aims to keep exposure to lead as low as reasonably practicable. However, at the end of that paragraph, the action arising from this goal is for the Welsh Government to work with the Drinking Water Inspectorate, water companies and others to investigate best practice and options for addressing the risk of lead leaching into water supplies. They also say that the Government will work with the DWI to keep the relevant drinking water quality legislation under review and where necessary, amend it. It is worth mentioning that the current water quality regulations for water undertakers whose areas are wholly or mainly in Wales (the Water Supply (Water Quality) Regulations 2018) were only made this year, that is, after the 2015 Water Strategy and the commitment to amend legislation where necessary. These regulations still include the 10 μg/litre limit for lead, so that is the legal limit. The Well-being of Future Generations (Wales) Act 2015, that HDD also mentions, does not directly apply to water companies, as HDD recognises (relevant undertakers are not among the public bodies listed in the Act) and is a very high level piece of legislation that sets a number of goals, such as a healthier Wales, but does not mention particular issues that may affect these goals, as lead in drinking water or what the limit should be. The Strategic Priorities and Objectives Statement (SPS) to Ofwat, issued under section 2B WIA91, state that Ofwat must work with the Drinking Water Inspectorate to regulate companies to encourage and incentivise them to maintain the current high standard of public drinking water quality for the long-term. This should include customer acceptability as well as wholesomeness. Again, this is not very specific and does not necessarily imply tightening the existing lead legal standards. We have identified that the European Directive on Drinking Water is under revision and the proposal being discussed includes a reduction of the lead limit to 5 μg/litre. However it has not yet been approved and the draft proposal includes a 10 year transitioning period after the Directive comes into force. With the Brexit scenario it is also not certain that this will affect UK water undertakers (England and Wales). We note the DWI letter of support, 30th May 18, referencing replacement of CP and SP if sample indicates >5ug/l and low income area eligible for the Welsh Government Arbed housing improvement scheme that tackles fuel poverty. | 2.2 PR19 Water Network Plus Business Plan WSH, Strategic Response 6: Towards a lead-free Wales, p53 to 59 supply pipe replacement target of 7,000 for AMP7 is referenced p8, 56 and 57. p56 comment mentions and/or communication pipes
Need for adjustment | Partial pass | HDD highlighted the Lead challenge as a CAC whereas WSH did not and included the investment in the standard Enhancement line for meeting Lead standards. It is questionable why the HDD and WSH are adopting slightly different strategies for a common Welsh Government customer base. This could help focus adoption of effective strategies in the future if WSH and HDD share the results and effectiveness of the strategies. These should inform DWI thinking and English companies should the DWI adopt the lower 5ug/l standard ahead of PR24. | 2.2 PR19 Water Network Plus Business Plan WSH, Strategic Response 6: Towards a lead-free Wales, p53 to 59
Management control | Pass | We have identified that WSH dose PO4 at 41 WTW, and achieve 99% compliance of 10ug/l PCV and 95% of customers received PO4 dosed potable water in 2017. | 2.2 PR19 Water Network Plus Business Plan WSH, Strategic Response 6: Towards a lead-free Wales, p53 to 59
Best option for customers | Partial pass | We note that customers become anxious when aware of risks, SR6: Towards a lead free Wales in ranked 10th out of 14 priorities, | 2.2 PR19 Water Network Plus Business Plan WSH, Strategic Response 6: Towards a lead-free Wales, p53 to 59
Robustness and efficiency of costs | Partial pass | We have identified that WSH are working with KOBUS pipe puller to reduce cost of SP replacement from av £3.5k to £1.5k per prop and investigating extracting PO4 from WWTW’s, though no detail or further cost implications are evident. | 2.2 PR19 Water Network Plus Business Plan WSH, Strategic Response 6: Towards a lead-free Wales, p53 to 59
Customer protection | Pass | We have identified the PC Wt8: Lead supply pipes replaced, which has an over and underperformance revenue ODI. | 2.2 PR19 Water Network Plus Business Plan WSH, Strategic Response 6: Towards a lead-free Wales, p53 to 59
Affordability | Not assessed
Board assurance | Partial pass | No reference made to Well Being in this assessment document Reference is made in the November 2017 section regarding Measures of Success need to cover all customer priorities, Welsh Water 2050 commitments and Welsh Government’s Well-being Goals. | 7.1 Assessment of the plan against Welsh Governments SPS WSH 7.3 PR19 Board agenda, decisions and challenges
Further analysis
1. WE calculate the allowed number of supply pipes replaced during AMP 7 as 5,154 replacements, which is calculated as follows:
a) Number of replacements should WSH follow the industry's renewal rate = 3,436 replacements = Industry annual renewal rate of 0.4043% * WSH annual average number of existing lead pipes of 169,978 * 5 years of AMP7 period (source: Ofwat calculations, tab 'HDD_WSH evidence')
b) Uplift the 3,436 replacements by 50% to reflect WSH's tighter target from 10 to 5ug/l, by 50% = 5,154 replacements = 3,436 replacements *1.5
2. We use a benchmark cost of replacement of £2,000, which is HDD's estimated cost per replacement. Ofwat's estimates indicates an industry median cost of £1,510 per replacement over the AMP7 period [Source: Ofwat calculations in tab 'modelled unit costs', cell H26]. We use HDD's cost of £2,000. We consider the ~#500 per replacement more that the industry median to be justified by the tighter target from 10 to 5ug/l that the HDD and WSH propose to adopt in AMP7. a HDD says in its submission that it has used a cost of £2k per replacement for combined comm pipe and supply pipe replacement [source: HDD submission, Appendix 4 - Enhancement business cases and cost adjustment claims, Section 4.3.2 Reducing Lead in Wales cost assessment claim, Section D, Best option for customers, p104].
Note that WSH appears to use a cost per replacement of ~£2,150 (requested capex of £15m / ~7,000 replacements). Our unit cost analysis cannot confirm this because WSH reports 0 replacements for AMP7 in the Business Plans tables. The reference to 7,000 replacements in AMP7 comes in the BP report [source: 2.2 PR19 Water Network Plus Business Plan WSH, Strategic Response 6: Towards a lead-free Wales, p53 to 59], which does not match the zero number reported in the BP tables.
3. We estimate the allowance by multiplying the number of allowed replacements of 5,154 by the benchmark unit cost of £2,000 = £10.308m.
[Insert references to evidence]
Appendix a8 securing cost efficiency

## HDD_WSH evidence
Background Comparison |  |  | Potential forecast replacements based on Industry averages
Theme | HDD | WSH |  | Historical and Forecast
Health impact | +no safe standard for lead | + Known adverse health effects of excessive long-term exposure to lead, with children under 6 yrs old and expectant mothers being particularly vulnerable, p53 |  | Average nr of Lead cp's | average cp's replaced/y | % replaced/y | Using industry av WSH replacements/y | potential cp replacements for WSH For AMP 7 | Comment | Final allowed replacement number | Notes
| + young people particularly those under 6 yrs old have shown increased behavioural problems and lower IQ. |  | ANH | 519081.4286 | 1670.7143 | 0.3219%
Customer Support | + multiple references in App1 Customer insight (sample 400 props) with 61% support, 26% willing to pay to do more and 8% invest less. | + Reference to customers becoming anxious when aware of risks | HDD | 22904.8017 | 41.625 | 0.1817%
|  | + SR6: Towards a lead free Wales in ranked 10th out of 14 priorities | NES | 556785.6429 | 2483.3571 | 0.446%
Scale of problem | + European Commission consulting on tightening std from 10 to 5ug/l …. Which could take effect from 2030. | + estimated 25% of homes in Wales have lead pipes | NWT | 526339.8571 | 2919.7857 | 0.5547%
Treatment | + achieving 99.5 to 100% at 10ug/l | +dose PO4 at 41 WTW, and achieve 99% compliance of 10ug/l PCV | SRN | 122800.9286 | 2024.1429 | 1.648%
| + estimate 98% at 5ug/l and 71.5% at 0ug/l | + 95% of customers received PO4 dosed potable water in 2017. | SVE | 631306.1323 | 840.25 | 0.1331%
DWI | + no letter on file | + letter of support, 30th May 18, referencing replacement of CP and SP if sample indicates >5ug/l and low income area eligible for the Welsh Government Arbed housing improvement scheme that tackles fuel poverty. | SVT | 635423.5256 | 1166.2857 | 0.1835%
Strategies | proactive replacement in hot spot areas and at schools 460 pipes £1,490k | + free SP replacement >5ug/l, expect 7,000 SP props in AMP7 | SWB | 75734.4286 | 250.5385 | 0.3308%
| opportunistic CP replacement (nr not found assume 200 based on £0.4m divided by £2k estimate) | + linking partners, Welsh Gov Arbed scheme, Project Cartref (removal of lead pipes of targeted props under leakage scheme) | TMS | 1192596.5 | 8749 | 0.7336%
| + Customer protection measures and WQ surveys | + supporting WaterSafe scheme to prevent the use of lead solder during plumbing works and WRAS. | WSH | 169977.7143 | 2 | 0.001177% | 687.1689 | 3435.8444 | WSH estimate 7,000 for the period we could allow half based on industry averages, but this is to meet 10ug/l | 5153.7665 | To reflect tighter target and developing strategy
| + Long term planning including supply pipe survey and mapping and research |  | WSX | 45256.2857 | 751.9286 | 1.661%
|  |  | YKY | 1276583.2857 | 3223 | 0.2525%
Innovation | + replacement estimate is £2k | + working with KOBUS pipe puller to reduce cost of SP replacement from av £3.5k to £1.5k per prop. | AFW | 317732.2406 | 2008.7857 | 0.6322%
| + get plumbers involved | + investigating extracting PO4 from WWTW’s | BRL | 149172 | 86.7143 | 0.05813%
| + better information (GIS, relining trials, targeting) |  | DVW | 30836.1888 | 46.5714 | 0.151%
| + sampling improvements (easier/more reliable) |  | PRT | 81638.8571 | 5.7857 | 0.007087%
| + enhanced PO4 process optimisation |  | SES | 101474.7857 | 181.6429 | 0.179%
PC | + A3: Number of lead pipes replaced | + Wt8: Lead supply pipes replaced | SEW | 30602.8205 | 16.0714 | 0.05252%
Additional expenditure | + £2.93m | + WSH state further £20m, but WS2 L6 Meeting Lead standards totals £15.047m for the AMP7 period | SSC | 152720.8676 | 232.5714 | 0.1523%
|  |  | Industry |  |  | 0.4043%
Welsh Water – Wholesale Water Service Table Commentaries
Line A6-B45: Meeting lead standards
Capital - operating expenditure to meet lead standards. This includes expenditure to deal with the conditioning of water before entering distribution to reduce plumbosolvency, expenditure on replacing lead communication pipes owned by the company and any other lead related work including investigations.
Blind years: There are no costs reported in this line for the blind years
Forecast years: The basis of this programme is to improve the Quality of water delivered to customers and focuses on improvements to the levels of lead by replacing service pipes as well as dis-infection by-products. This will include a Research and Development programme which will develop solutions to improve water treatment for new or existing substances which provides a challenge to our existing Water Treatment processes. The programme of work is detailed in the 5.8F Water Quality investment case and the investments within lines 6 and 13 summarised in Table 2 below.
The spend allocated here will improve water quality and where the service pipe results in regular interruptions to a single properties supply or reduces pressure there will be a secondary benefit by improving service in these areas.
The investments included in this line will improve the water quality but is judged not to be part of the AoW programme of work.
Project Name | Budget Post-Efficiency unless stated | WS2 Table Lines
Disinfection by-products R & D | £0.686m | A13
Disinfection by-products Alaw WTW improvements | £0.713m | A13
Replacement of supply pipes for an additional 3,500 customers | £10.013m | A6
Replacement of lead supply pipes for disadvantaged customers | £5.034m | A6
Total Quality Programme post efficiency challenge | £16.446m
Table 2 – Summary of the Lines A6 & A13 Investment Programme

## Allowance
Allowed costs - Meeting lead standards
| Assessor's name | SS
| Peer review (initials, date) | PM
| BoN code | W3006CAW
| Enhancement line | Meeting lead standards
| Control | Wholesale water
Cost allowance for AMP7 (£m)
| Company | Capex in business plan - wholesale water | Capex reallocated out to other lines | Capex reallocated in to this line | Net Capex reallocated | Capex after reallocations | Modelled Costs | Capex allowed - wholesale water | Proportion of water resources | Capex allowed - water resources | Capex allowed - network plus
1 | ANH | 25.0227 | 0 | 0 | 0 | 25.0227 | 9.9697 | 9.9697 | 0 | 0 | 9.9697
2 | HDD | 2.93 | 0 | 0 | 0 | 2.93 | 1.1059 | 1.1059 | 0 | 0 | 1.1059
3 | NES | 4.003 | 0 | 0 | 0 | 4.003 | 11.6954 | 4.003 | 0 | 0 | 4.003
4 | NWT | 0 | 0 | 0 | 0 | 0 | 17.7981 | 0 | 0 | 0 | 0
5 | SRN | 19.848 | 0 | 0 | 0 | 19.848 | 13.4994 | 13.4994 | 0 | 0 | 13.4994
6 | SVE | 16.379 | 0 | 0 | 0 | 16.379 | 11.0976 | 11.0976 | 0 | 0 | 11.0976
7 | SWB | 4 | 0 | 0 | 0 | 4 | 2.7847 | 2.7847 | 0 | 0 | 2.7847
8 | TMS | 76.42 | 0 | 0 | 0 | 76.42 | 37.6859 | 37.6859 | 0 | 0 | 37.6859
9 | WSH | 15.047 | 0 | 0 | 0 | 15.047 | 10.308 | 10.308 | 0 | 0 | 10.308
10 | WSX | 5.5797 | 0 | 0 | 0 | 5.5797 | 4.8381 | 4.8381 | 0 | 0 | 4.8381
11 | YKY | 12.343 | 0 | 0 | 0 | 12.343 | 21.4816 | 12.343 | 0 | 0 | 12.343
12 | AFW | 9.1998 | 0 | 0 | 0 | 9.1998 | 8.4151 | 8.4151 | 0 | 0 | 8.4151
13 | BRL | 0.325 | 0 | 0 | 0 | 0.325 | 2.9279 | 0.325 | 0 | 0 | 0.325
14 | PRT | 0.25 | 0 | 0 | 0 | 0.25 | 1.7784 | 0.25 | 0 | 0 | 0.25
15 | SES | 1.72 | 0 | 0 | 0 | 1.72 | 2.6259 | 1.72 | 0 | 0 | 1.72
16 | SEW | 0 | 0 | 0 | 0 | 0 | 1.155 | 0 | 0 | 0 | 0
17 | SSC | 3.5008 | 0 | 0 | 0 | 3.5008 | 3.4018 | 3.4018 | 0 | 0 | 3.4018
| Total | 196.568 | 0 | 0 | 0 | 196.568 | 162.5686 | 121.7472 |  | 0 | 121.7472