## Slide 1
Outcomes Working Group
October 2022
Peter Jordan

## Slide 2
Outcomes Working Group
AIM: To consider latest updates from the DWI, as well as the Task and Finish groups around PR24 performance commitments.
10:00 Introduction
10.05 Operational greenhouse gases
10:15 Breakout session 1
10:35 Feedback
10.40 Biodiversity
10.50 Breakout session 2
11.05 Feedback and discussion
11.15 River water quality
11:30 Breakout session 3
11:50 Feedback and discussion
12:00 Close

## Slide 3
Operational greenhouse gas PC – Focus
In our draft methodology, we proposed incentivising water companies to deliver on net zero through the introduction of a common operational greenhouse gas (GHG) emissions performance commitment (PC).
When designing the PC, we need to carefully consider how we incentivise actions that lead to actual organisational reductions in GHG emissions.
Companies currently dual report using both market-based and location-based reporting. This covers both scope 1 and 2 emissions and a limited range of scope 3 emissions.
Our annual approach to the reporting of GHG emissions currently allows companies to report market as well as location-based emissions data.
Company feedback noted wanting greater clarity on the accounting approach to be used, how to account for grid decarbonisation, and the breadth of reporting in relation to scopes.

## Slide 4
Operational GHG Reporting - feedback
Market & Location Based Reporting
Market-based to allow for impact of ‘green’ energy on emissions to be recorded
Market-based but PC's common reduction level should exclude grid energy and a transition to green energy to avoid the PC favouring companies who do not currently buy green energy.
Location-based allows for transparent and fair comparison between companies and pre-empts any changes to REGOs during PR24
Scopes
Clarity on the scopes and categories to report
Need to ensure robust and consistent emissions reporting particularly for Scope 3
Alignment with the GHG protocol, particularly in relation to scope 3 emissions
Suggested scope 3 emissions to reporting include business travel, fuel and energy related activities, transportation and distribution (upstream and downstream), waste generated in operations.
Need to consider whether focus on operational can lead to perverse impacts on embedded emissions and how this can be managed
Both operational and embedded should be considered and incentivised but need to be dealt with separately.

## Slide 5
Breakout group questions
With regard to incentivising reductions in operational GHG emissions, what difficulties do you envisage with the following approaches?
If we were to adopt a market-based approach?
If we were to adopt a net location-based approach that takes account of grid decarbonisation?
If all companies were to report in line with scopes as detailed in the APR?
All companies report in line with scopes detailed in APR plus a more comprehensive set of GHG protocol scope 3 emissions?
Are there any other adjustments we could make to address concerns?

## Slide 6
Biodiversity
Our draft methodology proposal
We proposed a PC that measures the change in biodiversity on company owned land and third-party land on which they are working in partnership as part of their statutory functions. We proposed this should be measured by people with relevant experience and qualifications conducting site visits every four years and using the baseline pre intervention assessment of the biodiversity metric 3.1 for each visit and that all sites should be surveyed by 2028. We wanted to be confident that outperformance was when there was a net increase in biodiversity across the company area and have a clear baseline to further promote biodiversity at PR29.
Key feedback
Summary of draft methodology responses | Response
Broad consensus that there should be a biodiversity PC. In England support for basing it broadly on the biodiversity metric. | We should include a biodiversity PC for PR24.
Most stakeholders in Wales question if the using the biodiversity metric 3.1 is appropriate for Wales. | We will continue to engage with Welsh stakeholders to understand the differences relevant to the design of this PC.
Strong disagreement that all sites are surveyed independently every four years, both on cost and not enough surveyors. Some question whether the PC should cover all sites; only survey where improvements are planned to be delivered; if there should be a minimum area for a site. Sites are surveyed less than 4 years (5 or 6 years suggested) as habitat takes a long time to develop. | In this session we will discuss options to address this issue.
Some stakeholders consider that we should not normalise according to the area of company land. | We will consider comments provided by the task and finish group of the difficulty of having a normalisation that allows for
Some stakeholders noted the impact water companies can have on the wider ecology and feel that this should be measured, rather than just considering assets owned or managed by them. | The proposal was this covered any land where habitat is improved in the process of a water company carrying out its functions. It would be inappropriate to go beyond this as we set out in our public value principles ”water customers cannot be expected to fund activities that are not related to a water company’s statutory functions.”

## Slide 7
Biodiversity
Option | Pro | Con
A Continue with DM proposal to survey all company land with surveyors by 2028. | Clear standard in quality of information. Provides some incentive for PR24, but allows for greater incentives at PR29 and beyond as we will have a good baseline to work from. | Expensive and potentially undeliverable. No driver for innovation in survey methods
B Allow companies to use a variety of methods (eg satellite imagery) to survey all land. | Reduces costs and time for a full survey. Allows for innovation in survey methods. | The PC would provide no incentive for surveys to be of good quality. May provide a baseline for PR29, but we may have reduced confidence in it.
C Only include a subset of sites in PC, but put in place a requirement to provide assurance that biodiversity is not reducing on other sites (eg no outperformance payments if unable to provide assurance). | Allows targeted incentive on good quality data. Starts to build baseline information. Provides some assurance that biodiversity is increasing overall. Allows companies to explore alternative survey techniques for wider assurance. | Would not lead to a full baseline for PR29, unless we gained confidence that alternative faster and cheaper survey techniques could provide a similar quality of data.

## Slide 8
Breakout group 2 - Biodiversity
Which option do you consider would provide the greatest incentive to improve biodiversity both in PR24, PR29 and future periods at an appropriate cost?

## Slide 9
River water quality
Behaviours we may want to incentivise through the PC:
The reduction in the amount of phosphorus discharged at wastewater treatment works
- Timely delivery of the WINEP and NEP programmes,
- Consideration how phosphorus can be removed in a best value approach over the long term, taking into account resilience.
- Operating plants to remove as much phosphorus as possible without substantial increases in GHG (through energy or chemicals) or producing sludge that is difficult to treat.
Phosphorous stopped from entering rivers from wider partnership working.
- nature-based solutions
- catchment management
The Operational Carbon PC and Biodiversity PC will provide incentives to pursue options that limit/reduce operational carbon emissions and improve biodiversity such as working with stakeholders to deliver NBS and catchment management.
The following slides set out the options of what the PC should measure

## Slide 10
Partnership working
We propose:
Companies can also include phosphorus reduced by working in partnership where phosphorus is not directly measured, where agreed by the Environment Agency or Natural Resources Wales.
The method to estimate the reduction in phosphorus that can be attributed to the company must be agreed with the Environment Agency or Natural Resources Wales and assurance provided by an appropriately qualified third party.
Any comments?
The following slides consider the approach at treatment works that have phosphorus consents.

## Slide 11
Treatment works
Phosphorus at treatment works will be less than consents (on average over the company). It can be lower (or reduce) because
A Risk attitude by company to compliance
B Investment in new process to reduce phosphorus (for new consent)/ Spare capacity included during previous investment for future growth
C Company operates plant to be purposefully be below consent to improve river water quality.
Outperformance of consents is likely to reduce over time due to growth.
Potential to
outperform
A
B
C
Reducing phosphorus
Phosphorus removed
if consent level met exactly

## Slide 12
Treatment works – option A
Average concentration from samples taken at the works multiplied by the average volume when samples taken. This is summed across the company area.
Any change in performance at a treatment works affects the PC. Provides an incentive to reduce phosphorus at any treatment works where cost is less than ODI rate (taking account of impact of other PC/ODIs on biodiversity and operational GHG emissions).
Performance across treatment works
Under performance
Out
performance

## Slide 13
Treatment works – option A comments
Alternatives in setting the PCL
Based on own historical performance
– would incentivise reductions in phosphorous
– companies that have been outperforming consents could be disadvantaged
-Without a deadband companies could underperform while meeting the consent
-With a deadband a company may have limited incentive to improve against a stretching PCL
-difficult to take account of changing consents
Based on industry median performance
Companies that have been outperforming consents would benefit
Companies in areas of higher growth may have more headroom and so may outperform because of this.
Companies closest to consents would face underperformance without improvement.
Complicated to set PCLs.
Based on consents
-Companies likely to perform below consents and so would represent a windfall gain to companies.
Risk of short term behaviour
Companies may be able to reduce phosphorus in the short term, but it does not mean it will be reduced in the longer term.
If we do not properly calibrate phosphorus PC and operational GHG emission PC, companies may use chemicals where this leads to more harm than benefit.
This could be mitigated by only providing outperformance to the extent it is driven by “sustainable treatment”
Performance across treatment works
Under performance
Out
performance

## Slide 14
Treatment works – option B
For treatment works with standard consents:
Consent multiplied by dry weather flow, summed across the area.
Where permits are set on a catchment basis:
Performance will be as measured in the consent with a maximum of the load reduction in the consent.
Change in PC only when a new consent is in place. Provides an incentive to put investment in place to be able to reduce consents and reduce consents by more then anticipated, if agreed by environmental regulator. Further outperformance beyond the consent would not be recognised.
Consents are not changed as expected at PR24
Do not meet catchment level targets in consents
Consents are changed to be tighter than expected at PR24
Consents across treatment works

## Slide 15
Treatment works – option B comments
PC would be reliant on environmental regulation. Outperformance only possible if Environmental regulator changes the consent.
PCL would be in line with expectations at PR24 on how consents should change and expenditure allowed.
Reduced short term incentives. Would not provide incentives to optimise treatment works performance unless specified in the consent.
Protection against any potential ‘unwanted’ outperformance as Environment Regulator needs to change consents.
Permanent benefits. Outperformance would be captured in consents and so be sustained.
Consents are not changed as expected at PR24
Do not meet catchment level targets in consents
Consents are changed to be tighter than expected at PR24
Consents across treatment works

## Slide 16
Breakout group 3 – River water quality
Do you have any comments on how we define the reduction in phosphorus discharged from wider partnership working?
Do you consider that option A or option B is the most appropriate approach for treatment works?